# Accident Management Plan

Weston Farm

PPC Permit No.  EPR/HP3931YF

Grid reference for centre of site: TG104151

|  | Date | Rev | Notes |
| --- | --- | --- | --- |
| New | March 2009 | 1 |  |
| Review date | Aug 2011 | 2 |  |
| Review date | Jan 2012 | 3 | Add fire & flood |
| Review date | Mar 2016 | 4 | Permit no. change & 4-year review |
| Review date | May 2021 | 5 | 4-year review |

Page 2 FUEL SPILLAGE

Page 3 FEED SPILLAGE

Page 4 CHEMICAL SPILLAGE

Page 5 SLURRY SPILLAGE

Page 6 NOTIFIABLE DISEASE OUTBREAK

Page 7 FIRE / FLOOD

Appendix 1 SPILL KIT LOCATION MAP

Appendix 2 EMERGENCY CONTACT DETAILS

FUEL SPILL

Anticipated Consequences

Diesel spills onto ground, over yard and into clean water drain

ACTION TO BE TAKEN

Wear suitable Personal Protective Equipment (PPE)

Prohibit All forms of ignition

Turn off stop cocks or plug source of leak

Soak up spillage using Spill kit, or soil

Confine spillage with sandbags or soil bund

Block off drain inlets with sandbags

Contact Farm Manager who will contact the Risk Team and         Environment Agency if necessary.

If necessary, use slurry tanker to remove oil from drain

Wash down yard area and suck up wash water, clean any    contaminated land

Dispose of contaminated material safely. Ask for guidance from the Environment Manager.

Record incident in incident log

Assess cause of problem and take action to prevent a repeat occurrence

FEED SPILLAGE

Anticipated Consequences

Feed spilt out of Feed bin onto floor

ACTION TO BE TAKEN

Wear suitable Personal Protective Equipment (PPE)

Shut off feed or stop/plug source of leak

Clear up spilt feed using clean loader bucket

Reuse feed if uncontaminated

Sweep up area with broom and shovel spilt feed into

Loader bucket

Wash down contaminated area

Dispose of contaminated material safely

Record incident in accident log

Assess cause of problem and take action to prevent a repeat occurrence

CHEMICAL SPILL

Anticipated Consequences

Chemical spills onto ground and flows towards drain

ACTION TO BE TAKEN

Wear suitable Personal Protective Equipment (PPE)

Shut off or plug source of leak if safe to do so

Block off drain inlet with sand kept in main site

Confine spillage by means of sandbags

Soak up spillage using contents of spill kit or using soil

Shovel up contaminated soil/litter material and place in sealed Leak-proof container for future disposal to registered authority

Contact Farm Manager who will contact the Risk Team and         Environment Agency if necessary.

If necessary, use slurry tanker to remove contaminant from drain

Wash down contaminated area making sure wash waters are removed from drains with slurry tanker

Record in incident log

Dispose of contaminated material safely

Assess cause of accident and take remedial actions to prevent a recurrence

SLURRY SPILL

Anticipated Consequences

Slurry spillage onto ground and flows towards clean water drains

ACTIONS TO BE TAKEN

Wear suitable Personal Protective Equipment (PPE)

Shut off, plug, or stem source of leak if safe to do so

Block off drain inlet with sandbags kept in main yard

Soak up spillage use spill kit or soil

Contact Farm Manager who will contact the Risk Team & Environment Agency if necessary

If necessary, use slurry tanker to remove slurry from drain

Wash down contaminated area making sure the wash water is captured and removed from the clean water drains

Record incident in the incident log

Assess cause of accident and take steps to prevent a recurrence of Incident

NOTIFIABLE DISEASE OUTBREAK

Anticipated Consequences

Increased numbers of carcasses to be disposed of.

Additional volumes of wastes produced.

Disease spreads to other flocks.

ACTIONS TO BE TAKEN

Wear suitable Personal Protective Equipment (PPE)

Step up ALL BIO SECURITY procedures

Inform ALL staff

Isolate infected flock from other sheds and sites

Contact Farm Manager who will contact the Risk Team & Environment Agency if necessary

Contact Slate Hall Veterinary practice for further advice

Contact DEFRA – Animal Health at Bury St Edmunds

Agree carcass disposal policy.

Secure all entrances to site.

Minimise the entry and exit of staff and equipment to site

Agree Site Cleaning and Disinfection policy with Animal

Health

FIRE

Anticipated Environmental consequences.

Contaminated fire water entering controlled waters.

ACTIONS TO BE TAKEN

The priority is to assure the safety of staff and livestock

Block off any drains painted blue to prevent surface water contamination.

Use sandbags, polythene sheets with sand or propriety drain covers as available.

Prevent as far as possible fire water entering the dirty water drains to the effluent plant.

Any contaminated fire water must be retained on site in drains / tanks until the safe removal is established.

Contact Farm Manager who will contact the Risk Team & Environment Agency if necessary

Record incident on the incident log

FLOOD

Weston Farm not in a flood plane as shown in the Environment Agencies ‘Risk of flooding from Rivers and Seas’ web pages.

INCIDENT LOG

| Incident type | Fuel spill | Feed spill | Chemical spill | Other (specify) |
| --- | --- | --- | --- | --- |

| DATE OF INCIDENT |  |
| --- | --- |

Actions taken: Recommendations Signed ………………………….

INVENTORY OF TANKS, FEED BINS AND STORES

Weston Farm

| House No./Facility | No. of stores | Size of tanks | Storage Capacity |
| --- | --- | --- | --- |
| Sheds 1,2,8,12,16 &18 feed bins | 2 per shed | 15 tonnes each | Total 180 tonnes |
| Sheds 3,4,5,6,13 &15 feed bins | 1 per shed | 15 tonnes each | Total 90 tonnes |
| Sheds 7,10 &11 feed bins | 1 per shed | 20 tonnes each | Total 30 tonnes |
| Shed 9 feed bin | 0 | 0 | 0 |
| Shed 14 feed bin | 1 | 25 tonnes | Total 25 tonnes |
| Sheds 19, 20,21& 22 feed bins | 1 per shed | 16 tonnes each | Total 64 tonnes |
| Generator | 1 |  |  |
| Generator red diesel tank | 1 | 2468 Litres | 2468 Litres |
| Farm Red diesel tank | 1 | 11000 Litres | 11000 Litres |
| Gas tanks | 23 | 3.9 Tonnes | 89.7 Tonnes |
| Underground dirty water reception pits | 1 per shed |  |  |
| Bore water storage tanks | 2 | 20 m3 | 40 M3 |
| Chemical Store | 1 |  |  |
| Office |  |  |  |

INVENTORY OF RAW MATERIALS

| House No./Facility |  | Size of tanks | Max on site |
| --- | --- | --- | --- |
| Water treatment plant | Hydrochloric acid | 1000l | 2000l |
| Water treatment plant | Sodium Chlorite | 1000l | 2000l |
| Chemical store | Hydrochloric acid | 25l | 28 drums |
| Chemical store | Kilcox extra | 25l | 5 drums |
| Chemical store | Viroshield | 25l | 1 drum |
| Chemical store | Enduro Super | 20l | 43 drums |
| Chemical store | Aquaclean | 10l | 43 drums |
| Chemical store | Virex | 10Kg | 18 drums |