Inspired Global Cuisine Ltd – Unit A, Lydia Becker Way, Oldham, OL9 9AB, Bespoke Installation Permit Application

- Purpose of this statement

This statement demonstrates that Inspired Global Cuisine Ltd (IGC) does not require a Fire Prevention Plan (FPP) under the Environment Agency’s Fire Prevention Plan Guidance, because the site is not applying for a waste operation involving the acceptance, treatment, or long-term storage of combustible wastes.

- Nature of Operations

IGC is a food manufacturing installation applying for a bespoke permit under:

- Schedule 1, Section 6.8 Part A(1)(d) – Food and Drink Sector

- Medium Combustion Plant (MCP)

The site does not undertake external waste acceptance, waste treatment, waste storage as a regulated activity, recycling activities, or waste transfer operations. All wastes are internal arisings only.

- Combustible Waste on Site

Combustible wastes are limited to packaging waste generated from IGC’s own processes:

- Cardboard: Baled onsite, loaded onto trailer, removed weekly

- Plastic films/LDPE: Baled onsite, removed weekly

- Wooden pallets: Stored short-term prior to collection

- Small quantities of inks/solvents (1L), stored in a no‑drain warehouse area

No combustible waste is accepted from third parties.

- Why These Activities Do Not Require an FPP

According to EA Fire Prevention Plan Guidance, an FPP is required only where a regulated activity involves treatment, long‑term storage, or acceptance of combustible waste. IGC does not meet these criteria because:

- Waste is generated solely from IGC operations

- Waste is stored short‑term (max 1 week)

- Waste volume is limited and controlled

- No external waste is accepted

- The installation permit does not authorise a waste operation

Therefore, an FPP is not required.

- Control Measures In Place

Although not required, IGC maintains fire prevention controls:

- Baled cardboard/plastics stored on trailer away from buildings

- No loose combustible waste accumulation

- Weekly uplifts by licensed waste contractor

- Fire Risk Assessment covers waste areas

- Drains beneath waste storage areas have Interceptors and Penstocks

- Controlled pallet stacking

- COSHH‑compliant storage for inks/solvents

- Conclusion

Based on EA guidance and the site’s operating model, IGC does not require a Fire Prevention Plan. The site is not a waste operation, does not accept external waste, and stores only small quantities of its own waste for short durations, with appropriate controls.