Foul & Effluent Joint Chamber Connects to United Utilities Sewerage Network

Foul Drain connects to the Foul & Effluent Joint Chamber

IGC Connection to UU Sewerage Network

UU Sample Point and MCERTS Effluent Meter connects to the Foul & Effluent Joint Chamber

3 stage Settling tanks with grease and fat trap.