## Sheet1
Spalding Water Recycling Centre EA Request for More Information
Item | Section / Form | EA Request for more information | EA Reason | Anglian Water response | Links to documents | Sections of MSD and NTS where wording has been added
1 | Part A Appendix 1 Q4 | Please complete the document reference for the directors’ details. |  | Form A has been updated as per the request. Please see document link in cell F3 | Spalding Form A | N/a
2 | Part A Section 7c | Please confirm the billing contact details for this application |  | June Hayes Regulation Technical Assistant (Permitting & Consenting) Lancaster House, Lancaster Way Ermine Business Park Huntingdon Cambridgeshire, PE29 6XU jHayes2@anglianwater.co.uk 07980 735342 Form A has been updated - please see document link in cell F3 | Please see link to form A above. | N/a
3 | Part B2 Section 3a1 | it has been detailed that Anglian Water Services Limited or any other relevant person been convicted of any relevant offences. It is understood that this is not correct and needs amending |  | Please see the document at the link in cell F5 which details the Anglian Water convictions up to the end of April 2023 which was the most recent prosecution. The prosecution in relation to Jaywick from April this year because whilst this is under Appeal, we are only appealing the size of the fine not the actual conviction. I have therefore added this to the list but put a note that the fine is under appeal. An updated copy of Form B2 is also provided see the link in cell F6 | AWS Convictions up to May 2023 2 | Wording in the second sentence of section 2.4 on page 10 of the MSD has been updated to reflect the provision of the standalone document.
[5 empty] | Part B2 Spalding | N/a
4 | Part B2 Section 3b | it is understood that you are relying on ESA/EU skills scheme. Please confirm this is the case |  | This is correct Anglian Water will be relying on the ESA/EU skills scheme for technical competency. It is also confirmed that the Spalding site and site type (activity) will be covered in the scope of the CMS. Anglian Water are however in the process of moving from LRQA to BSI as the accredited certification body for the CMS system. Therefore we have provided a copy of the contract that we have in place with BSI which includes the Spalding site as part of the schedule listed on page 10 of the contract document. See link to docuemnt in cell F7 | Anglian Water Services Limited Proposal Q740629 - signed | Wording as the last paragraph of section 2.4 top of page 12 of the MSD has been added on the future transisioptn from LRQA to BSI as the accrediatatyion body to include reference to teh standalone BSI contract.
5 | Part B2 Section 3d | it is not clear if you are using your own management system or ISO14001. Please clarify this and please provide a summary that meets our guidance here: https://www.gov.uk/guidance/develop-a-management-system-environmental-permits |  | The Spalding WRC site is covered by AWS own Environmental Management System (EMS) and Environmental Management Plan (EMP) - a copy of which has been provided with the application see document link in cell F8 A summary of the management system in line with the EA guidance https://www.gov.uk/guidance/develop-a-management-system-environmental-permits. has also been provided. see document link in cell F9 The management of cake on site and cake movements managed by Circular Economy (CE) and Water Recycling Operational Logistics (WROL) are also covered by ISO 14001 a copy of this certificate is also provided see document link in cell F10. | Spalding Environmental Management Plan | N/a Document already referenced in section 2.5 of MSD
[5 empty] | EA guidance requirements for management systems - AW Spalding summary | N/a Document already referenced in section 2.5 of MSD
[5 empty] | ISO 14001 Environmental Management - BSI Certification of Registration | N/a Document already referenced in section 2.5 of MSD
6 | Part B2 Q5a | Site Plan-Clearly mark the site boundary, also include site layout plans, site drainage plans, emission point for Head of Works discharge, The green line boundary should just be around the area that requires permitting not the whole of the Waste Water Treatment Works( WWTW). clearly labelled and process flow diagrams. Identify other geographic features (roads, rivers etc), scale indicator, north arrow. |  | An updated permit boundary site layout plan has been produced showing the permitted activity boundaries marked in green, the Head of works discharge emission point, a scale indicator, a North arrow and with the main road identified. Please see document "Spalding Permitted Activity Boundaries" at link in cell F11 The HAZOP drainage plan shows the drainage (purple dotted line) from the cake pad area which has sealed drainage connecting to the supernatant sludge liquor drainage (light blue line) to return to the head of works. Link to HAZOP drainage plan in cell F12. The drawing in the odour modelling report has also been updated to reflect the changes made to the site permit boundary plan. A link to the updated odour modelling report is in cell F13. | Spalding Permit Boundary 230124 | N/a Document already referenced in section 2.6 of MSD and included as an Appendix.
[5 empty] | Spalding HAZOP | Wording as the last paragraph of section 3.3.2 bottom of page 20 of the MSD has been added.
[5 empty] | Spalding Odour Modelling Report (1).odt | N/a Document already referenced in section 2.6 and 3.3.5 of MSD
7 | Part B2 Section 6 | The Environmental Risk Assessment (ERA) that has been provided does not meet our guidance, you need to consider the Local Wildlife Site- Vernatt’s Drain along with the protected species and bioaerosols. The site has been identified as being in a Fluvial Flood risk. Please consider this within the ERA and re-submit. | In line with guidance Form Part B2 Form guidance EPB: Application for an environmental permit – Part B2 general – New bespoke permit (publishing.service.gov.uk) Risk assessments for your environmental permit - GOV.UK (www.gov.uk) | Please see an updated Environmental Risk Assessment provided at the link in cell F14 | Spalding Environmental Risk Assessment | N/a Document already referenced in section 2.7 and 3.3.5 of MSD and section 1.4 and 1.5 of NTS.
8 | Part B4 Table 1a | Please confirm that the only activity proposed on this permit is the storage of biosolids and the transfer of these into and out of the site. Please confirm that there is no treatment of the biosolids on site or any other waste treatment activity on site. Please confirm there is no discharge to the Head of Works activity at this site. |  | It is confirmed that the activities proposed on the Spalding site are: 1. The storage of biosolids (digested cake 19 06 06) and the transfer of this into and out of the site. 2. Discharge to the Head of Works of a) Domestic waste (EWC 20 03 04) (septic) and EWC 16 10 02) (cess) b) Blue loo waste either separate loads or mixed with domestic waste (EWC 16 10 02) c) Iron sludges (EWC 19 09 02) d) Sewage sludges (EWC 19 08 05) It is confirmed that there will be no treatment of the biosolids on site or any other waste treatment activity on site. Drainage from the cake storage pad returns to the head of works. | None | N/a Information on waste types already referenced in section 3.1.1 as table 2 page 18 of MSD and section 1.3 of NTS. Information on cake pad drainage is referenced in section 3.3.2 of the MSD.
9 | Part B4 Section 3a | Please complete Table 3a in reference to the Biowaste Appropriate Measure Guidance Biological waste treatment: appropriate measures for permitted facilities - Guidance - GOV.UK (www.gov.uk) . |  | An updated form Part B4 is provided referencing the Main Supporting Document (MSD) section 3.3 for information on Appropriate Measure Guidance and a copy of the updated B4 form is provided at the link in cell F16 Information in relation to Appropriate measures is included in the Main Supporting Document section (MSD) 3.3. The link to the updated MSD is in cell F17 | Spalding Form B4 | N/a
[5 empty] | Spalding Main Supporting Document | N/a Information included in MSD section 3.3.1 page 19 and section 1.5 of NTS.
10 | Part B4 Section 3a | provide a site infrastructure plan that clearly shows the surfacing and any kerbing around Head of Works discharge area, dewatering (if applicable) biosolid storage areas, and site drainage where the cake is to be stored. |  | A site infrastructure plan is provided in the document at link in cell F18 The site drainage is shown in the HAZOP drainage plan. The HAZOP drainage plan shows the drainage (dark blue dotted line) from the cake pad area which has sealed drainage connecting to the supernatant sludge liquor drainage (light blue line) to return to the head of works. Link to HAZOP drainage plan in cell F12. | Spalding Site Infrastructure Plan | N/a Site infrastructure plan is referenced in section 2.6 of the MSD. Information on cake pad drainage is referenced in section 2.6 and 3.3.2 of the MSD.
11 |  | Resolution on basic schematic plan in non-technical summary is not legible. Please correct this and resubmit. |  | The schematic showed the whole WRC treatment process all of which except the head of works reception is not included in the permit application or boundary. In addition to the above the resolution could not be corrected and the original document is no longer available. Therefore the schematic has been deleted from the main supporting document (MSD). The process flow is described in section 3.3.2 of the MSD. | None | N/a Document no longer inslcuded and description of process provided at section 3.3.2 of the MSD and section 1.3 of the NTS. | e
12 |  | You need to send us a non-technical summary which should explain your proposal using non-technical language. This should summarise your operations that your permit application is for (including EWC type waste, how it is handled, treated, and stored under each activity), the key technical standards you will adhere to and the main control measures arising from your risk assessment. | in line with the guidance notes Form Part B4. Application for an environmental permit – Part B4 new bespoke waste operation permit (publishing.service.gov.uk) | A Non-Technical Summary is provided as a standalone document see link in cell F20. There is also a Main Supporting Document see link in cell F21 which provides all of the supporting information in relation to questions on the forms A, B2, B4 and F1 where there was not sufficient space on the forms. The Non-Technical Summary has also been included with the Main Supporting Document. | Non-Technical Summary - standalone | N/a
[5 empty] | Spalding Main Supporting Document | N/a
13 |  | Please provide a H1 assessment to assess the fate and impact of the substances emitted to water (via sewer) following the Environment Agency’s risk assessment guidance and our guidance, Surface water pollution risk assessment for your environmental permit - GOV.UK (www.gov.uk). Please ensure this assessment is representative of your combined emission. If you are not currently in a position to provide a H1 assessment for the wastes that you currently accept please let us know. For waste not currently imported to the head of works where you have not assessed the fate and impact of the substances emitted to water and sewer following the Environment Agency’s risk assessment guidance, these wastes would not be able to be permitted without this assessment. |  | The provision of a H1 assessment for the waste codes currently accepted at the head of works cannot be provided at this time. | None | N/a
14 | Head of Works EWC waste codes | For all waste codes requested for acceptance at the head of works, please specify for each waste code if they are currently being accepted and provide evidence. This evidence could be in the form of waste transfer notes and any records you hold of tankered waste inputs for those waste codes at the site. |  | The following waste codes are accepted at the head of works:- 19 08 05 - records of imports 19 09 02 - records of imports 16 10 02 and 20 03 04 - Annual Waste Transfer Notes, Licenses and risk assessments for the acceptance of blue loo waste. Evidence for the acceptance of each of the waste codes is provided in the documents in the folder linked in cells F21. | Evidence of waste acceptance | N/a Information on waste types already referenced in section 3.1.1 as table 2 page 18 of MSD and section 1.3 of NTS. Information on cake pad drainage is referenced in section 3.3.2 of the MSD.
15 | Dewatering | Please confirm if dewatering is being carried out as a treatment within the permitted area. |  | Dewatering is carried out on site but not soley on any of the imported wastes. Dewatering is carried out on the outputs from the WRC process which includes the indigenous sewage which will include any wastes deposited at the head of works. | None | Wording has been added to section 3.3.2 page 20 of the MSD and section 1.3 of the NTS.
16 | Operating Hours | Please confirm operating hours. To include how many tanker delivers are accepted daily on site and the time of deliveries. |  | Opening hours for deliveries are: 1. For imports by 3rd party domestic waste tankers from 8:00 am to 5:00pm Monday to Friday. 2. For Anglian Water (AW) Water recycling Operational Logistics (WROL) and AW contracted tankers access to the site can be at any time in case of need or emergency. Tanker deliveries The number and time of tanker deliveries per day varies. As an indication the mean, minimum and maximum numbers per day over the 4 month period August 2023 to November 2023 were: Domestic Waste Mean - 6 Min - 2 Max - 15 Iron Sludge Mean - 1.5 Min - 1 Max - 5 Sewage Sludge Mean - 1.5 Min - 1 Max - 3 | None | Wording has been added to section 3.3.3 page 21 of the MSD and section 1.3 of the NTS.