## DPID S01GI_WMR_KA
DPID S01GI WMR_KA |  | COD, SS, Suplphide, Oils & Fats, Instantaneous Flow (Nov 2020 to May 2021)
Header: Sample Number | Pass/Fail Flag | Measureable Name | Header: Sample Reason Name 1 | Header: Sample Reason Name 2 | Header: Sample Reason Name 3 | Header: Sample Reason Name 4 | Header: Sample Reason Name 5 | Measureable Value | Limit Qualifier | Limit | Unit of Measure | Header: Sample Point Code | Header: Time of Sample | Header: Sample Type Name | Header: Sample Results Complete | Current Retailer | DPID | Header: Date of Sample
503715 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1240.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 13:17:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-11-03
503715 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 135.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 13:17:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-11-03
536913 | Pass | SULPHIDE TOTAL | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 0.2200 | < | 1.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:00:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-11-26
536913 | Pass | OILS AND FATS - TOTAL FATTY MATTER | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 15.5000 | < | 250.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:00:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-11-26
536913 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 1800.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:00:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-11-26
536913 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 187.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:00:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-11-26
536913 | Pass | INSTANTANEOUS FLOW | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 74.5000 | < | 108.0000 | CUBIC METRES PER HOUR | S01GI WMR KA | 15:00:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-11-26
537551 | Pass | NO FLOW/NO SAMPLE | CHARGING | LOGISTICS TEAM |  |  |  | NO FLOW |  |  |  | S01GI WMR KA | 15:10:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-11-26
561565 | Pass | SULPHIDE TOTAL | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 0.1800 | < | 1.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 13:25:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-12-07
561566 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1590.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 13:36:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-12-07
561565 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 1820.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 13:25:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-12-07
561565 | Pass | OILS AND FATS - TOTAL FATTY MATTER | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 22.7000 | < | 250.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 13:25:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-12-07
561565 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 232.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 13:25:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-12-07
561566 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 259.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 13:36:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-12-07
561565 | Pass | INSTANTANEOUS FLOW | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 74.8000 | < | 108.0000 | CUBIC METRES PER HOUR | S01GI WMR KA | 13:25:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-12-07
579931 | Pass | NO FLOW/NO SAMPLE | CHARGING | LOGISTICS TEAM |  |  |  | NO FLOW |  |  |  | S01GI WMR KA | 16:25:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2020-12-21
25145 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1620.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:40:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-01-22
25145 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 180.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:40:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-01-22
37370 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1970.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 10:46:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-01
37370 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 344.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 10:46:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-01
38202 | Pass | NO FLOW/NO SAMPLE | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | NO FLOW |  |  |  | S01GI WMR KA | 10:40:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-01
48775 | Pass | SULPHIDE TOTAL | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 0.1200 | < | 1.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 12:20:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-09
48774 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1620.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 12:16:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-09
48775 | Pass | OILS AND FATS - TOTAL FATTY MATTER | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 178.0000 | < | 250.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 12:20:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-09
48775 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 2040.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 12:20:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-09
48774 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 225.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 12:16:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-09
48775 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 353.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 12:20:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-09
48775 | Pass | INSTANTANEOUS FLOW | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | 72.6000 | < | 108.0000 | CUBIC METRES PER HOUR | S01GI WMR KA | 12:20:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-09
72315 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1490.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:55:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-26
72315 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 204.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:55:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-02-26
106859 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1210.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 16:18:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-03-04
106859 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 144.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 16:18:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-03-04
122898 | Pass | NO FLOW/NO SAMPLE | CHARGING | LOGISTICS TEAM |  |  |  | NO FLOW |  |  |  | S01GI WMR KA | 12:36:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-03-16
122899 | Pass | NO FLOW/NO SAMPLE | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | NO FLOW |  |  |  | S01GI WMR KA | 12:32:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-03-16
173417 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1970.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:41:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-04-19
173417 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 281.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 15:41:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-04-19
200013 | Pass | NO FLOW/NO SAMPLE | CHARGING | LOGISTICS TEAM |  |  |  | NO FLOW |  |  |  | S01GI WMR KA | 13:36:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-04-30
200014 | Pass | NO FLOW/NO SAMPLE | EFFLUENT CONTROL | LOGISTICS TEAM |  |  |  | NO FLOW |  |  |  | S01GI WMR KA | 13:30:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-04-30
208882 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 160.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 12:01:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-05-07
208882 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1720.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 12:01:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-05-07
236016 | Pass | CHEMICAL OXYGEN DEMAND SETTLED | CHARGING | LOGISTICS TEAM |  |  |  | 1190.0000 | < | 3000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 11:36:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-05-26
236016 | Pass | SOLIDS PARTICULATE (105C) SUSPENDED | CHARGING | LOGISTICS TEAM |  |  |  | 92.0000 | < | 1000.0000 | MILLIGRAMMES PER LITRE | S01GI WMR KA | 11:36:00 | TRADE EFFLUENT TO SEWER | Y | WAVE LTD | S01GI WMR KA | 2021-05-26