## Title
Eye North Eastern, Southern and Eastern Landfills
Permit Number: EPR/BP3537PP
Eyebury Road
Peterborough
PE6 7TH
ODOUR MANAGEMENT PLAN
| Document Date |  |  | 2023-07-12
| Version |  |  | 1
Version | Date | Description | Prepared by (author) | Checked By | Reviewed By
REV 1 | 2023-07-12 | Odour management plan created. | HA | RH/VC/AK/RH | VC/NS
Contents
1. Site location
2. Inventory
3. Guidance Documentation
4. Monitoring
5. Controls
6. Contingency
Forms and Plans
Eye Landfill Monthly FID Form (Internal)
EYL01 - Eye Landfill Odour Complaint Assessment Form
Site Description
This Odour Management Plan (OMP) outlines the methods by which Biffa will systematically assess, reduce and prevent potentially odorous emissions from this site.
Eye Landfill covers a total area of approximately 130 hectares (ha) developed under a range of planning permissions and includes four areas of landfill, as follows:
- The Central Area (~24 ha) was filled with putrescible waste from 1982 to 2000 and has been restored to agriculture.
- The Northern Extension (~7 ha) was filled with non-hazardous waste and with some asbestos between approximately 2000 and 2005 and has been restored to agriculture.
- The North-eastern Extension (~11 ha) was filled with non-hazardous waste between approximately 2005 and 2011 and has been restored to agriculture.
- The Southern Extension (~15 ha) is the current operational landfill area for non-hazardous and stable non-reactive hazardous (i.e. asbestos) wastes.
- The Eastern Extension is an area directly to the East of Eye Landfill that Biffa are proposing to develop into a non-hazardous landfill, with a variation and extension of the BP3537PP permit. The area is currently operated by PJ Thory Ltd as a quarry and inert landfill.
The site is currently regulated and operated under Environmental Permit EPR/BP3537PP (originally issued in 2005) which has since been varied, the latest variation notice is No. V010 issued in May 2018. Biffa is applying for a variation to existing Environmental Permit EPR/BP3537PP to facilitate the Extension to the East of the current Landfill.
Eye Landfill is approximately 1 km southeast of the village of Eye, Peterborough at National Grid Reference TF 235 010
The current consented hours of operation under the Planning Permission are:
Monday - Friday 07:00 - 18:00
Saturday 07:00 - 18:00
At no other times or on Sundays, Public Holidays or Bank Holidays
Permit Requirement
The plan is written with regard to compliance with Permit condition 3.3.1 of Environmental Permit EPR/BP3537PP.
"Emissions from the activities shall be free from odour at levels likely to cause pollution outside the site, as perceived by an authorised officer of the Environment Agency, unless the operator has used all appropriate measures, including, but not limited to those specified in any approved odour management plan, to prevent or where that is not practicable minimise the odour."
The OMP is a working document and forms part of the overall Operating.
Responsibilities Key
TCM = Technically Competent Manager
TCP = Technically Competent Person
OM = Operations Manager
FM = Foreman
SO = Site Operative
ECA = Environmental Control Advisor
LFG = Landfill Gas Team

## Site location
A map showing the location of Eye landfill site and surrounding receptors | Table of receptor locations
A map showing layout of the Eye site | An aerial view of the Eye Sites
Wind Rose of Eye Landfill during 2022 (Wind blowing from)
Southern Extension
Proposed Eastern Extension
Key
Eye Central (EAWML70130)
Eye Northern (EAWML73011)
Eye North Eastern (BP3537PP)
Eye Southern Extension (BP3537PP)
Proposed Eye Eastern Extension (BP3537PP)

## Inventory
Potential Odour Sources
Source | Descriptive terms | Typical primary chemical odorants
General domestic / commercial | Bottom of dustbin, rotten cabbage, fruity/citrus, acrid, sour, rotten, putrid | Esters eg Butanoates, Odour directly from the volatilisation of chemicals from foods eg Organic acids
Oils and fuel | Oily, acrid, petrol like | Aromatics, toluene, xylene
Green waste | Woody, ammonia, earthy | Terpenes, amines, aromatics, ammonia
Food waste | Putrid, sour, fishy, rotten vegetables, rotten meat | Putrescine, cadaverine, amines, sulphides, ammonia
Landfill gas (young) | Sweet, sulphurous, fruity, citrusy, gassy, pungent, | Esters eg Butanoates,
Landfill gas (old) | Citrusy (lemon like), fruity, gassy, pungent (Less sweet and sulphurous than above) | typified by limonen and hydrocarbons (Akly benzenes etc)
Leachate (young) | Extremely sweet, sugary, pungent, food like, sulphurous | Organic acids (Butyric acid, butanoic acid) aromatics, alcohols, hydrocarbons, sulphur compounds
Leachate (old) | Mild, fuel like, oily, ammonia (if PH is high) farm yard like | Aromatics and hydrocarbons
Contaminated soils | Mild, peat like, earthy, oily | PAHs, hydrocarbons
Fire/burning | Smoky, fire odour, rubbery, sulphurous | PAHs, hydrocarbons
Odour Release Point
Odour Source | Release Point
Received Wastes | Waste Vehicles ( Transport to site and operation on site)
Active face (tipping and compacting).
Fugitive release through intermediate and temporary capping.
Landfill Gas | Leachate wells (inadequate sealing).
Leaks in gas infrastructure.
Capped areas (fissures, inadequate welded containment membrane).
Fugitive release through intermediate and temporary capping.
Leachate | Leachate wells (inadequate sealing).
Exposed older waste | Engineering works e.g. capping
Drilling gas (leachate) wells

## Guidance Documentation
Relevant internal and external guidance and procedural documents.
Guidance
LFTGN 03: | Guidance on the Management on Landfill Gas | EA
LFTGN 04: | Guidance for monitoring trace components in landfill gas; | EA
TGN H4 Odour Management, April 2011 | Internal Guidance for the Regulation of Odour at Waste Management Facilities; | EA
S5.06 | Sector Guidance Note S5.06: Recovery and Disposal of Hazardous and Non-Hazardous Waste | EA
ER31 | Odour Monitoring and Control at Landfill Sites | Sniffer
643 Eye Gas Management Plan 12/05/22 - Eastern Extension | Eye Gas Management Plan | Biffa/WSP
635 Landfill gas risk assessment 31/03/22 Eastern Extension | Eye Landfill Gas Risk Assessment | Biffa/WSP
Biffa Gas Management Plan | Biffa Specific overarching gas management plan Nov 2020 Edition 9 | Biffa
DPL/04 | Pre-acceptance and Waste Reception, | Biffa
DGNL/04 | Pre-acceptance and waste reception – Supporting Guidance for DPL02 Environmental Management); | Biffa
DPL/02 | Environmental Management includes complaints procedure | Biffa
DGNL/02 | Environmental Management – Supporting Guidance for Divisional Procedure DPL/02; | Biffa
636 Nuisance and Health Management Plan | Nuisance and Health Management Plan | Biffa/WSP
Accident Risk Assessment and Management Plan Eye | Eye Landfill Site Emergency Response Procedures | Biffa
Monitoring
Eye Monitoring schedule | Eye Monitoring schedule | Biffa
EYL/FID/01 surveys | Internal FID Route | Biffa
Community Interaction
Community Liaison | Community Liaison meetings held when required | Biffa
Forms
EYL/FID/01 surveys | Eye Landfill Monthly FID Form | Biffa
EYL/01 | Eye Landfill Odour Complaints Assessment Form | Biffa

## Monitoring
Emission Point/Source | Permit or Internal | Parameter | Limits | Frequency | Responsibility
Gas Engines | Permit | Oxides of Nitrogen | 500 mg/m3 | Annually | LFG
| Permit | CO | 1400 mg/m3 | Annually | LFG
| Permit | Total VOCs | 1000 mg/m3 | Annually | LFG
Flare | Permit | Oxides of Nitrogen | 150 mg/m3 | Annually | LFG
| Permit | CO | 100 mg/m3 | Annually | LFG
| Permit | Total VOCs | 10 mg/m3 | Annually | LFG
Permanently capped zone | Permit | Methane concentration | n/a | Annually | ECA
Temporarily capped zone | Permit | Methane concentration | n/a | Annually | ECA
Whole site | Permit | Total methane emission | n/a | Annually | ECA
Uncapped areas | Permit | Methane concentration | n/a | Annually | ECA
Environmental monitoring points 1 to 9 (EMP1 to EMP9 as shown on drawing ESID4 - Permit BP3537PP | Internal | Odour assessment (intensity and extent) | n/a | Weekly | TCM/ECA/OM/FM/LFG
Operational Perimeter Flame Ionisation Detector (FID) Assessment - Permit BP3537PP | Internal | Hydrocarbons | n/a | Monthly | ECA
Sensitive receptors within 500m of the site Permit BP3537PP and complainants property | Internal | Odour assessment (intensity and extent) | n/a | Within 24 hours of receiving an odour complaint | TCM/ECA/OM/FM/LFG

## Controls
Source of Odour | Odour Release Points | Potential Outcomes | Possible failures/ Abnormal Situations | Control Measures | Contingency Measures | Duty | Approx time to instigate | Notification / Recording
Receipt of particularly odorous waste | Refuse Collection Vehicle (RCV) Active Face | Area and Point source release of waste odour Odour detection at permit boundary Odour detection outside permit boundary | Receipt of potentially high odorous waste Delay at Waste Transfer Station/Roadside due to bank holiday Loads not deemed to be odorous at quotation stage containing odorous material | Wastes identified at the client quotation stage as difficult due to their odorous nature shall not be accepted for disposal at Eye. Non-intrusive inspection at the weighbridge | As per waste acceptance procedure | TCM/TCP | <1 hour | DPL04
Landfill Gas | Active area, (Uncapped) | Area and Point source release of waste odour Odour detection at permit boundary Odour detection outside permit boundary | Fugitive release of Gas from normal operations Gas balance allowing fugitive release of Gas Daily cover washed/blown off No daily cover available Tracked excavator out of service | Daily Cover using appropriate cover materials. Limit size of active area. Fortnightly balancing of gas field Dampen down Auditing of cover stock pile levels and communicate with the Commercial Team Regular maintenance procedure | Increase daily cover or change the type of cover material. | TCM/TCP | 1 day | No
[5 empty] | Minimize size of active area | TCM/TCP | 1 Hour
[5 empty] | Re-balance gas field | LFG | 1 Week
[5 empty] | Consider change in type of cover material | TCM/TCP | 1-2 days
[5 empty] | Alternate daily cover material sourced such as onsite material / hessian or similar. | TCM/TCP | 1 week
[5 empty] | Contingency procedure | TCM/TCP | 1 week
Landfill Gas | Intermediate cover | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Elevated methane levels detected Intermediate cover washed/blown off Gas balance allowing fugitive release of Gas | Monthly surface monitoring (FID / Site walkover / visual inspection) of intermediate cover and temporarily capped areas Fortnightly balancing of gas field . | Increase cover if found to be ineffective | TCM/TCP | 1 week | No
[5 empty] | increase gas balancing if required | TCM/TCP | 1 week
[5 empty] | Review gas extraction coverage, and install additional infrastructure if necessary | LFG | 1 week
Landfill Gas | Temporary Cap | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Elevated methane levels detected Temporary cap damaged Gas balance allowing fugitive release of Gas | Temporary capping is applied to area that are to be non-operational for a month or more. Temporary capping consists of 0.3m soil/clay or a suitable membrane Monthly surface monitoring (FID / Site walkover / visual inspection) of intermediate cover and temporarily capped areas Fortnightly balancing of gas field | Apply additional temporary capping materials or alternative membrane if found to be unsuitable | TCM | 1 week | No
[5 empty] | Apply additional cover if found to be limited or ineffective | TCM/TCP | 1 week | EYL/FID/01
[5 empty] | Review gas extraction coverage, and install additional pin wells if necessary | LFG | 1 week
Landfill Gas | Cap (including features such as wells) | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Fissures in the Cap Ineffectively sealed wells Gas balance allowing fugitive release of Gas | Installation of containment cap subject to CQA Emissions FID surveys monthly internally and annual surface permitted area as per monitoring table. Fortnightly balancing of gas field | Remediation of Cap and re-survey | TCM/TCP | 1 to 2 weeks
[5 empty] | Re-seal wells, and re-monitor to check the repairs have worked. | LFG | 1 week
[5 empty] | Re-balance Gas field | LFG | 1 week
Landfill Gas | Gas Infrastructure | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Damage to pipes | Fortnightly inspection of Gas field Emissions FID surveys monthly internally and annual surface permitted area as per monitoring table. Maintain essential spares and equipment on site Operatives / contractors inducted on accident avoidance, action and reporting procedures ) | Temporary repair / alternative to maintain extraction followed by permanent repair | LFG | 1-3 days | No
[5 empty] | Re-balance Gas field | LFG | 1 day to 1 week
Landfill Gas | All areas under gas extraction) | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Failure of extraction (Blowers) Planned maintenance of blowers | Inspection of gas compound twice weekly. The system has an automated dial out facility in the event of a problem. As defined in GMP. Duty and standby blowers can be used separately Duty and standby blowers can be maintained separately Maintain essential spares and equipment on site Plan maintenance to not be carried out in un favourable meteorological conditions where possible Carry out odour monitoring off site while maintenance is taking place. | Repair blowers using on site personnel. Specialist personnel. Contractors. | LFG/Specialist contractors | 2 days to 2 weeks | EA, Residents if required
[5 empty] | On site temporary flare and blower could be used if required. | LFG | 1 - 2 days | EA, Residents to be advised if the duration of the use of the temporary flare is greater than 1 day or a potentially odorous situation for greater than 1 day.
[5 empty] | Deployment of odour suppression units | LFG | 1 week
[5 empty] | Review maintenance procedure for future occurrences | TCM/TCP/LFG
Landfill Gas | All areas under gas extraction) | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Loss of power | Back up generator available within the region, 24 hr dial out, LFG to respond within 3 hours where possible. LFG maintenance check sheet for the compound. A temporary generator can be installed to power engines and flare | system failed arrange for mobile generator to be brought to site. | LFG | 1 week | EA, Residents if required
[5 empty] | Consider restricting waste inputs until the gas extraction system is operational. | TCM/TCP/LFG | 1 day | EA
Landfill Gas | Gas Engines | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Failure of engines Planned maintenance of engines | Divert gas to Flares - maintain enough flare capacity that full extraction can be maintained should engines fail. Automatic dial out Regular inspections and maintenance Maintain essential spares and equipment on site | Repair engines | LFG | 1 day | EA, Residents if required
[5 empty] | Use of on-site flare and blower. | LFG | 2 hours
Landfill Gas | Flare | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Failure of flare Planned maintenance of flare | Divert gas to engines Plan maintenance to not be carried out in un favourable meteorological conditions where possible Maintain essential spares and equipment on site | Repair flare | LFG | 1 day | EA, Residents if required
[5 empty] | Complete odour monitoring | LFG | 1 day
Landfill Gas | Disturbed waste | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | In waste gas/leachate well installation (normal activity) Incomplete wells not sealed Abandoned wells not sealed | Operations timed with regard to meteorological conditions Contract specification requires that all wells are sealed at the end of the working day Abandoned holes are sealed with bentonite as per generic GMP Audit of operatives compliance with specification . | Frequent gas field balancing | LFG | As required | EA, Residents if required
[5 empty] | Deployment of odour suppression units | LFG | As required
[5 empty] | Review procedure for future occurrences | TCM/TCP/LFG | As required
Cell engineering | Tie in between new cell and previous cells | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Exposed leachate drainage layers | Agree site specific procedure with Contractors to undertake the works. Weather conditions to be considered. | Review the site specific procedure if required. | TCM/TCP | As required
Leachate | Cap (including features such as wells) | Area and Point source release of gas odour Odour detection at permit receptors Odour detection outside permit boundary | Minor Leachate breakout Damage to extraction infrastructure High leachate head | Emissions FID surveys monthly internally and annual surface permitted area as per monitoring table. Operatives / contractors inducted on accident avoidance, action and reporting procedures DPL/06 Monthly monitoring of leachate levels | Application of cover material to spill area | TCM/TCP | 1 to 5 hours | Yes
[5 empty] | Temporary / permanent repair or turn system off | TCM/TCP | 1 hour
[5 empty] | Leachate Management Plan & Leachate Action Plan | TCM/TCP | 1 hour

## Contingency
Abnormal Event | Control Measure | Action If Odour Caused | Responsibility
Delivery of malodorous waste | Weighbridge operative to identify malodourous waste. Load to be rejected in line with waste acceptance procedures. Plant operative to identify delivered malodourous waste. Malodourous waste to be reloaded onto delivery vehicle or isolated and prioritised for onward transport to disposal facility. | Waste rejected at the weighbridge Waste rejected upon discharge and reloaded on to delivery vehicle for off-site disposal. Waste isolated and prioritised for onward transport to disposal facility. | Technically Competent Manager / Competent persons as weighbridge operator and plant operative.
Plant and equipment malfunction or break down | Planned preventative maintenance and regular inspections. conditions and manual checks act as a back up to ensure Availability of specialist maintenance contractors. Stand by parts / equipment are available | Repairs to be undertaken as quickly as possible, hired plant delivered to site or equipment replaced | Technically Competent Manager / Competent person to ensure plant / equipment is repaired as quickly as possible
Electrical failure | Emergency procedures. | Operations will carry on as normal unless odour control measures and/or the safety of persons are compromised. If operations have to cease, customers will be notified immediately to divert vehicles from site and the Environment Agency will be notified by telephone and updated accordingly. | Technically Competent Manager / Competent Person
Unusual weather conditions (extreme temperature) | Meteorological information / forecasts received from the Met Office. Task planning to mitigate the impact of unusual weather conditions. Off site monitoring On site weather station installed | Monitor odour emissions using site procedures. Review site procedures in relation to weather conditions to establish if modification will mitigate odour emissions. | Competent person to ensure meteorological information / forecast is reviewed daily. Competent person to exercise monitoring procedures.
Closure of disposal outlets | Contingency outlets available | Outlets will be notified and material will be diverted | Technically Competent Manager / Competent Person
Flood | Emergency procedures. | Suspension of waste acceptance in the event of a flood warning and if site cannot resume normal operations. If flooded, existing stock of waste that is likely to cause an odour will be removed by articulated bulk vehicles once it is safe to do so. | Technically Competent Manager / Competent Person
Staff availability | Site staffing procedures and ongoing business reviews | If there is insufficient staff to implement the actions in the odour management plan whilst processing waste, then the site will have to limit the vehicles allowed to on site until extra staff are sourced. | Technically Competent Manager / Competent Person

## EYL FID 01
EYL/FID/01 - Eye Landfill Monthly FID Form
Date and Time |  | Completed by | Weather Conditions | Cloud Cover | Atmospheric Pressure (mb) | Precipitation
Location | Odour Intensity 1-5 1= No detectable odour 2 = Faint odour 3 = Moderate Odour 4 = Strong Odour 5 = Very Strong Odour | Odour Extent 1-6 1 = No detectable odour 2 = Local and impersistent 3 = Impersistent, however detected from boundary 4 = Persistent, but localised 5 = Persistent and persuasive up to 50m from boundary 6 = Persistent and widespread | Odour Description and Comments Fresh waste, Landfill gas, H2S, Sewage etc. | Max FID Reading (ppm) | Average FID Reading (ppm) | Max FID Reading (ppm)
EMP1
EMP2
EMP3
EMP4
EMP5
EMP6
EMP7
EMP8
EMP9

## EYL01
EYL01 - Eye Landfill Odour Complaints Assessment Form
Date and Time |  | Completed by | Weather Conditions | Wind Direction | Atomspheric Pressure (mb) | Precipitation
Location Road Name, property, site boundary etc | Odour Intensity 1-5 1= No detectable odour 2 = Faint odour 3 = Moderate Odour 4 = Strong Odour 5 = Very Strong Odour | Odour Extent 1-6 1 = No detectable odour 2 = Local and impersistent 3 = Impersistent, however detected from boundary 4 = Persistent, but localised 5 = Persistent and persuasive up to 50m from boundary 6 = Persistent and widespread | Odour Description and Comments Fresh waste, Landfill gas, H2S, Sewage etc.