## Plant & Hours operation
Large combustion plant - within review scope
LCP Number | Plant type | Fuel | Proposed operating hours
e.g. LCPXXX | CCGT | Natural Gas | >1500 hours
Insert more cells where necessary
Combustion plant <50MWth - out of review scope, for information only
Plant type | Fuel | Use
e.g. standby generators | Gas oil | Back up to site electricity supply

## BAT Conclusions
Permit number: EPR/XXXXXXXX |  | Operator: XXXXX | Facility name: XXXX
This table should be read and completed with reference to the BAT Conclusions for Large Combustion Plants dated 31st July 2017 and the supporting interpretation document (date and version).
BAT No. | Topic | Brief Description | BAT | Applicable BAT- AEL/AEELs | Operating to BAT? | BAT-AEL derogation needed? | Explanation of how compliance with BAT is met or confirmation of action that will be taken to ensure compliance with BAT by 31/07/2021
General BAT Conclusions
1 | EMS | Improve overall performance | Implement and adhere to an EMS that incorporates key features identified |  |  |  | e.g. There is an EMS certified to X standard in place and it meets requirements (i) through to (xvi) set out in the BAT Conclusion
2 | Efficiency | Determine net electrical efficiency and/or net total fuel utilisation and/or net mechanical efficiency | Carry out a performance test at full load. |  |  |  | Include details frequency and method used to determine efficiencies, fuel utilisation etc.
3 | Monitoring of process parameters | Monitor key process parameters for emissions to air and water specified in the corresponding table. | Monitoring of specified process parameters. |  |  |  | For each unit confirm whether all parameters are monitored for and the monitoring frequency proposed.
4 | Monitoring of emissions to air | Monitor emissions to air with at least the frequency in the corresponding table and in accordance with the EN standards. | Monitor emissions to air with at least the frequency in the corresponding table and in accordance with the EN standards. |  |  |  | For each unit confirm whether all applicable parameters are monitored for and the monitoring frequency and standards proposed.
5 | Monitoring of emissions to water from flue-gas treatment | Monitor emissions to water with at least the frequency in the corresponding table and in accordance with the EN standards. | Monitor emissions to water with at least the frequency in the corresponding table and in accordance with the EN standards. |  |  |  | For each discharge confirm whether all applicable parameters are monitored for and the monitoring frequency and standards proposed.
6 | Environmental performance | Improve general environmental performance | A variety of techniques |  |  |  | Explain which techniques if any are considered not applicable and why. For those that are applicable confirm how each technique will be implemented.
7 | Reduce emissions of ammonia to air | Reduction of ammonia emissions where SCR or SNCR is used. | BAT is to optimise the design and/or operation and to meet associated AELs. | Specify applicable AEL(s) here |  |  | Confirm to which units the AEL is applicable and how the AEL will be met for each unit.
8 | Prevent or reduce emissions to air | Prevent or reduce emissions to air during normal operating conditions. | Ensure, by appropriate design, operation and maintenance, that the emission abatement systems are used at optimal capacity and availability. |  |  |  | Give a brief description to cover how each of these techniques has been or will be implemented.
9 | Environmental performance and reduce emissions to air | Inclusion of a number of elements in the quality assurance/quality control programmes for all the fuels used, as part of the EMS. | Techniques (i), (ii) and (iii). |  |  |  | Details of how points (i), (ii) and (iii) are implemented. Note: not required for natural gas.
10 | Reduce emissions to air and/or water | Prevent or reduce emissions to air during other than normal operating conditions (OTNOC). | A variety of techniques. |  |  |  | Details of how each of the points are met. If not applicable explain why.
11 | Monitoring of emissions to air and/or to water | Monitoring of emissions to air and/or to water during OTNOC. | Appropriately monitor emissions to air and/or to water during OTNOC. |  |  |  | Outline what the monitoring regime is. If not applicable explain why.
12 | Energy efficiency | Increase the energy efficiency for units operated ≥1500 h/yr | A variety of techniques |  |  |  | Explain which techniques if any are considered not applicable and why. For those that are applicable confirm how each technique will be implemented.
13 | Reduce water usage and the volume of contaminated waste water discharged | Reduce water usage and the volume of contaminated waste water discharged | Use of one or both of the techniques specified in the associated table. |  |  |  | Explain which techniques if any are considered not applicable and why. For those that are applicable confirm how each technique will be implemented.
14 | Prevent contaminated of uncontaminated waste water and to reduce emissions to water | Prevent contaminated of uncontaminated waste water and to reduce emissions to water | Segregate waste water streams and to treat them separately, depending on the pollutant content. |  |  |  | Explain how waste water streams are segregated and treated separately.
15 | Reduce emissions to water | Reduce emissions to water from flue-gas treatment | A variety of techniques | Specify applicable AEL(s) here |  |  | Explain which techniques if any are considered not applicable and why. For those that are applicable confirm how each technique will be implemented. Specify which BAT AELs are applicable.
16 | Reduce waste sent for disposal | To reduce the quantity of waste sent for disposal | A variety of techniques |  |  |  | Explain which techniques if any are considered not applicable and why. For those that are applicable confirm how each technique will be implemented.
17 | Reduce noise emissions | To reduce noise emissions | A variety of techniques |  |  |  | Explain which techniques if any are considered not applicable and why. For those that are applicable confirm how each technique will be implemented.
Combustion of solid fuels (coal and/or lignite)
18 | Environmental performance | Improve overall performance | Techniques in associated table.
19 | Efficiency | Increase efficiency | Techniques in associated table. | Specify applicable AEEL(s)
20 | Prevent or reduce emissions of NOx | Prevent or reduce emissions of NOx emissions to air while limiting CO and N2O emissions to air from the combustion of coal and/or lignite. | A variety of techniques and associated AELs | Specify applicable AEL(s)
21 | Prevent or reduce emissions of SOx, HCl and HF | Prevent or reduce emissions of SOx, HCl and HF emissions to air from the combustion of coal and/or lignite. | A variety of techniques and associated AELs | Specify applicable AEL(s)
22 | Reduce dust and particulate-bound metal emissions | Reduce emissions of dust and particulate-bound metal emissions to air from the combustion of coal and/or lignite. | A variety of techniques and associated AELs | Specify applicable AEL(s)
23 | Prevent or reduce emissions of mercury | Prevent or reduce emissions of mercury emissions to air from the combustion of coal and/or lignite. | A variety of techniques and associated AELs | Specify applicable AEL(s)
Combustion of solid fuels (solid biomass and/or peat)
AEELs | Energy efficiency | BAT-associated energy efficiency levels (BAT-AEELs) | Associated AEELs. | Specify applicable AEEL(s)
24 | Prevent or reduce emissions of NOx | Prevent or reduce emissions of NOx emissions to air while limiting CO and N2O emissions to air from the combustion of solid biomass and/or peat. | A variety of techniques and associated AELs | Specify applicable NOx AEL(s) and indicative levels for CO
25 | Prevent or reduce emissions of SOx, HCl and HF | Prevent or reduce emissions of SOx, HCl and HF emissions to air from the combustion of solid biomass and/or peat. | A variety of techniques and associated AELs | Specify applicable AEL(s)
26 | Reduce dust and particulate-bound metal emissions | Reduce emissions of dust and particulate-bound metal emissions to air from the combustion of solid biomass and/or peat. | A variety of techniques and associated AELs | Specify applicable AEL(s)
27 | Prevent or reduce emissions of mercury | Prevent or reduce emissions of mercury emissions to air from the combustion of solid biomass and/or peat. | A variety of techniques and associated AELs | Specify applicable AEL(s)
Combustion of liquid fuels (HFO and/or gas-oil-fired boilers)
AEELs | Energy efficiency | BAT-associated energy efficiency levels (BAT-AEELs) | Associated AEELs. | Specify applicable AEEL(s)
28 | Prevent or reduce emissions of NOx | Prevent or reduce emissions of NOx emissions to air while limiting CO and N2O emissions to air from the combustion of HFO and/or gas oil in boilers. | A variety of techniques and associated AELs. | Specify applicable Nox AEL(s) and indicative levels for CO
29 | Prevent or reduce emissions of SOx, HCl and HF | Prevent or reduce emissions of SOx, HCl and HF emissions to air from the combustion of HFO and/or gas oil in boilers. | A variety of techniques and associated AELs. | Specify applicable AEL(s)
30 | Reduce dust and particulate-bound metal emissions | Reduce emissions of dust and particulate-bound metal emissions to air from the combustion of HFO and/or gas oil in boilers. | A variety of techniques and associated AELs. | Specify applicable AEL(s)
Combustion of liquid fuels (HFO and/or gas-oil-fired engines)
31 | Energy efficiency | BAT-associated energy efficiency levels (BAT-AEELs) | Specified techniques and associated AEELs. | Specify applicable AEEL(s)
32 | Prevent or reduce emissions of NOx | Prevent or reduce emissions of NOx emissions to air from the combustion of HFO and/or gas oil in reciprocating engines. | A variety of techniques and associated AELs | Specify applicable AEL(s)
33 | Prevent or reduce emissions of CO | Prevent or reduce emissions of CO and volatile organic compounds from the combustion of HFO and/or gas oil in reciprocating engines. | A variety of techniques and associated AELs | Specify applicable NOx AEL(s) and indicative levels for CO
34 | Prevent or reduce emissions of SOx, HCl and HF | Prevent or reduce emissions of SOx, HCl and HF emissions to air from the combustion of HFO and/or gas oil in reciprocating engines. | A variety of techniques and associated AELs | Specify applicable AEL(s)
35 | Reduce dust and particulate-bound metal emissions | Reduce emissions of dust and particulate-bound metal emissions to air from the combustion of HFO and/or gas oil in reciprocating engines. | A variety of techniques and associated AELs | Specify applicable AEL(s)
Combustion of liquid fuels (gas oil fired gas turbines)
36 | Energy efficiency | BAT-associated energy efficiency levels (BAT-AEELs) | Specified techniques and associated AEELs. | Specify applicable AEEL(s)
37 | Prevent or reduce emissions of NOx | Prevent or reduce emissions of NOx emissions to air from the combustion of gas oil in gas turbines. | A variety of techniques
38 | Prevent or reduce emissions of CO | Prevent or reduce emissions of CO from the combustion of gas oil in gas turbines. | A variety of techniques and associated AELs | Specify applicable AEL(s)
39 | Prevent or reduce emissions of SOx and dust | Prevent or reduce emissions of SOx and dust emissions to air from the combustion of gas oil in gas turbines. | A variety of techniques and associated AELs | Specify applicable AEL(s)
Combustion of gaseous fuels (natural gas)
40 | Energy efficiency | BAT-associated energy efficiency levels (BAT-AEELs) | Specified techniques and associated AEELs | Specify applicable AEEL(s)
41 | Prevent or reduce emissions of NOx | Prevent or reduce emissions of NOx emissions to air from the combustion of natural gas in boilers | A variety of techniques | Specify applicable NOx AEL(s) (table 25)
42 | Prevent or reduce emissions of NOx | Prevent or reduce emissions of NOx emissions to air from the combustion of natural gas in gas turbines | A variety of techniques. Please also define effective dry low NOx load where applicable. | Specify applicable NOx AEL(s) (table 24) |  |  | Also define the load at which DLN is effective for each unit within the LCP in terms of: i. The output load (i.e. electricity, heat or power generated) (MW); and ii. This output load as a percentage of the rated thermal output of the combustion plant (%).
43 | Prevent or reduce emissions of NOx | Prevent or reduce emissions of NOx emissions to air from the combustion of natural gas in engines. | A variety of techniques | Specify applicable NOx AEL(s) (table 25)
44 | Prevent or reduce emissions of CO | Prevent or reduce emissions of CO emissions to air from the combustion of natural gas | A variety of techniques and associated AELs | Specify applicable indicative levels for CO
45 | Prevent or reduce emissions of non-methane volatile organic compounds (NMVOC) and methane emissions | Prevent or reduce emissions of non-methane volatile organic compounds (NMVOC) and methane emissions to air from the combustion of natural gas in spark-ignited lean-burn gas engines | A variety of techniques and associated AELs | Specify applicable AEL(s) (table 26)
BAT Conclusions for iron and steel process gases (BAT 46 - 51), offshore platforms (BAT 52 - 54) and chemical process gases (BAT 55 - 59), co-incineration (BAT 60 - 71) and gasification (72 - 75) have not been replicated in this table. If you consider these BAT Conclusions applicable to your application please list and provide the required information and append to this table when responding to the Regulation 61 notice.
Derogation
Yes
No
Compliance
Yes - compliant now
Yes - compliant by 31/07/2021
No - will not be compliant

## Guidance
We have included a number of examples of the type of information we might expect for each response in the spreadsheet highlighted in red.
Category of question | What we require
Narrative BAT | Confirm how your operations meet each technique specified. If you have a number of different plants on site you much specify which techniques each plant will operate to. If your compliance date is in the future please specify what you will do to meet BAT by that date. If any of the techniques are not applicable state this and explain why.
BAT AELs | For each combustion unit, confirm which AELs you consider applicable and whether you will meet them. If your compliance date is in the future please specify what you will do to meet the AEL by that date.
BAT AEELs | For each combustion unit, confirm which AEEL you consider applicable and whether the plant meets the AEEL. Include information on how this has been determined.