## Provision
1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 8 | 9 | 10 | 11 | 12 |  | 13 | 14 | 15
Years to | Year | Active | Annual | Cumulative | One-Off | Annual Surface | Cumulative | One-Off | Annual Post | Cumulative Future | Annual | Cumulative | Annual | Cumulative | Specified | Cumulative | Total
Permit | Post | Landfill | Environmental | Future | Capping and | Water | Future | Leachate | Cap | Post Capping | LFG | LFG | Reports & | Reporting | Events | Security and | Financial
Surrender | Closure | Phase/ | Monitoring | Environmental | Restoration of | Drainage | SW Drainage | Treatment | Leachate | Leachate | Management | Management | Reviews |  |  | Maintenance | Provision per
|  | Cell | Costs incl Topo | Monitoring Costs | Active Cells | Maintenance | Maintenance | Plant | Costs | Man Costs | [6 empty] | Phase or Year
|  | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 |  | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 |  | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 |  | 2026 | 5876 | 99892 | 3000 | 1550 | 26350 | 0 | 0 | 0 | 0 | 0 | 2880 | 70560 | 5055 | 13600 | 218457
16 |  | 2027 | 5876 | 94016 | 3000 | 1550 | 24800 | 0 | 0 | 0 | 0 | 0 | 2400 | 67680 | 5055 | 12800 | 207351
15 |  | 2028 | 5876 | 88140 | 3000 | 1550 | 23250 | 0 | 0 | 0 | 0 | 0 | 7200 | 65280 | 5055 | 12000 | 196725
14 |  | 2029 | 5876 | 82264 | 3000 | 1550 | 21700 | 0 | 0 | 0 | 0 | 0 | 2400 | 58080 | 5055 | 11200 | 181299
13 |  | 2030 | 5876 | 76388 | 3000 | 1550 | 20150 | 0 | 0 | 0 | 0 | 0 | 2880 | 55680 | 5055 | 10400 | 170673
12 |  | 2031 | 5876 | 70512 | 3000 | 1550 | 18600 | 0 | 0 | 0 | 0 | 0 | 2400 | 52800 | 5055 | 9600 | 159567
11 |  | 2031 | 5876 | 64636 | 3000 | 1550 | 17050 | 0 | 0 | 0 | 0 | 0 | 2400 | 50400 | 5055 | 8800 | 148941
10 | 2032 |  | 5876 | 58760 | 0 | 1550 | 15500 | 0 | 0 | 0 | 0 | 0 | 2400 | 48000 | 0 | 8000 | 130260
9 | 2033 |  | 5876 | 52884 |  | 1550 | 13950 | 0 | 0 | 0 | 0 | 0 | 9600 | 45600 | 0 | 7200 | 119634
8 | 2034 |  | 5876 | 47008 |  | 1550 | 12400 | 0 | 0 | 0 | 0 | 0 | 2400 | 36000 | 0 | 6400 | 101808
7 | 2035 |  | 5876 | 41132 |  | 1550 | 10850 | 0 | 0 | 0 | 0 | 0 | 2400 | 33600 | 0 | 5600 | 91182
6 | 2036 |  | 5876 | 35256 |  | 1550 | 9300 | 0 | 0 | 0 | 0 | 0 | 2400 | 31200 | 0 | 4800 | 80556
5 | 2037 |  | 5876 | 29380 |  | 1550 | 7750 | 0 | 0 | 0 | 0 | 0 | 2400 | 28800 | 0 | 4000 | 69930
4 | 2038 |  | 5876 | 23504 |  | 1550 | 6200 | 0 | 0 | 0 | 0 | 0 | 2400 | 26400 | 0 | 3200 | 59304
3 | 2039 |  | 5876 | 17628 |  | 1550 | 4650 | 0 | 0 | 0 | 0 | 0 | 7200 | 24000 | 0 | 2400 | 48678
2 | 2040 |  | 5876 | 11752 |  | 1550 | 3100 | 0 | 0 | 0 | 0 | 0 | 7200 | 16800 | 0 | 1600 | 33252
1 | 2041 |  | 5876 | 5876 |  | 1550 | 1550 | 0 | 0 | 0 | 0 | 0 | 9600 | 9600 | 0 | 800 | 17826
|  | NOTES | Back up information on worksheet Back-Up
|  | 1 | Figures in red contribute towards financial provision.
|  | 2 | Costs in blue are annual numbers and contribute towards cumulative provision shown in red
|  | 3 | Assumes leachate management and environmental monitoring for 60 years post site closure
|  | 4 | One-off provisions to be deleted, following review,once installations carried out.
|  | 5 | Monitoring costs reduced to 60%, 40% and then 20% of maximum levels after 10, 20 and 30 years post-closure respectively

## Back-up
PHASE OF SITE'S LIFE |  |  | Historical Landfill being filled over, incorporated into new landfill | Landfill During Operation | [13 empty] | Post Closure | Justification for Challonsleigh Farm Inert Landfill
Quantity
ENVIRONMENTAL MONITORING
Leachate Pump and Wells |  | /No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not applicable as inert waste landfill
Leachate Samples |  | /No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not applicable as inert waste landfill
Leachate Testing Cost |  | /year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not applicable as inert waste landfill
Leachate List 1 Substances |  | /year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not applicable as inert waste landfill
Surface Water Testing Cost |  | /year | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400 | For quarterly monitoring of the River Yealm to which runoff will discharge
Groundwater Wells |  | /No | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | For groundwater monitoring
Groundwater Testing Cost |  | /year | 0 | 3026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3026 | For groundwater monitoring quarterly
Settlement- Yearly Surveys |  | /year | 0 | 750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 750 | Likely annual permit requirement
Technician Visits and LFG Monitoring |  | /year | 0 | 1700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1700
Sub- Total Annual Environmental Monitoring |  |  | 0 | 5876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876
Number of Gas Wells in Use |  | /No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not applicable as inert waste landfill
Total Number of Monitoring Wells in Use |  | /No | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
Total Replacement Cost |  |  | 0 | 17692.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17692.5 | Indicative based on BoQ for gi in 2020
Annual Replacement Cost |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CAPPING AND RESTORATION
Max Area to be Restored |  | /m2 | 0 | 15000 | Estimate max. working area of anyone time as: | 0 | m2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Maximum estimated prior to progressive restoration
Geomembrane Cap | 0 | /m2 | 0 | 0 | #VALUE! | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Restoration Soils from Stock | 0 | /m3 | 0 | 0 | #VALUE! | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cultivation & Seeding | 0.2 | /m2 | 0 | 3000 | #VALUE! | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Nominal allowance max. (unlikely) area unrestored
Sub Total Capping and Restoration |  |  | 0 | 3000 | #VALUE! | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Post Closure - all restored so not required
LEACHATE MANAGEMENT - not applicable for Challonsleigh Farm Inert Landfill
Total Capped Area |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Long Term Leachate Infiltration Through Cap |  | /m3/annum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Long Term Disposal |  | /annum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement of Leachate Pumps |  | /annum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
One off LTP Provison |  | /annum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sub Total Leachate Management Costs |  | /annum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LANDFILL GAS MANAGEMENT - not applicable for Challonsleigh Farm Inert Landfill
Number of Gas Abstraction Wells in Use per Cell |  | /No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Number of Gas Wells |  | /No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Replacement Cost |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Replacement Cost |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maintenance/Replacement of Flare |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sub Total Annual LFG Management Costs |  | /annum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SURFACE WATER MANAGEMENT
Total Length of Drain |  | m | 0 | 1060 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Indicative for final perimeter drainage
Allowance for inspection visits |  | total |  | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 800 | Nominal allowance
Allowance for potential clean out of drains |  | Total | 0 | 750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 750 | Nominal allowance
1550
SECURITY
Maintenance of Fences and Gates |  |  |  | 800 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 800 | Nominal allowance
SPECIFIED EVENTS
Leachate Head Rise Above Trigger Levels | [17 empty] | 0 | Not applicable/expected for inert landfill
Repair/Maintenance of Cap | [17 empty] | 0 | Not applicable/expected for inert landfill
Any Other Specific Provision as a Result of Site Specific Risk Assessment:
Possible requirement for in-waste gas wells, for up to 1.25 ha to be restored | [17 empty] | 5055
Total Specified Occurrences | [17 empty] | 5055
SITE REPORTS
Annual reporting |  |  |  | 2400 | [13 empty] | 2400 | Estimate based on man time to carry out
Six yearly hydrological reviews |  |  |  | 4800 | [13 empty] | 4800 | Estimate based on man time to carry out
Closure Plan - review every four years |  |  |  | 480 | [14 empty] | Estimate based on man time to carry out
Closure Report, assume year 12 | [17 empty] | 2400 | Estimate based on man time to carry out
Permit Surrender Report, assume 10 yrs after filling stops |  |  |  |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 7200 | Estimate based on man time to carry out

## Environmental Monitoring
ENVIRONMENTAL MONITORING
Leachate Pump and Wells |  |  | Not applicable to inert landfill
How many are - | On the existing landfill? | 0
| On cells | 0
Leachate Samples
How many do you take - | On the existing landfill? | 0 | Not applicable to inert landfill
| On cells | 0
Leachate Testing Cost |  |  | Not applicable to inert landfill
What is your Composite Samples unit cost? |  | 0
What is your List 1 Substances unit cost? |  | 0
Surface Water Testing Cost
How many samples do you take each quarter? |  | 2 | Upstream and downstream of discharge
What is the unit cost of each sample? |  | 50 | £50 (i.e. Chemtest quote Q20-21378-1 +20%) per sample + 1hr staff time per sample for sampling, CoC etc.
Groundwater Wells
How many wells do you have - | On the existing landfill? | 0
| On cells | 0
| At perimeter locations | 7 | BHL01, BHL02, BHL03, BHL04, BHL05, BHL06, BHL08 which is also in historical landfill
What is your sample location/annum unit cost? |  | 432.2857 | £50 (i.e. Chemtest quote Q20-21378-1 +20%) + 7.5 hrs £50/hr staff time per sample for travel, sampling, CoC, despatch etc., 35 miles rtn at 45p per mile = |  | 756.5 | per visit, quarterly ?
Settlement- Yearly Surveys
What is the unit cost of each survey? | On the existing landfill? | 0 | Included in below
| On cells | 750 | Estimate
Technician Visits and LFG Monitoring
How many visits per annum does the technician make? |  | 4 | Quarterly
What is the unit cost of each visit? |  | 425 | £50 for hire of gas meter, 7.5 hrs £50/hr staff time per sample for travel, sampling, & to help with gw sampling = |  | 425 | per visit, quarterly ?
Landfill Gas/Monitoring Wells
How many Gas Wells are - | On the existing landfill? | 0 | None for inert landfill
| On cells | 0 | None for inert landfill
| At perimeter locations | 0 | None for inert landfill
How many Monitoring Wells are - | On the existing landfill? | 0
| On cells | 0
| At perimeter locations | 7 | BHL01, BHL02, BHL03, BHL04, BHL05, BHL06, BHL08 which is also in historical landfill
What is the unit cost of each well? |  | 2527.5 | Based BoQ for gi 2020, cost for 10m well General items, roatary drilling, inspection pit, instrumentation, monitoring during fieldwork = | 2527.5
What percentage of wells are replaced each year, on average? |  | 0

## Capping and Restoration
CAPPING AND RESTORATION
What is the Maximum Area (in square metres) to be Restored ?
| On the existing landfill? |  | 0
| On cells |  | 15000 | Estimate max. working area of anyone time as: | m2 | 1500
Based on one tenth landfill area of circa 13.65 ha
Geomembrane Cap
What is the unit cost of each cubic metre? (No £ sign!) |  | N/A | 0 | N/A
Restoration Soils - From Stock ?
What is the unit cost of each cubic metre? (No £ sign!) |  |  | 0 | N/A - soils on site
Cultivation & Seeding
What is the unit cost of each square metre? (No £ sign!) |  |  | 0.2 | GS8 species rich grassland at: | g/m2 | 3.5
[5 empty] | g | 428.5714
[5 empty] | kg | 0.42857
|  |  |  | Boston Seeds max price | 20kg | 131
|  |  |  | Delivery |  | 5.99
136.99
|  |  |  | Seed cost /m2 |  | 0.091327
|  |  |  | Overall with allowance for plant /m2 |  | 0.2 | estimate to give nominal £3000

## Leachate Management
LEACHATE MANAGEMENT |  |  |  | NOT APPLICABLE TO CHALLONSLEIGH FARM INERT LANDFILL
What is the total capped area? | On the existing landfill? |  | 0
| On cells | 1 | 0
Long Term Leachate Through Cap
What is your long term infiltration in mm/annum? |  |  | 300
Annual Long Term Disposal
What is your long term disposal cost per cubic metre? |  |  | 0
Replacement of Leachate Pumps
At what yearly interval do you replace your leachate pumps? |  |  | 0
What does each pump cost? |  |  | 0
One off Leachate Treatment Plant Provison
How much do you expect this to cost? (No £ sign!) |  |  | 0
Site not capped only restored with soils

## Landfill Gas Management
LANDFILL GAS MANAGEMENT
How many Gas Abstraction Wells have you in use? |  |  |  | NOT APPLICABLE TO CHALLONSLEIGH FARM INERT LANDFILL
| On the existing landfill? | 0
| On cells | 0 | 0
Total No of Gas Monitoring Wells
How many Gas Monitoring Wells have you in use?
On the existing landfill?
| On cells | 0
At perimeter locations
Annual Replacement Cost
What is your well replacement cost per metre (No £ sign!)
How deep are your wells? In metres.
Therefore each well costs |  |  | 0
Maintenance/Replacement of Flare
What is the total cost of your flare? |  |  | 0
What percentage of cost do you allow for maintenance? (No %!) |  |  | 0

## Surface Water Management
SURFACE WATER MANAGEMENT
Total Length of Drain
What is the total length of drains, in metres? |  | 1060 | perimeter drains
| On the historical landfill? | 0 | none at present as restored / vegetated
Allowance for inpection of drains
No. of inspection visits per year |  | 4
Duration of inspection visit, day |  | 0.5
How much does an inspection visit cost |  | 200 | up to two site staff for half day each
Allowance for potential drain clearance, plant and personnel |  | 750 | Nominal allowance for mechanical plant and operator

## Security
SECURITY
Maintenance of Fences and Gates - indicative quantities
Site boundary, m | 1938
Site access gates, no. | 2
Other fencing, approximately, m | 1900 | Protective tree fencing
Allowance for maintenance of security fences and gates | 800 | Nominal allowance, staff and materials

## Specified Events
SPECIFIED EVENTS
Leachate Head Rise above Trigger Levels |  |  |  | Not expected
Additional Monitoring
How many additional monitoring visits would you expect to be needed? |  |  | 0
What would be the cost of each visit? (No £ sign!) |  |  | 0
Additional groundwater testing
How many additional groundwater tests would you expect to be needed in one year? |  |  | 0
What would be the cost of each visit? (No £ sign!) |  |  | 0
Additional leachate abstraction wells required
How many additional leachate abstraction wells will be needed? |  |  | 0
What would be the cost of each well? (No £ sign!)
Additional pumps required
How many additional pumps will be needed? |  |  | 0
What would be the cost of each pump? (No £ sign!) |  |  | 0
Management and CQA
Specify expected cost in £'s (No £ sign!) |  |  | 0
This gives a total cost of: |  |  | 0
Repair/Maintenance of Cap |  |  |  | Not expected
How much soil will need to be stripped (in cubic metres)? | 0 | Unit Cost? | 0
How much cap will need to be replaced (in cubic metres)? | 0 | Unit Cost? | 0
How much soil will need to be replaced (in cubic metres)? | 0 | Unit Cost? | 0
Specify expected cost in £'s (No £ sign!) |  | Unit Cost?
This gives a total cost of: |  |  | 0
Any Other Specific Provision as a Result
of Site Specific Risk Assessment.
Possible requirement for in-waste gas wells
Allow for 2 no. for up to 1.25 ha to be restored |  |  | 5055 | Based on BoQ for gi 2020, cost for General items, roatary drilling, inspection pit, instrumentation, monitoring during fieldwork = | 2527.5
Possible requirement for in-waste gas wells, for up to 1.25 ha to be restored |  |  | 5055

## Site Reports
SITE REPORTS
Annual Environmental Performance Report
Expected cost of your annual performance report? | 2400 | Up to one week @ £60/hr
Hdrogeological Risk Assessment 6 yearly reviews
Expected cost for review | 4800 | Up to two weeks each review @ £60/hr
Closure Plan - review every 4 years
Expected cost for review/updates | 480 | Up to one day each review @£60/hr
Closure Report
Expected cost of final site closure report | 2400 | Up to one week @ £60/hr
Permit Surrender Report
Expected cost of environmental permit surrender report | 7200 | Up to three weeks @ £60/hr