## Daily Data
Data Logger Readings |  |  | B97 ETP |  |  |  | B135 Boilerhouse | [5 empty] | B110 Cleaning Bay
|  |  | Electric Read (kwh) | Demand (Kwh) | Water (M³) Read | Demand (m3) | Electric (kwh) | Demand (KWh) | Water Read (m³) | Waster Demand (m3) | Gas Read (m³) | Gas Demand (m3) | Electric (kwh) | Demand (KWh) | Water Read (m³) | Waster Demand (m3) | Gas Read (m³) | Gas Demand (m3)
Date | 10.12.24 | Tue | 185787 |  | 89640 |  | Data being collected |  | 17623 |  | 5362391 |  | Data being collected |  | 31083 |  | 2370517
| 11.12.24 | Wed | 185928 | 141 | 89671 | 31 | Data being collected |  | 17623 | 0 | 5365507 | 3116 | Data being collected |  | 31089 | 6 | 2370945 | 428
| 12.12.24 | Thur | 186042 | 114 | 89699 | 28 | Data being collected |  | 17623 | 0 | 5369588 | 4081 | Data being collected |  | 31090 | 1 | 2371317 | 372
| 13.12.24 | Fri | 186181 | 139 | 89734 | 35 | Data being collected |  | 17623 | 0 | 5372775 | 3187 | Data being collected |  | 31092 | 2 | 2371947 | 630
| 14.12.24 | Sat | Weekend - No readings Taken
| 15.12.24 | Sun
| 16.12.24 | Mon | 186388 | 207 | 89752 | 18 | Data being collected | 2568.57 | 17625 | 2 | 5382136 | 9361 | Data being collected | 15310.72 | 31098 | 6 | 2372253 | 306
| 17.12.24 | Tue | 186522 | 134 | 89784 | 32 | Data being collected |  | 17625 | 0 | 5384730 | 2594 | Data being collected |  | 31101 | 3 | 2372827 | 574
| 18.12.24 | Wed | 186697 | 175 | 89831 | 47 | Data being collected |  | 17634 | 9 | 5388020 | 3290 | Data being collected |  | 31105 | 4 | 2373472 | 645
| 19.12.24 | Thur | 186772 | 75 | 89845 | 14 | Data being collected |  | 17634 | 0 | 5390439 | 2419 | Data being collected |  | 31106 | 1 | 2373702 | 230
| 20.12.24 | Fri | 186870 | 98 | 89869 | 24 | Data being collected |  | 17637 | 3 | 5394685 | 4246 | Data being collected |  | 31114 | 8 | 2373962 | 260
| 21.12.24 |  | Weekend - No readings Taken
22.12.24
| 23.12.24 | Mon | 187082 | 212 | 89882 | 13 | Data being collected |  | 17637 | 0 | 5403318 | 8633 | Data being collected |  | 31121 | 7 | 2374456 | 494
| 24.12.24 | Tue | 187199 | 117 | 89905 | 23 | Data being collected |  | 17639 | 2 | 5406278 | 2960 | Data being collected |  | 31127 | 6 | 2374750 | 294
| 25.12.24 to 01.01.25 |  | Christmas Break - No readings taken
| 02.01.25 | Thur | 187770 | 571 | 89914 | 9 | Data being collected | 7893.48 | 17641 | 2 | 5430246 | 23968 | Data being collected |  | 31129 | 2 | 2374764 | 14
| 03.01.25 | Fri | 187851 | 81 | 89915 | 1 | Data being collected |  | 17641 | 0 | 5435320 | 5074 | Data being collected |  | 31129 | 0 | 2374764 | 0
| 04.01.25 | Sat | Weekend - No readings Taken
| 05.01.25 | Sun
| 06.01.25 | Mon | 188099 | 248 | 89924 | 9 | Data being collected |  | 17649 | 8 | 5446085 | 10765 | Data being collected |  | 31130 | 1 | 2375028 | 264
| 07.01.25 | Tue | 188224 | 125 | 89955 | 31 | Data being collected |  | 17651 | 2 | 5450021 | 3936 | Data being collected |  | 31134 | 4 | 2375546 | 518
| 08.01.25 | Wed | 188365 | 141 | 89984 | 29 | Data being collected |  | 17653 | 2 | 5453577 | 3556 | Data being collected |  | 31147 | 13 | 2376079 | 533
| 09.01.25 | Thur | 188491 | 126 | 90012 | 28 | Data being collected |  | 17655 | 2 | 5457830 | 4253 | Data being collected |  | 31155 | 8 | 2376723 | 644
| 10.01.25 | Fri | 188625 | 134 | 90040 | 28 | Data being collected |  | 17659 | 4 | 5462236 | 4406 | Data being collected |  | 31159 | 4 | 2377016 | 293
| 11.01.25 |  | Weekend - No readings Taken
12.01.25
| 13.01.25 | Mon | 188909 | 284 | 90063 | 23 | Data being collected | 5447.51 | 17668 | 9 | 5473899 | 11663 | Data being collected | 21200.56 | 31162 | 3 | 2377576 | 560
| 14.01.25 | Tue | 189031 | 122 | 90091 | 28 | Data being collected |  | 17670 | 2 | 5477507 | 3608 | Data being collected |  | 31164 | 2 | 2378045 | 469
| 15.01.25 | Wed | 189174 | 143 | 90125 | 34 | Data being collected |  | 17674 | 4 | 5480297 | 2790 | Data being collected |  | 31168 | 4 | 2378580 | 535
| Total |  |  | 3387 |  | 485 | 15,909.56 Kwh | 15909.56 |  | 51 |  | 117906 | 66066 | 36511.28 |  | 85 |  | 8063
No of Days in Monitoring period |  |  | 29 | Excluding the christmas break |  |  | 34 | [5 empty] | 14 Days
Average Daily Demand |  |  | 116.7931 | KWh |  | 16.7241 | m3 | 467.9282 | KWh | 1.7586 | m3 | 3467.8235 | m3 | 2607.9486 | KWh | 2.931 | m3 | 278.0345 | m3
[12 empty] | 39403.7228 | KWh |  |  |  |  | 3159.2131 | KWh
= Dates Read

## Average Data
Mean Demand by Area
| B97 ETP |  | Boilerhouse |  |  |  | B110 Cleaning Bay
| Electric (kwh) | Water (M³) | Electric (kwh) | Water (M³) | Gas |  | Electric (kwh) | Water (M³) | Gas
10.12.24 | 185787 | 89640 |  | 17623 | 5362391 |  |  | 31083 | 2370517 | 2370517
11.12.24 | 185928 | 89671 |  | 17623 | 5365507 |  |  | 31089 | 2370945 | 2370945
12.12.24 | 186042 | 89699 |  | 17623 | 5369588 |  |  | 31090 | 2371317 | 2371317
13.12.24 | 186181 | 89734 |  | 17623 | 5372775 |  |  | 31092 | 2371947 | 2371947
16.12.24 | 186388 | 89752 |  | 17625 | 5382136 |  |  | 31098 | 2372253 | 2372253
Data collected between 10/12/24 - 15/01/25 (No data between 25/12/24 - 01/01/25)
Note: MRF demand omitted. Minimal lighting units only, negligible demand. Site unable to impact on metrics with further reductions.
Starting Figure | 185787 | 89640 | 0 | 17623 | 5362391 | m3 | 0 | 31083 | 2370517 | m3
Closing Figure | 189174 | 90125 | 15909.56 | 17674 | 5480297 | m3 | 36511.28 | 31168 | 2378580 | m3
Total Used | 3387 | 485 | 15909.56 | 51 | 117906 | m3 | 36511.28 | 85 | 8063 | m3
Days Measured | 29 | 29 | 34 | 29 | 34 | m3 | 14 | 29 | 29 | m3
Daily Average | 116.7931 | 16.7241 | 467.9282 | 1.7586 | 39403.7228 | KWh | 2607.9486 | 2.29 | 3159.2131 | KWh
Weekly Average | 817.5517 | 117.069 | 3275.4976 | 12.3103 | 275826.0598 | KWh | 18255.64 | 16.03 | 22114.492 | KWh
Annual Average | 42512.6897 | 6087.5862 | 170325.8776 | 640.1379 | 7171477.5539 | KWh | 949293.28 | 833.56 | 1149953.5864 | KWh
Annual Cost £ * Market Rate | 15347.081 | 11992.5448 | 61487.6418 | 1261.0717 | 731490.7105 |  | 342694.8741 | 1642.1132 | 126494.8945
Note on B14: Excludes Christmas Break
Note on C14: Excludes Christmas Break
Note on D14: Includes Christmas Break - Heating Left On
Note on E14: Excludes Christmas Break
Note on F14: Includes Christmas Break - Heating Left On
Note on H14: 10 Working Days and Two Weekends
Note on I14: Excludes Christmas Break
Note on J14: Excludes Christmas Break

## Electric Usage from Meters
| 10.12.24 - 16.12.24 | 16.12.24 - 03.01.25 | 03.01.24 - 15.01.25 | Total Used kwh | Average per day (37 Days Total)
BoilerHouse | 2568.57 | 7893.48 | 5447.51 | 15909.56 | 429.9881
B110 Cleaning Bay | 15310.72 | 29555 | 21200.56 | 66066.28 | 1785.5751
B118 Cleaning Bay | 3317.01 | 4210.15 | 3696.66 | 11223.82 | 303.3465
Total's | 21196.3 | 41658.63 | 30344.73 | 93199.66 | 2518.9097
Units in Kwh