| Serial No: |  | FLT/EA/007 |  | Date of Entry: |  | 10/07/2023 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A |  | B |  | C |  | D |  |  |
| Probability of a significant Environment Impact |  | Potential Consequence |  | Resultant Impact |  | Legal Consequence |  |  |
| 1 - 6 | 3 | 1 - 6 | 5 | 1 - 6 | 4 | 1 - 6 |  | 4 |
| Environmental Risk Score Emergency Conditions A x B x C x D = |  |  |  |  | 240 |  |  |  |
| 1 – 6 | 1 | 1 – 6 | 5 | 1 – 6 | 4 | 1 – 6 | 4 |  |
| Environmental Risk Score Routine Conditions A x B x C x D = |  |  |  |  | 80 |  |  |  |
| Responsible Business Unit: |  |  |  | Engine Services |  |  |  |  |
| Line Manager/Process Supervisor |  |  |  | Production Managers |  |  |  |  |
| Description of Activity, Process, Operation, Equipment |  |  |  | Engine cleaning |  |  |  |  |
| Description of Potential or Actual Environmental Effects: |  |  |  | Ground pollution |  |  |  |  |
| Statutory Licences, Consents, Agreements and Exemption Certificates required and Applicable conditions |  |  |  |  |  |  |  |  |
| Legislative Reference(s) applicable: |  |  |  | Pollution Prevention and Control act 1999 |  |  |  |  |
|  |  |  |  | Environmental Protection Act 1990 |  |  |  |  |
|  |  |  |  | Environment Act 1995 |  |  |  |  |
|  |  |  |  | Hazardous Waste Regulations 2005 |  |  |  |  |
|  |  |  |  | Control Of Substances Hazardous to Health Regulations 2002 |  |  |  |  |
|  |  |  |  | Health & Safety at Work Act 1974 |  |  |  |  |
| Serial Numbers of Associated Register Entries |  |  |  |  |  |  |  |  |
| Additional Information / Notes (Control measures in place) ((Separate) Additional control measures) |  |  |  | Aircraft cleaning and Engine cleaning (when required) undertaken within Aircraft washdown controlled area. Waste water is controlled via gate valve, holding tank, interceptor and separator system. Gate is open when no activity is undertaken so that rain water drains to outlet to Crabtree Lake. VAIL-EHS-048 - Pollution Prevention Control (PPC), Consents & Licenses VAIL-EHS-074 Management of waste |  |  |  |  |

| Opportunities to reduce Environmental Impact |  |
| --- | --- |
| Scale of environmental impact |  |
| Population growth |  |
| Source of raw material |  |
| Energy supplies |  |
| Emissions of CO2 |  |
| Air pollution & damage to ozone |  |
| Water resources |  |
| Land issues |  |
| Loss of bio-diversity |  |
| Sustainability |  |