| Serial No: |  | FLT/EA/14 |  | Date of Entry: |  | 6/11/18 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A |  | B |  | C |  | D |  |  |
| Probability of a significant Environment Impact |  | Potential Consequence |  | Resultant Impact |  | Legal Consequence |  |  |
| 1 - 6 | 6 | 1 - 6 | 6 | 1 - 6 | 6 | 1 - 6 |  | 2 |
| Environmental Risk Score Emergency Conditions A x B x C x D = |  |  |  |  | 432 |  |  |  |
| 1 – 6 | 1 | 1 – 6 | 1 | 1 – 6 | 1 | 1 – 6 | 1 |  |
| Environmental Risk Score Routine Conditions A x B x C x D = |  |  |  |  | 1 |  |  |  |
| Responsible Business Unit: |  |  |  | All |  |  |  |  |
| Line Manager/Process Supervisor |  |  |  | All supervisors and managers. |  |  |  |  |
| Description of Activity, Process, Operation, Equipment |  |  |  | Fire |  |  |  |  |
| Description of Potential or Actual Environmental Effects: |  |  |  |  |  |  |  |  |
|  |  |  |  | Uncontrolled ignition of combustible materials will have a significant adverse effect on the environment, through air pollution, water pollution and ground contamination. Suppression of fires , by water or foam, will also have a detrimental effect to groundwater and waste water discharge. |  |  |  |  |
| Statutory Licences, Consents, Agreements and Exemption Certificates required and Applicable conditions |  |  |  | Fire risk assessment for each building. |  |  |  |  |
| Legislative Reference(s) applicable: |  |  |  | Regulatory Reform Order (Fire Safety) 2005. |  |  |  |  |
| Serial Numbers of Associated Register Entries |  |  |  |  |  |  |  |  |
| Additional Information / Notes (Control measures in place) ((Separate) Additional control measures) |  |  |  | All employees are provided with fire awareness training. On-site fire fighting team. Local authority fire fighting teams 6 minutes away. 2.FBM.SHEF.38 - Fire Precaution when fuelling/defuelling aircraft not on Heliport 2.FBM.SHEF.39 – Fire and support services. Consider potential risks associated with 2 degree Celsius rise by 2050 and 4 degree Celsius rise by 2100. Risk of wild fires considered low. Minimal vegetation on site and there is an on site Fire and Rescue Service. |  |  |  |  |

| Opportunities to reduce Environmental Impact |  |
| --- | --- |
| Scale of environmental impact |  |
| Population growth |  |
| Source of raw material |  |
| Energy supplies |  |
| Emissions of CO2 |  |
| Air pollution & damage to ozone |  |
| Water resources |  |
| Land issues |  |
| Loss of bio-diversity |  |
| Sustainability |  |