## Groundwater Level
| BOREHOLE |  | BH2
Sampler | Date | Pressure (mb) | Water level (mbgl) | Borehole depth (mbgl) | Borehole Level (mAOD) | Water level (mAOD) | Comments
EAGLE | 2017-01-25 | 1014 | dry | 36.5 | 96.18 | Dry
EAGLE | 2017-02-22 | 1003 | dry | 37.6 | 96.18 | Dry
EAGLE | 2017-03-14 | - | - | - | 96.18 | - | Sampling not undertaken, not sure why
EAGLE | 2017-04-18 | 1020 | dry | 36.5 | 96.18 | Dry
PV | 2017-06-05 | 999 | - | - | 96.18 | -
PV | 2017-07-04 | 1010 | dry | - | 96.18 | Dry
PV | 2017-08-15 | 1005 | dry | - | 96.18 | Dry
CM | 2017-09-12 | 998 | dry | 37.33 | 96.18 | Dry
CM | 2017-10-17 | 1009 | dry | 36.93 | 96.18 | Dry
CM | 2017-11-21 | 998 | dry | 37.13 | 96.18 | Dry | Error message on gas analyser - 'internal pump flow failed'
CM | 2017-12-12 | 997 | dry | 36.95 | 96.18 | Dry
CM | 2018-01-18 | 992 | - |  | 96.18 | - | Dip meter fault - could not record water level
CM | 2018-02-22 | 1013 | - |  | 96.18 | - | Dip meter fault - could not record water level
|  |  | Average GW Level |  |  | Average GW Level
|  |  | Dry |  |  | Dry
| BOREHOLE |  | BH1
Sampler | Date | Pressure (mb) | Water level (mbgl) | Borehole depth (mbgl) | Borehole Level (mAOD) | Water level (mAOD) | Comments
EAGLE | 2017-01-25 | 1014 | 19.9 |  | 101.91 | 82.01
EAGLE | 2017-02-22 | 1002 | 15.6 |  | 101.91 | 86.31
EAGLE | 2017-03-14 | 1022 | 14.25 |  | 101.91 | 87.66
EAGLE | 2017-04-18 | 1020 | 17.34 |  | 101.91 | 84.57
PV | 2017-06-05 | - | - | - | 101.91 | -
PV | 2017-07-04 | - | 23.1 | 30.2 | 101.91 | 78.81 | Baler stopped at 16.20m so no water could be collected
PV | 2017-08-15 | - | 21.47 | 30.2 | 101.91 | 80.44 | Water samples taken with small bailers
CM | 2017-09-12 | 997 | 23.09 | 30.58 | 101.91 | 78.82
CM | 2017-10-17 | 1008 | 22.84 | 30.56 | 101.91 | 79.07
CM | 2017-11-21 | 997 | 21.95 | 30.53 | 101.91 | 79.96 | Error message on gas analyser - 'internal pump flow failed'
CM | 2017-12-12 | 997 | 21.83 | 30.45 | 101.91 | 80.08
CM | 2018-01-18 | 991 | - | 30.26 | 101.91 | - | Dip meter fault - could not record water level
CM | 2018-02-22 | 1012 |  | 30.36 | 101.91 | - | Dip meter fault - could not record water level
|  |  | Average GW Level |  |  | Average GW Level
|  |  | 22.38 |  |  | 79.53

## Monitoring Data
BH1 - Groundwater Quality Data
EAL's
Monitoring Date | Chloride (mg/l) | Ammoniacal Nitrate (mg/l) | Cadmium (ug/l) | GW Level (mAOD) |  | Chloride | Cadmium | Ammonical N
2017-01-01 | #N/A | #N/A | #N/A | #N/A | 2017-01-01 | 250 | 5 | 0.5
2017-01-25 | #N/A | #N/A | #N/A | 82.01 | 2017-01-25 | 250 | 5 | 0.5
2017-02-22 | #N/A | #N/A | #N/A | 86.31 | 2017-02-22 | 250 | 5 | 0.5
2017-03-14 | #N/A | #N/A | #N/A | 87.66 | 2017-03-14 | 250 | 5 | 0.5
2017-04-18 | #N/A | #N/A | #N/A | 84.57 | 2017-04-18 | 250 | 5 | 0.5
2017-06-05 | #N/A | #N/A | #N/A | #N/A | 2017-06-05 | 250 | 5 | 0.5
2017-07-04 | #N/A | #N/A | #N/A | 78.81 | 2017-07-04 | 250 | 5 | 0.5
2017-08-15 | 97.3 | 0.2 | 0.08 | 80.44 | 2017-08-15 | 250 | 5 | 0.5
2017-09-12 | 107 | 0.2 | 0.08 | 78.82 | 2017-09-12 | 250 | 5 | 0.5
2017-10-17 | 92.1 | 0.2 | 0.0846 | 79.07 | 2017-10-17 | 250 | 5 | 0.5
2017-11-21 | 109 | 0.2 | 0.08 | 79.96 | 2017-11-21 | 250 | 5 | 0.5
2017-12-12 | 92.3 | 0.2 | 0.08 | 80.08 | 2017-12-12 | 250 | 5 | 0.5
2018-01-18 | 40.5 | 0.2 | 0.08 | #N/A | 2018-01-18 | 250 | 5 | 0.5
2018-02-22 | 41.2 | 0.2 | 0.08 | #N/A | 2018-02-22 | 250 | 5 | 0.5
| Chloride (mg/l) | Ammoniacal Nitrate (mg/l) | Cadmium (ug/l)
Min | 40.5 | 0.2 | <0.08
Max | 109 | 0.2 | <0.08
Average | 82.7714 | <0.2 | 0.080657
Standard Deveation | 27.2001 | 0 | 0.0016097
EAL | 250 | 0.5 | 5
Note on A2: Authorised User: The aim is to create a graph for each chemical/groundwater level showing all of the boreholes. Step 1: Insert Chart Step 2: Set up chemical and GW levels in this format Step 3: Fill any gaps with =NA() - this will connect the line over any missing points. Set an empty cell at the start of the month so the graph starts on the first day of each month Step 4: Insert first series, name the series after the borehole. Series values are the chemical/GW levels Step 5: Select horizontal axis (dates) Step 6: Add data labels and format chart (use chart elements - the + sign next to the chart) Step 7: Add each new borehole as a new series Step8: Repeat to create a graph for each chemical and GW level

## On site data
1 (by Track near offices) | [6 empty] | 2 (Rifle Club)
Sampler | Date | PPT | PH | MS | Temperature |  | Sampler | Date | PPT | PH | MS | Temperature
CM | 2017-09-12 | 0.59 | 7.11 | 1.04 | 25.8 |  | CM | 2017-09-12 | Dry | Dry | Dry | Dry
CM | 2017-10-17 | 0.98 | 7.33 | 1.96 | 12.1 |  | CM | 2017-10-17 | Dry | Dry | Dry | Dry
CM | 2017-11-21 | 0.9 | 7.37 | 1.63 | 12.5 |  | CM | 2017-11-21 | Dry | Dry | Dry | Dry
CM | 2017-12-12 | 0.77 | 7.39 | 1.46 | 10.3 | Not a duplication | CM | 2017-12-12 | Dry | Dry | Dry | Dry
PV | 2018-01-31 | 0.77 | 7.39 | 1.46 | 10.3 |  | PV | 2018-01-31 | Dry | Dry | Dry | Dry