## Sheet2
Swarbrick Hall Farm site/Drainage plan
North
to ditch
NGR339377 , 436234
Ultimately reaching Bradkirk Brook
Boiler 3
to ditch
NGR339420 , 436124
[8 empty] | Boiler 1 |  | Ultimately reaching Bradkirk Brook
Boiler 2
To pond
NGR339294 , 435906
Ultimately reaching Bradkirk Brook
| Feed Bins |  | High Velocity Roof Extraction Fans | Chemical store | Dirty water drain
| Site Boundary |  | Gable Fans (summer cooling)
| Concrete Area |  | Poultry Houses | Dirty Water Tank | Bore hole
| Bunded Fuel Tanks |  | Generators |  | Carcass storage
| 1300ltr |  | Foul Water |  | Lightly contaminated water
| LPG tanks 4000ltrs |  | Clean Water | Flow chamber | Wood pellet bin (virgin wood)
Drain including Diverter valve
| Biomass boilers/woodchipstore |  |  | French drain clean water
| Biomass boiler exhaust stacks |  |  | Unlined attenuation ponds
Storage building
1
2
3
4
5
6
7
8
B
A