Application information requirements for assessing air emissions from biomass boilers at EPR intensive farms

Required information

Please supply the following information:

| Number of biomass boilers | 1 |
| --- | --- |
| Stack height (from ground level) | 10.8m |
| Thermal input in MW or kW of each boiler | 1764kW |
| The exact grid reference(s) of the stack(s) | 340167,433243 |
| The exact grid reference of the centre of the farm | 340295,433169 |
| A plan giving layout of the farm including dimensions. | N/A |
| Fuel type (virgin wood, straw or miscanthus) | Grade A wood |
| Approximate fuel storage tonnage | 75t |
| Details of accident prevention measures - please provide risk assessment document | Boiler document |
| Adjacent Building - height of adjacent buildings, including building housing boiler(s) if relevant. | 9.6m |
| Confirmation that the boiler and its installation meet the technical criteria to be eligible for the Renewable Heat Incentive (the boiler manufacturer should have proof of certification) please provide certificate | N/A |
| Additional information required only if the boilers do not screen out as detailed in the guidance at https://www.gov.uk/guidance/intensive-farming-risk-assessment-for-your-environmental-permit#air-emissions-biomass-boilers |  |
| Flue diameter | 400mm flue with 350mm Cone |
| Flue gas exit minimum temperature | 200 Deg C |
| Exit velocity in m/sec | 13.5 |
| NOx concentration in mg/Nm3 | Less than 250 |
| SO2 concentration in mg/Nm3 | N/A under MCPD |
| CO concentration in mg/Nm3 | Less than 250 |
| PM10 (dust) concentration in mg/Nm3 | Less than 50 |
| O2 concentration % | 6% |

(Please note the ‘N’ in Nm³ means ‘normal’ which means the gas volume, which depends on temperature and pressure, is measured at 101.325 kPa and 0 °C)