## Sheet2
Three Nooks Wood site/Drainage plan
North
to Ditch
| Feed Bins |  | High Velocity Roof Extraction Fans |  | Chemical store | Dirty water drain
| Site Boundary |  | Gable Fans (summer cooling)
| Concrete Area |  | Poultry Houses |  | Dirty Water Tanks | Incinerator
| Bunded Fuel Tank |  | Generator
| 1300ltr |  | Foul Water |  |  | Lightly contaminated water
| LPG tanks 4000ltrs |  | Clean Water |  | Flow chamber | Biomass virgin wood silo
|  |  | Drain including Diverter valve |  | attenuation pond
| Biomass boilers/woodchipstore |  |  | General Store |  | Storage
| Biomass Boiler exhaust stack |  |  | Grade A storage
| Grade A biomass building |  |  | LPG backup boiler exhaust
1
3
4
5
6
2
A
B
C