Royal Hallamshire Hospital EPR Application - Directly Associated Activities (DAAs)

| Name of DAA | Description of the DAA |
| --- | --- |
| Raw material usage: Diesel (Gas Oil) Natural Gas Lubricating Oils Water | Diesel (Gas Oil) for the three dual-fueled boilers, and the six standby generators (8,200 litres annum). Natural gas for the 12 boilers (45,666,124kwh/annum). Lubricating oils for engines. Water for boilers. |
| Waste handling: Oil impregnated waste (Rags, Filters) General waste and PPE | Waste from the boilers and generators is minimal. Waste oil, coolant etc from servicing is stored in drums on spill pallet / bunds and then sampled and disposed of by a licensed waste contractor. Very limited general rags / consumables etc – stored in a resealable drum and disposed of with the oil etc. |
| Electricity usage: General building heating, office lights and sockets. | Electricity is used for the fans and to pump oil around the system. |