Part B3, 3c and 6d - Raw material amounts and justification

Natural gas for the boilers is supplied by the national grid. Also see ‘Gas Oil Spec Sheet’ for the diesel used by the generators.

A small amount of lubricating oil is associated with the generators.

Water is used to run through the boilers.

Annual natural gas consumption = 45,666,124kwh.

Annual gas oil/ diesel consumption = 8,200 litres.

The maximum capacity of gas oil/ diesel stored on site is 471,200 litres for boilers and 75,000 litres for generators. The RHH tanks would not be filled completely due to low turnover and chances of fuel degradation over time. The maximum stock likely to be held on-site is 140,000   litres for generators and 50,000 litres for boilers.

The maximum capacity of gas oil/ diesel stored on site for the Weston Park generator is 1,476 litres, and 3,420 litres for Jessop Wing.