F060 Nitec Statutory Examinations Register

| Plant or Equipment | Relevant Legislation | Month Completed | Frequency |
| --- | --- | --- | --- |
| Overhead Cranes | LOLER 1998 | October 2025 | 12 Monthly |
| Lifting attachments, chains and slings | LOLER 1998 | July 2025 | 6 Monthly |
| FLT Fleet | LOLER 1998 | July 2025 | 12 Monthly |
| Scissor Lift (Snorkel) | LOLER 1998 | July 2025 | 6 Monthly |
| Compressed Air System | PSSR 2000 | August 2019 | 24 Monthly |
| Local Exhaust Ventilation | CoSHH 2002 | November 2025 | 14 Monthly |
| PA Testing | Electricity at Work Regulations 1989 | August 2025 | 12 Monthly |
| Fire Alarm | Regulatory Reform (Fire Safety) Order 2005. BS 5389 | TBC | 6 Monthly Inspections with Annual Service Completed every 12 months |
| Emergency Lighting | Regulatory Reform (Fire Safety) Order 2005. BS 5266 | December 25 – remedial work identified | 12 Monthly |
| Fire Extinguishers | Regulatory Reform (Fire Safety) Order 2005. BS 5306 | October 2025 | 12 Monthly |
| Fixed Wire Inspection | Electricity at Work Regulations 1989 | Pending Remedial Work (Nov 2025) | 3 Yearly |
| Gas Safe Inspections | The gas safety installation and use regulations 1998 | N/A no Gas to site | 12 monthly |
| Air Con inspections | The Fluorinated Greenhouse Gases Regulations 2015 | November 2025 | 12 monthly |
| Asbestos | Control of Asbestos 2012 | N/A under new facility – no Asbestos on site at Enterprise Drive | Review Annually internally |