CBE PLUS LTD, ENTERPRISE DRIVE, CHESTERFIELD, S42 5UZ

Risk Assessment Rating System

| LIKELIHOOD | Likelihood of the aspect causing a positive or negative impact on the environment |
| --- | --- |
| 5 | Will occur every time |
| 4 | Will occur most times |
| 3 | Is likely to occur |
| 2 | Unlikely to occur |
| 1 | Extremely unlikely to occur |

| SEVERITY | How severe is the impact on the Trust |
| --- | --- |
| 5 | Catastrophic irreversible impact |
| 4 | Major long-term impact |
| 3 | Minor long-term impact |
| 2 | Minor short-term impact |
| 1 | Negligible impact |

| LIKELIHOOD | 5 | 10 | 15 | 20 | 25 |
| --- | --- | --- | --- | --- | --- |
|  | 4 | 8 | 12 | 16 | 20 |
|  | 3 | 6 | 9 | 12 | 15 |
|  | 2 | 2 | 6 | 8 | 10 |
|  | 1 | 2 | 3 | 4 | 5 |
|  | SEVERITY |  |  |  |  |

| SIGNIFICANCE |  |
| --- | --- |
|  | High |
|  | Medium |
|  | Low |
|  | Negligible |

| Climate Hazard | Potential Impact or Damage | Likelihood | Severity | Risk | Current Controls | Further Action(s)/Controls |
| --- | --- | --- | --- | --- | --- | --- |
| Increased Summer Temperatures and Heat Wave Events | Additional stress on machinery, equipment and personnel | 3 | 2 | 6 | Ventilation in the factory with extraction removing heat from the facility | Consider improving ventilation further and evaluate air conditioning |
| Cold Weather Events | Additional stress on machinery, equipment and personnel. Prolonged cold weather could possibly stop workers from attending work | 3 | 3 | 9 | Recent installation of heating in the factory as a bi-product of the CHP unit should reduce the risk of machines freezing as the factory heat is controlled 4-day flexible work patterns will allow us to be flexible if the employee cannot make it to work Increase work from home for office staff | Air conditioning could be used as a heat source if required Extend working days and reduce working week to 3 days if the instances are prolonged |
| Severe Weather and Storm Events | Damage to factory Storms could possibly stop workers from attending the factory | 3 | 3 | 9 | No trees within reach of the factory. All external equipment are safely secured and protected from the elements 4-day flexible work patterns will allow us to be flexible if the employee cannot make it to work Increase work from home for office staff | Change shift patterns based on weather, making the shifts fully flexible to allow employees to change days worked. |
| Flooding | Overflow of flood water into the facility Roof leaking onto machinery | 2 | 2 | 4 | Good internal and external drainage around the facility that is kept clear and free of debris Roof is new and leaks are fixed promptly | Increase drainage and cleaning regimes around the facility Change roof design to improve drainage flow |
| Exposure to water-based disease (or new emerging diseases) | Staff unavailable due to illness | 2 | 3 | 6 | Legionella checks in place | Increase frequency of testing |
| Fossil Fuel Scarcity | Unable to produce parts due to lack of power | 3 | 3 | 9 | CHP converts gas to electricity, if no gas available the factory can run on grid. If electricity scarcity then move to flexible working days | Extend working days and reduce working week to 3 days if the instances are prolonged. Change work patterns to align with power availability |