## Site Risk Assessment
Site Name and Location: |  |  |  | William Rowland Ltd - Tankersley S75 3DZ
Site Activity: |  |  |  | Waste Operation: Metal Recycling
Location of environmentally sensitive sites: |  |  |  | Greater than 40 metres (see below)
Location of human community site: |  |  |  | Greater than 200 metres (see below)
Nearest neighbours: |  |  |  | Greater than 200 metres (see below)
Risk assessment carried out by: |  |  |  | Gary Clarke
Date of Assessment : |  |  |  | 2023-03-01
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Staff, third parties, members of the public passing by, local wildlife with code 2 protected species, neighbours and surrounding community. Nearest neighbour being 250m and nearest village being 380m from site. | Release of metal chippings. | Direct contact with humans - bodily injury. Contact with cars or other private belongings. | Dispersal from wind travelling through the air, then direct contact. | low | low | low | Small release of metal chippings from the process. Highly unlikely chipping will travel the distance to affect local community or neighbours. | Re-design of the hopper to reduce release of chippings from the process. Meshing erected to existing fencing to prevent chippings from the floor blowing offsite. Full cleandowns carried out at the end of each batch.Internal procedures in place. Regular management monitoring. Staff informed to report excessive release and stop the process immediately. PPE supplied for all staff with third parties supplying their own PPE when onsite. No access onsite with out full PPE. | Low
Local Wildlife and environment. Nearest wildlife site/water course being 385m, nearest woodland being at 66m, nearest code 2 protected species being 43m away. | as above | Potential of direct contact with local wildlife - contamination to nearby watersouces such as ponds, land/soil contamination. | as above | low | low | low | Small release of metal chippings from the process. Very unlikely metal chippings will travel the relevant distance to affect the surrounding environment or nearby watercourses. | As above | Low
Staff, third parties, neighbours, surrounding community, local wildlife and environment. | Fire | Nuisance, danger to human health potentially causing repsiritory issues from inhalation of deposition, acute illness. Danger to the local environment and wildlife . Air pollution from smoke and fumes causing deterioration of air quality. Reduction in vision due to smoke. Contamination to nearby water sources. | Air transport, direct run off of fire water. Radiation, convection, Conduction. | Low | High | Low | Metal waste fires are not common onsite. Sources of ignition are kept separate. Material received is prcessed as soon as possible to reduce combustibility. Alloys that are being processed are non-combustible. | Fire Preventatvie Plan carried out and in place. | Low
Staff, third parties, members of the public passing by, local wildlife, neighbours and surrounding community. | Noise and vibration | Nuisance. Loss of sleep. Acute hearing issues. Persons often can be sensitive to noise and vibration. | Noise conveys through air and vibration through the ground. | low | low | low | Eqiupment/plant in use does not give off excessive noise. | Noise survey carried out, Observations of the process carried out peridically. Well maintained equipment. Non-operational after 20:00hrs. Hearing protection is a mandatory requirement onsite. | low
Staff, third parties, neighbours, surrounding community, local wildlife and environment. | Release of substances | Direct contact with humans causing illness and occupational health issues. - contamination to ground surface water and mains water sources, damage to drainage systems Danger to wildlife and the environment. Soil and land contamination. | Escape to drains directly, or via surface ground water runoff. Direct contact to anyone working within the area. Accidental spillage or release. Damaged containers causing leakage. | Low | High | low | All containers are prechecked before usage, quarantining and marking any damaged containers. Bunded seperators onsite to capture any spillage/release to prvent escape from site. | All waste is properlyl contained to prevent leakage during transportation around site or offsite. Spill procedures in place with spill kits readily available. Continuous monitoring of areas by inline managers and senior managers. | Low
Local human population, local wildlife neighbours, members of the public, staff, third parties, | Dust | Polluting the air causing deteriation of air quality, loss of amenity. Nearby residents, persons onsite and neighbours could be sensitive to dust. Dust on cars and clothing if outside. | Air transport then inhalation, or contact with belongings. | Low | Medium | Low | Visual monitoring of equipment by trained members of staff, maintenance and management. Regular servicing and routine maintanence carried out on plant/equipment ensuring they run efficiently. Very low levels of dust is released from the process. | Regular servicing in place and maintenance checks on all equipment for internal and statutory compliance on LEV systems, thus lowering emissions. | Low
Staff, third parties, neighbours, surrounding environment and local wildlife | Emissions from plant/equipment | Polluting the air causing depletion of air quality. Effects on the environment and local wildlife. | Air transport then inhalation. | Low | Low | Low | Release of emissions (dust, odour, steam) is low. | Regular servicing and maintenance on plant and equipment (P&E) making the P&E more reliable and efficient. LEV systems maintained and monitored for compliance to regulations | Low
Staff, third parties, neighbours, surrounding community and local wildlife | Ordour | Nuisance, Loss of amenity | Air transport then inhalation. Persons could be sensitive to ordour. | Low | Low | Low | Very low risk of ordour. | Ordour to be reported immediately to management. Process immediately stopped to investigate. | Low
Staff, third parties, environment and local wildlife | Steam | Pollutants released to atmosphere. | Persons may be sensitive. Potential burns from contact with ducting if any residual heat. Reduction in air quality. | Low | Low | Low | Very low levels of steam released. | Daily checks of steam release. Any high level of steam release immediately shuts down the process for investigation work. Steam to be analysed periodically. | Low
| Very low | Low | Medium | High
High | 4 | 8 | 12 | 16
Medium | 3 | 6 | 9 | 12
Low | 2 | 4 | 6 | 8
Very low | 1 | 2 | 3 | 4
|  |  |  | Very low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | 2 | 2 | 4 | Low
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | #REF! | #REF! | #REF! | #REF!
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Note on B16: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C16: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D16: Harm may arise when a specific hazard is realised.
Note on E16: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F16: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G16: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H16: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J16: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.