## Chemical appropriate measures
| Chemical | Chemical Waste Appropriate Measures (Chemical waste: appropriate measures for permitted facilities - Guidance - GOV.UK)
1 | When appropriate measures apply | Headers | Agree | Sub | Notes
2 | General management appropriate measures
2.1 |  | Management system | Yes we can comply |  | Require changing climate risk assessment to be added to the site waste management system
2.2 |  | Staff competence | Yes we can comply
2.3 |  | Accident Management plan | Yes we can comply
2.4 |  | Accident Prevention measures | Yes we can comply
2.5 |  | Contingency plan and procedures | Yes we can comply
2.6 |  | Plant Decommissioning | Yes we can comply |  | N/A
3 | Waste pre-acceptance, acceptance and tracking appropriate measures
3.1 |  | Waste pre-acceptance | Yes we can comply
3.2 |  | Waste acceptance | Yes we can comply | 3.2.8 | There is no form of weighbridge on site and all are calculated in volume and Density
3.3 |  | Waste tracking | Yes we can comply
4 | Waste storage, segregation and handling appropriate measures |  | Yes we can comply
4.1 |  | You must store waste in locations that minimise the handling of waste. Waste handling must be carried out by competent staff using appropriate equipment. | Yes we can comply
4.2 |  | Where possible, you should locate storage areas away from watercourses and sensitive perimeters (for example, those close to public rights of way, housing or schools). You must store all waste within the secure area of your facility to prevent unauthorised access and vandalism. | Yes we can comply
4.3 |  | Where relevant, you must conform to HSE standards and in particular to: | Yes we can comply
4.4 |  | You must clearly document the maximum storage capacity of your site and the designated storage areas. You must not exceed these maximum capacities. You should define capacity in terms of, for example, maximum tank or vessel capacities, tonnage and numbers of skips, pallets or containers. You must regularly monitor the quantity of stored waste on site and designated areas and check against the allowed maximum capacities. | Yes we can comply |  | New limits will be clearly listed, once agreed
4.5 |  | You must clearly mark hazardous waste storage areas and provide signs showing the maximum quantity and hazardous properties of wastes that can be stored there. | Yes we can comply
4.6 |  | Storage area drainage infrastructure must: contain all possible contaminated run-off, prevent incompatible wastes coming into contact with each other, make sure that fire cannot spread | Yes we can comply
4.7 |  | Secondary and tertiary containment systems must conform to CIRIA guidance C736 Containment systems for the prevention of pollution. | Yes we can comply
4.8 |  | You must store containerised wastes that are sensitive to air, light, heat, moisture or extreme ambient temperatures under cover protected from such ambient conditions. Covered areas must have good ventilation. This applies to any such container: held in general storage, reception storage (pending acceptance) or quarantine being emptied, repackaged or otherwise managed For example, waste held in fibre or cardboard primary or secondary packaging should be stored under cover in a dry area and not exposed to rain or moisture. It must be kept off floors to prevent damage by damp | Yes we can comply via |  | Specialist chemicals and materials are removed directly from the laboratory by Mulberry the appointed competent provider. All Solvent and chemical are only collected once an approval process as taken place, this incorparates the agreement from Mulberry the appointed competent provider. before collection and storage takes place, information required includes the MSDS (material safety data sheet). No approval would be given.
4.9 |  | You must store wastes in sealed metal containers under cover if they have the potential for self-heating or self-reactivity. You must monitor the containers for heat build-up. Such wastes include rags and filter materials contaminated with metal swarf, low boiling point oils or low flash point solvents. | Yes we can comply | As 4.8
4.10. |  | Wherever practicable you should store all other wastes under cover. Covered areas must have good ventilation. This applies to any such container: held in general storage, reception storage (pending acceptance) or quarantine being emptied, repackaged or otherwise managed Under cover storage provides better protection for containers than open air storage and minimises the generation of contaminated water. Covered storage also: lowers temperature fluctuations that can cause pressure build up in containers reduces the degradation of containers through weathering | Yes we can comply
4.11. |  | You must not store hazardous waste in open-topped containers. Empty open-topped containers should be kept in a building or undercover to prevent rainwater ingress. | Yes we can comply
4.12. |  | You must not store or hold wastes on site in vehicles or vehicle trailers unless you are receiving them or preparing them for imminent transfer (meaning that you will remove them from site within 24 hours, or 72 hours if over a weekend). | Yes we can comply
4.13 |  | You should pay particular attention to avoid the build-up of static electricity when you are storing or handling flammable wastes and materials. You should use leak detection systems and alarms (for example VOC alarms) and automatic fire suppression equipment based on a recorded risk assessment. | Yes we can comply |  | No mention of this in FRA. Stored outside. Invite Building Surveyor for overview regarding static build up and static discharge
4.14 |  | You must provide adequate bunding of all storage areas, and containment and treatment of any water run-off. | Yes we can comply
4.15 |  | You must not accumulate waste. You must treat wastes, or remove them from the site, as soon as possible. Generally you should do this within one month of receipt but all wastes must be removed within 6 months of receipt. This applies even when the waste might be used as a reactant. Where a shorter time period is given in a permit condition you must comply with the permit for that waste. Where a waste is stored for longer than allowed you must inform the Environment Agency. | Yes we can comply
4.16 |  | All stored containers must keep the labelling they had at acceptance. If the label is damaged or no longer legible you should replace the label with that same information. | Yes we can comply
4.17 |  | You must handle and store containers so that the label is easily visible and continues to be legible. | Yes we can comply
4.18 |  | You should keep solid waste dry and avoid the dilution of hazardous waste | Yes we can comply
4.19 |  | You must keep clean rainwater and clean cooling water separate from wastes and waste waters. | Yes we can comply
4.20. |  | You must keep incompatible wastes segregated so that they cannot come into contact with one another. You must store flammable wastes apart from other wastes to prevent fire spreading between them and other materials. You must use sealed drainage systems to prevent leaks and spillages contaminating other wastes. | Yes we can comply |  | Do bunded pallets answer the highlight issue? In my view yes, provided they are designed to contain 1105 of the spillage The EA may have a different view.
4.21 |  | There must be pedestrian and vehicular access (for example, forklift) at all times to the whole storage area so that you can retrieve containers without removing others that may be blocking access – other than removing those in the same row. | Yes we can comply
4.22 |  | You must store all waste containers in a way that allows easy inspection. You must maintain safe access, with a gap of at least 0.7m between rows of bulk containers or palletised wastes. | Yes we can comply
4.23 |  | You must move drums and other mobile containers between different locations (or loaded for removal off site) following written procedures. You must then amend your waste tracking system to record these changes. | Yes we can comply
4.24 |  | You must stack bags and boxes of waste no more than 1m high on a pallet. You must not stack pallets more than 2 high. | Yes we can comply
4.25 |  | You must stack containers specifically designed for stacking, and no more than 2.2m high on a pallet. | Yes we can comply
4.26 |  | You must store all other containers on pallets. You must not stack these pallets more than 2 high, except for empty containers which can be stacked 3 high. | Yes we can comply
4.27 |  | Stacked bags, boxes and containers must be stable. They must be secured with, for example, banding or shrink-wrap, if required. The packages must not extend beyond (over-hang) the sides of the pallet. Any shrink-wrap used must be clear or transparent so that you can identify waste types, damaged containers, leaks or spillages and incorrectly stacked containers. You must be careful not to damage any packages during stacking. | Yes we can comply
4.28 |  | All waste containers must remain fit for purpose. You must check any containers (and pallets they may be stored on) daily and record non-conformances. Non-compliant containers and pallets must be made safe. You must immediately and appropriately manage any unsound, poorly labelled or unlabelled containers (for example, by relabelling, over drumming and transferring the container’s contents). You must risk assess, approve and record the use of containers, tanks and vessels: beyond their specified design life, where you use them for a purpose, or substances, other than the ones they were designed for | Yes we can comply
4.29 |  | You must not handle waste or its packaging in a way that might damage its integrity, unless it is appropriate to destroy a waste or its packaging, for example by shredding. You must not, for example, walk on or throw waste or waste packages. | Yes we can comply
4.30. |  | You should, where applicable and based on a recorded risk assessment, make inert the atmosphere of tanks containing organic liquid waste with a flashpoint less than 21°C. This can be done, for example, by using nitrogen gas. | Yes we can comply | N/A
4.31 |  | You must store asbestos waste double bagged or wrapped, in sealed, closed and locked containers. You must not store asbestos waste loose. You must not put asbestos wastes into bays or transfer it between different skips or containers. You must not use mechanical equipment, for example loading shovels, chutes and conveyors to move asbestos waste. | Yes we can comply | N/A
4.32 |  | You must not stack wheeled containers on top of one another. Do not stack empty wheeled containers into one another more than 2.2m high. | Yes we can comply
4.33 |  | All containers that need them should have a lid or bung, and the lid or bung must be closed except when the container is being sampled, having waste added into it or having waste removed from it. | Yes we can comply
4.34 |  | You must not stack skips containing waste. Skips containing hazardous waste must be enclosed when not being loaded or unloaded. You should store loose bulk hazardous wastes under cover. | Yes we can comply
4.35 |  | You can use racking systems to store waste but you must consider segregation, ability to inspect, separation and fire suppression measures. Racking systems must be designed and constructed in accordance with HSG76 Warehousing and storage. | Yes we can comply |  | Racking not to be used.
4.36 |  | You must: contain wash waters within an impermeable area and either discharge them to foul sewer or dispose of them appropriately off site. prevent run-off into external areas or to surface water drains | Yes we can comply
4.37 |  | You must manage waste in a way that prevents pests or vermin. You must have specific measures and procedures in place to deal with wastes that are identified as causing pests or vermin. | Yes we can comply
4.38 |  | You must inspect storage areas, containers and infrastructure daily. You must deal with any issues immediately. You must keep written records of the inspections. You must rectify and log any spillages of waste. | Yes we can comply
4.39 |  | You must train forklift drivers in the handling of palletised goods, to minimise forklift truck damage to the integrity of containers and infrastructure. | Yes we can comply
4.40. |  | You must not carry out activities that represent a clear fire risk within any storage area. Examples include: grinding, welding or brazing of metalwork, smoking, parking normal road vehicles, except while unloading or loading, recharging batteries | Yes we can comply
Bulk storage
4.41 to 4.52 |  |  | Yes we can comply |  | N/A
Tranfer of waste into and from tankers
4.53 to 4.70 |  |  | Yes we can comply |  | N/A
Aerosol storage
4.71 to 4.77 |  |  | Yes we can comply
Sorting, repackaging and bulking
4.78 |  | Sorting is the placing together of containers with other waste containers of the same type, without emptying the contents from the container. You must have a permit that specifically allows you to carry out storage activities (coded D15 or R13). | Variation |  | This is the reason for the current application for the hazardous variation
4.79 |  | Repackaging is the removal of waste from a container, or into a container. This may involve bulking it with other wastes of the same type from other containers. You must have a permit that specifically allows you to carry out repackaging activities (coded D14 or R12). | Yes we can comply |  | Provided by competent provider Mulberrys, remaining in each individual company’s name
4.80. |  | Bulking of waste that is not regarded as repackaging includes: discharging from a tanker to bulk storage of wastes of the same type, tank to tank transfer where both tanks contain wastes of the same type. These activities are storage (coded D15 or R13). | Yes we can comply |  | Provided by competent provider Mulberrys, remaining in each individual company’s name
4.81 |  | You must only bulk or repackage wastes together if they are materially the same. They must not react when they are bulked and they must not change the waste’s composition. | Yes we can comply |  | Provided by competent provider Mulberrys, remaining in each individual company’s name
4.82 |  | If a waste is mixed with other similar wastes, where the resulting mixture does not have significantly different characteristics from the mixed wastes (for example blending compatible combustible or flammable wastes as a fuel), this activity is mixing or blending (coded D13 or R12). Any other mixing that changes a waste is treatment. | Yes we can comply |  | Provided by competent provider Mulberrys, remaining in each individual company’s name
4.83 |  | You must have a permit that specifically allows you to mix hazardous waste with any: non-hazardous waste, hazardous waste in a different category, non-waste | Yes we can comply |  | Current application, Provided by competent provider Mulberrys, remaining in each individual company’s name
4.84 |  | You must not mix, bulk or repackage: wastes which could be recovered with other wastes if this means that the waste must now be sent for disposal or a lower form of recovery, liquid wastes or infectious wastes with other wastes for the purpose of landfilling, oils where this could affect their regeneration or recycling, wastes containing Persistent Organic Pollutants (POPs) with another material solely to generate a mixture below the defined low POPs content, waste to deliberately dilute it | Yes we can comply
4.85 |  | You must transfer wastes from containers into other storage vessels using a dip pipe, not by pouring. | Yes we can comply
4.86 |  | Repackaging or mixing must only take place in a dedicated area or store which has the plant and equipment needed to deal with the specific risks of that process. For example, this could include abatement or local exhaust ventilation. | Yes we can comply
4.87 |  | Except for small packages with a volume less than 5 litres, or damaged containers, you must move containers using mechanical means. For example, use a forklift truck with a rotating drum handling fitting, or using pumps for liquids. | Yes we can comply
4.88 |  | You must label containers of repackaged or mixed wastes so that you can identify their contents and origin through the tracking system. After repackaging, you must move the bulked materials and emptied containers to an appropriate segregated storage area. | Yes we can comply
4.89 |  | You must have a risk assessment and carry out appropriate compatibility testing to make sure that bulked wastes will not react with each other, or with the container into which they are being placed. | Yes we can comply
Laboratory smalls
4.90. |  | Where possible, you should sort and segregate laboratory smalls at source so that you do not need to reopen or re-sort containers. | Yes we can comply |  | Done by customer
4.91 |  | If you sort laboratory smalls for compatibility reasons you must carry this out in a dedicated area of a building, with self-contained drainage. | Yes we can comply |  | we don't do this process
4.92 |  | You must write and follow procedures for the segregation, sorting and repackaging of laboratory smalls. | Yes we can comply |  | Tasked to Mulberry's
5.1 | Waste treatment appropriate measures
5.1.1 |  | Waste treatment must have a clear and defined benefit. You must fully understand, monitor and optimise the waste treatment process to make sure that you treat waste effectively and efficiently. You must not treat waste to deliberately dilute it. The treated output material must meet your expectations and be suitable for its intended disposal or recovery route. You must identify and characterise emissions from the process, and take appropriate measures to control them at source. | Yes we can comply |  | Mulbery task
5.1.2 |  | You must have up-to-date written details of your treatment activities, and the abatement and control equipment you are using. This should include information about the characteristics of the waste you will treat and the waste treatment processes, including:simplified process flowsheets that show the origin of any emissions, details of emission control and abatement techniques for emissions to air and water, including details of their performance, diagrams of the main plant items where they have environmental relevance, for example, storage, tanks, treatment and abatement plant design, details of chemical reactions and their reaction kinetics and energy balance, details of physical treatment processes for example thermal desorption, distillation, phase separation, shredding, filtration, compaction, centrifuging, heating, cooling or washing, details of biological treatment processes, details of any effluent treatment, a description of any flocculants or coagulants used, an equipment inventory, detailing plant type and design parameters, for example, time, temperature, pressure, waste types to be subjected to the process, the control system philosophy and how the control system incorporates environmental monitoring information, process flow diagrams (schematics), venting and emergency relief provisions, a summary of operating and maintenance procedures, process instrumentation diagrams, monitoring points and monitoring schedules. | Yes we can comply |  | Mulbery task
5.1.3 |  | You must have up-to-date written details of the measures you will take during abnormal operating conditions to make sure you continue to comply with your permit. Abnormal operating conditions include: unexpected releases, start-up, momentary stoppages, shut-down | Yes we can comply |  | Mulbery task
5.1.4 |  | You should use material flow analysis for relevant contaminants in the waste to help identify their flow and fate. You should use the analysis to determine the appropriate treatment for the waste either directly at the site or at any subsequent treatment site.Material flow analysis considers the contaminant quantity in the: waste input, different waste treatment outputs, waste treatment emissions. You should use the analysis and your knowledge of the fate of the contaminants to make sure you correctly treat and either destroy or remove them.The use of material flow analysis is risk-based, considering: the hazardous properties of the waste, the risks posed by the waste in terms of process safety, occupational safety and environmental impact, knowledge of the previous waste holder(s). A treatment process may destroy certain substances in the waste. It could also put substances into the air, water or ground, or have residues which are sent for disposal. The weight of these outputs should be minimised. The treatment may produce residues for recovery or reuse and the weight of these substances should be maximised. | Yes we can comply |  | Mulbery task
5.1.5 |  | You must not proceed with the treatment if your risk assessment or material flow analysis indicates that losses from a process will cause the breach of an environmental quality standard, the breach of a benchmark, a significant environmental impact | Yes we can comply |  | Mulbery task
5.1.6 |  | You must clearly define the objectives and reaction (chemical, physical or biological) processes for each treatment process. You must define the end point to the process so that you can monitor and control the reaction. You must define the suitable inputs to the process, and the design must take into account the likely variables expected within the waste stream. You must sample and analyse the waste to check that an adequate end point has been reached. | Yes we can comply |  | Mulbery task
5.1.7 |  | For each new reaction, you must assess the proposed mixes of wastes and reagents before treatment by carrying out a scale laboratory test mix of the wastes and reagents to be used. You must predetermine a batch ‘recipe’ for all reactions and mixes of wastes. You must also take into account the potential scale up effects, for example, the increased: heat of reaction with increased reaction mass relative to the reactor volume, residence time within the reactor and modified reaction properties, Your treatment must comply with HSG143 Designing and operating safe chemical reaction processes. | Yes we can comply |  | N/A
5.1.8 |  | The reactor vessel and plant must be specifically designed, commissioned and operated to be fit for purpose. The designs need to consider chemical process hazards and a hazard assessment of the chemical reactions. They also need to consider prevention and protective measures and process management, such as: working instructions, staff training, appropriate process control measures, monitoring systems, alarms and interlocks, plant maintenance, checks, audits, emergency procedures | Yes we can comply
5.1.9 |  | To track and control the process of change, you must have a written procedure for proposing, considering and approving changes to technical developments or procedural or quality changes. | Yes we can comply |  | N/A
5.1.10. |  | Where an emission is expected, all treatment or reactor vessels must be enclosed. Only vent them to the atmosphere via an appropriate scrubbing and abatement system (subject to explosion relief). | Yes we can comply |  | N/A
5.1.11 |  | You must monitor the reaction to make sure it is under control and proceeding towards the anticipated result. Vessels used for treatment must be equipped appropriately, for example with high level, pH and temperature monitors. These monitors must be automatic and continuous, linked to a clear display in the control room or laboratory, and have an audible alarm. Your risk assessment may require you to link process monitors to cut-off devices. | Yes we can comply |  | N/A
5.2 | Aerosol canister treatment
5.2.1 to 5.2.14 |  |  | Yes we can comply |  | N/A
5.3 | Record keeping for all treatment residues
5.3.1 |  | You must record in the computerised waste tracking system: that a waste has been treated, what the treatment residues are and their weight, what end-of-waste products have been made and their weight | Yes we can comply
6 | Emissions control appropriate measures
6.1 | Point source emissions to air
6.1.1 |  | You must contain storage tanks, silos and waste treatment plant (including shredders) to make sure you collect, extract and direct all process emissions to an appropriate abatement system for treatment before release. | Yes we can comply |  | Aimed at more Mulberry and Stericycle treatment plants
6.1.2 |  | You must identify the main chemical constituents of the site’s point source emissions as part of the site’s inventory of emissions to air. | Yes we can comply |  | Aimed at more Mulberry and Stericycle treatment plants
6.1.3 |  | You must assess the fate and impact of the substances emitted to air, following the Environment Agency’s risk assessment methodology. | Yes we can comply |  | Aimed at more Mulberry and Stericycle treatment plants
6.1.4 |  | To reduce point source emissions to air (for example, dust, volatile organic compounds and odour) from the treatment of waste, you must use an appropriate combination of abatement techniques, including one or more of the following systems:adsorption (for example, activated carbon). biofiltration, wet scrubbing, fabric filters, high efficiency particulate (HEPA) filtration, condensation and cryogenic condensation, cyclonic separation, electrostatic precipitation, thermal oxidation | Yes we can comply |  | Aimed at more Mulberry and Stericycle treatment plants
6.1.5 |  | You must assess and design vent and stack locations and heights to make sure dispersion capability is adequate. Where monitoring is required, including for odour, you must install suitable monitoring points. | Yes we can comply |  | Aimed at more Mulberry and Stericycle treatment plants
6.1.6 |  | Your procedures must make sure you correctly install, operate, monitor and maintain abatement equipment. For example, this includes monitoring and maintaining: appropriate flow and chemical concentration of scrubber liquor. the handling and disposal or regeneration of spent scrubber or filter medium. | Yes we can comply |  | Aimed at more Mulberry and Stericycle treatment plants
6.1.7 |  | You should design and operate abatement systems to minimise water vapour plumes. | Yes we can comply |  | Aimed at more Mulberry and Stericycle treatment plants
6.2 | Fugitive emissions to air (including odour)
6.2.1 |  | You must use appropriate measures to prevent emissions of dust, mud and litter and odour. | Yes we can comply
6.2.2 |  | You must design, operate and maintain storage and treatment plant in a way that prevents fugitive emissions to air, including dust, organic compounds and odour. Where that is not possible, you must minimise these emissions. Storage and treatment plant includes associated equipment and infrastructure such as: shredders, conveyors, skips or containers, building fabric, including doors and windows, pipework and ducting | Yes we can comply
6.2.3 |  | To make sure fugitive emissions are collected and directed to appropriate abatement, your treatment plant must use high integrity components (for example, seals or gaskets). Your treatment plant must be fully enclosed, with air extraction systems located close to emission sources where possible. | Yes we can comply
6.2.4 |  | You must use your waste pre-acceptance, waste acceptance and site inspection checks and procedures to identify and manage wastes that could cause, or are causing, fugitive emissions to air. When you identify any of these wastes you must: take appropriate, risk assessed measures to prevent and control emissions, prioritise their treatment or transfer | Yes we can comply
6.2.5 |  | Where necessary, to prevent fugitive emissions to air from the storage and handling of wastes, you should use a combination of the following measures: store and handle such wastes within a building or enclosed equipment, keep buildings and equipment under adequate negative pressure with an appropriate abated air circulation or extraction system, where possible, locate air extraction points close to potential emissions sources, use fully enclosed material transfer and storage systems and equipment, for example, conveyors, hoppers, containers, tanks and skips, use fast-acting or ‘airlock’ doors that default closed, keep building doors and windows shut to provide containment, other than when access is required, minimising drop height, use misting systems and wind barriers to prevent dust | Yes we can comply
6.2.6 |  | You must set up a leak detection and repair programme and use it to promptly identify and mitigate any fugitive emissions from treatment plant and associated infrastructure (for example, pipework, conveyors, tanks). | Yes we can comply
6.2.7 |  | You must regularly inspect and clean all waste storage and treatment areas, equipment (including conveyor belts) and containers. You must have an appropriate regular maintenance programme covering all buildings, plant and equipment. This must also include protective equipment such as air ventilation and extraction systems, curtains and fast-action doors used to prevent and contain fugitive releases. | Yes we can comply
6.2.8 |  | Your inspection, maintenance and cleaning schedules must make sure that tanks and plant are regularly cleaned to avoid large-scale decontamination activities. | Yes we can comply
6.2.9 |  | You must take measures to prevent the corrosion of plant and equipment (for example, conveyors or pipes). This includes selecting and using appropriate construction materials, lining or coating equipment with corrosion inhibitors and regularly inspecting and maintaining plant. | Yes we can comply
6.2.10. |  | If you wash containers or tanks, you must design and operate the washing process and associated equipment in a way that prevents fugitive emissions to air. For example, you could do this activity in a contained or enclosed system. | Yes we can comply
6.2.11 |  | You must fully enclose and contain pre- and post-treatment shredder plant to prevent emissions. You must design and operate the shredder plant using appropriate process interlocks. The plant should not operate unless it is enclosed and contained, for example, only working when the loading door on the hopper has been closed or sealed. Dust and microbial emissions from the shredder plant must be contained and extracted to an appropriate abatement system, for example HEPA air filtration. | Yes we can comply
6.2.12 |  | Where a dust management plan is required, you must develop and implement it following our guidance. | Yes we can comply
6.2.13 |  | You must have procedures to minimise the amount of time odorous wastes spend in your storage and handling systems (for example, pipes, conveyors, hoppers, tanks). In particular, you must have provisions to manage waste during periods of peak volume. | Yes we can comply
6.2.14 |  | You must have measures to contain, collect and treat odorous emissions, including using contained buildings and plant or equipment with appropriate air extraction and abatement. We do not consider masking agents to be appropriate measures for the treatment of odorous emissions. | Yes we can comply
6.2.15 |  | You must monitor and maintain odour abatement systems to ensure optimum performance. For example, you should make sure that scrubber liquors are maintained at the correct pH and replenished or replaced at an appropriate frequency. | Yes we can comply
6.2.16 |  | You must store contaminated waters that have potential for odours in covered or enclosed tanks or containers vented through suitable abatement. | Yes we can comply
6.2.17 |  | Where odour pollution at sensitive receptors is expected, or has been substantiated, you must periodically monitor odour emissions using European (EN) standards, for example either: dynamic olfactometry according to EN 13725 to determine the odour concentration. EN 16841-1 or -2 to determine the odour exposure. If you are using alternative methods for which no EN standards are available (for example, estimating odour impact), you should use ISO, national or other international standards to make sure you use data of an equivalent scientific quality. You must set out the monitoring frequency in the odour management plan. | Yes we can comply
6.2.18 |  | Where odour pollution at sensitive receptors is expected, or has been substantiated, you must also set up, implement and regularly review an odour management plan. It must be part of your management system and include all of the following elements: actions and timelines to address any issues identified. a procedure for odour monitoring. a procedure for responding to odour incidents, for example, complaints. an odour prevention and reduction programme designed to identify the source(s), characterise the contributions of the sources and prevent and reduce them. | Yes we can comply
6.2.19 |  | Where an odour management plan is required, you must develop and implement it following our guidance. | Yes we can comply
6.3 | Emissions of noise and vibration
6.3.1 |  | You should design the facility so that potential sources of noise (including building exits and entrances) are away from sensitive receptors and boundaries. You should locate buildings, walls, and embankments so they act as noise screens. | Yes we can comply
6.3.2 |  | You must employ appropriate measures to control noise, for example, including: adequately maintaining plant or equipment parts which may become more noisy as they deteriorate – for example, bearings, air handling plant, building fabric, and specific noise attenuation kit associated with plant or machinery. closing doors and windows of enclosed areas and buildings. avoiding noisy activities at night or early in the morning. minimising drop heights and the movement of waste and containers. using broadband (white noise) reversing alarms and enforcing the on-site speed limit. using low-noise equipment, for example, drive motors, fans, compressors and pumps. adequately training and supervising staff. where possible, providing additional noise and vibration control equipment for specific sources of noise – for example, noise reducers or attenuators, insulation, or sound-proof enclosures | Yes we can comply
6.3.3 |  | Where noise or vibration pollution at sensitive receptors is expected, or has been substantiated, you must create, use and regularly review a noise and vibration management plan. This must be part of the environmental management system, and must include: actions and timelines to address any issues identified. a procedure for noise and vibration monitoring. a procedure for responding to identified noise and vibration events, for example, complaints.
6.3.4 |  | Your noise and vibration management plan should also include a noise and vibration reduction programme designed to: identify the sources of noise and vibration. measure or estimate noise and vibration exposure. characterise the contributions of the sources. implement prevention and reduction measures | Yes we can comply
6.3.5 |  | Where a noise and vibration management plan is required, you must develop and implement it following our guidance. | Yes we can comply
6.4 | Point source emissions to water and sewer
6.4.1 |  | You must identify the main chemical constituents of the site’s point source emissions to water and sewer as part of the site’s inventory of emissions. | Yes we can comply |  | Environmental risk assessments
6.4.2 |  | You must assess the fate and impact of the substances emitted to water and sewer, following the Environment Agency’s risk assessment guidance. | Yes we can comply
6.4.3 |  | Discharges to water or sewer must comply with the conditions of an environmental permit or trade effluent consent. Relevant sources of waste water include: water or condensate collected from treatment processes. waste compactor run-off. vehicle washing. vehicle oil and fuel leaks. washing of containers. spills and leaks in waste storage areas. loading and unloading areas | Yes we can comply
6.4.4 |  | To reduce emissions to water and sewer, if you need to treat waste water before discharge or disposal, you must use an appropriate combination of treatment techniques, including one or more of the following: preliminary or primary treatment – for example, equalisation, neutralisation or physical separation. physico-chemical treatment – for example, adsorption, distillation or rectification, precipitation, chemical oxidation or reduction, evaporation, ion exchange, or stripping. biological treatment – for example, activated sludge process or membrane bioreactor. nitrogen removal – for example, nitrification and denitrification. solids removal – for example, coagulation and flocculation, sedimentation, filtration or flotation | Yes we can comply
6.4.5 |  | You must direct wash waters from cleaning containers to a foul sewer or sealed drainage system for on-site re-use or off-site disposal. You may need to pre-treat the waters to meet any limits on the effluent discharge consent. Discharges of wash waters to surface water or storm drains are not acceptable. | Yes we can comply
6.5 | Fugitive emissions to land and water
6.5.1 |  | You must use appropriate measures to control potential fugitive emissions and make sure that they do not cause pollution. See the guidance on emissions to water and leaks from containers. | Yes we can comply
6.5.2 |  | You must have these in all operational areas of the facility: an impermeable surface. sealed construction joints. a sealed drainage system | Yes we can comply |  | Chemicals and solvent moved and store on bunded pallets
6.5.3 |  | You must have measures in place to prevent overflows and failures from tanks and vessels, including where relevant: overflow detectors and alarms, directing over-flow pipes to a contained drainage system, locating tanks and packaged liquids in suitable secondary containment (bunds), providing isolation mechanisms (for example, closing valves) for tanks, vessels and secondary containment | Yes we can comply |  | N/A no vessels or tanks in permitted area
6.5.4 |  | You must collect and treat separately each water stream generated at the facility, for example, surface run-off water or process water. Separation must be based on pollutant content and treatment required. In particular you must make sure you segregate uncontaminated water streams from those that require treatment. | Yes we can comply |  | As stated above
6.5.5 |  | You must use suitable drainage infrastructure to collect surface drainage from areas of the facility where you store, handle and treat waste. You must also collect wash waters and occasional spillages. Depending on the pollutant content, you must either recirculate what you have collected or send it for further treatment. | Yes we can comply
6.5.6 |  | You must have design and maintenance provisions in place to detect and repair leaks. These must include regularly monitoring, inspecting and repairing equipment and minimising underground equipment and infrastructure. | Yes we can comply
6.5.7 |  | You should provide appropriate buffer storage capacity at your facility to store waste waters, taking into account: potential abnormal operating scenarios and incidents. the nature of any polluting substances and their impact on the downstream waste water treatment plant and receiving environment | Yes we can comply |  | N/A no vessels or tanks in permitted area
6.5.8 |  | You must have appropriate measures in place to monitor, treat and reuse water held in the buffer storage before discharging. | Yes we can comply |  | N/A no vessels or tanks in permitted area
6.5.9 |  | You must take measures to prevent emissions from washing and cleaning activities, including: directing liquid effluent and wash waters to foul sewer or collecting them in a sealed system for off-site disposal – you must not discharge them to surface or storm drains. where possible, using biodegradable and non-corrosive washing and cleaning products. storing all detergents, emulsifiers and other cleaning agents in suitable bunded or containment facilities, within a locked storage area, or in a building away from any surface water drains. preparing cleaning solutions in contained areas of the site and never in areas that drain to the surface water system | Yes we can comply
6.5.10. |  | Where relevant, you must have measures to prevent pollution from the on-site storage, handling and use of oils and fuels. | Yes we can comply
6.5.11 |  | You must produce and implement a spillage response plan and train staff to follow and test it. | Yes we can comply
6.5.12 |  | Your procedures and associated training must make sure you deal with spillages immediately. | Yes we can comply
6.5.13 |  | You must keep spill kits at locations close to areas where a spillage could occur and make sure relevant staff know how to use them. Make sure kits are replenished after use. | Yes we can comply
6.5.14 |  | You must stop spillages from entering drains, channels, gullies, watercourses and unmade ground. You must make proprietary sorbent materials, sand or drain mats available. | Yes we can comply
6.5.15 |  | You must make sure your spillage response plan includes information about how to recover, handle and correctly dispose of waste produced from a spillage. | Yes we can comply
6.5.16 |  | Container washing equipment must be contained and located in a designated area of the facility that has self-contained drainage. The equipment must be designed to collect and contain all wash waters, including any spray. Trained staff must operate, inspect and maintain it regularly. | Yes we can comply
6.5.17 |  | For sub-surface structures, you must: establish and record the routing of all site drains and sub-surface pipework. identify all sub-surface sumps and storage vessels. engineer systems to minimise leakages from pipes and make sure they are detected quickly if they do occur, particularly where hazardous substances are involved. provide secondary containment or leakage detection for sub-surface pipework, sumps and storage vessels. establish an inspection and maintenance programme for all sub-surface structures, for example, pressure tests, leak tests, material thickness checks or CCTV | Yes we can comply |  | N/A no vessels or tanks in permitted area
6.5.18 |  | For surfacing, you must design appropriate surfacing and containment or drainage facilities for all operational areas, taking into account: collection capacities. surface thicknesses. strength and reinforcement. Falls, materials of construction. permeability, resistance to chemical attack, inspection and maintenance procedures | Yes we can comply |  | Chemicals and solvent moved and store on bunded pallets
6.5.19 |  | You must have an inspection and maintenance programme for impermeable surfaces and containment facilities. | Yes we can comply |  | Involved in th TCM weekly checks
7 | Emissions monitoring and limits appropriate measures
7.1 |  | Where you are required to monitor emissions to comply with the requirements of your environmental permit, you must follow our monitoring guidance. | Yes we can comply |  | Environmental risk assessments
7.2 |  | You must create and maintain an emissions inventory of point source emissions to air and water (including emissions to sewer) for your facility. | Yes we can comply |  | Environmental risk assessments
7.1 | Emissions to air
7.1.1 |  | Your facility’s emissions inventory must include information about the relevant characteristics of point source emissions to air, such as the: average values and variability of flow and temperature. average concentration and load values of relevant substances and their variability. flammability, lower and higher explosive limits and reactivity. presence of other substances that may affect the waste gas treatment system or plant safety – for example, oxygen, nitrogen, water vapour, dust | Yes we can comply |  | N/A the site is not a treatment site
7.2 | Emissions to water or sewer
7.2.1 |  | Your facility’s emissions inventory must include information about the relevant characteristics of point source emissions to water or sewer, such as: average values and variability of flow, pH, temperature, and conductivity. average concentration and load values of relevant substances and their variability – for example, COD (chemical oxygen demand) and TOC (total organic carbon), nitrogen species, phosphorus, metals, priority substances or micropollutants. data on bio-eliminability – for example, BOD (biochemical oxygen demand), BOD to COD ratio, Zahn-Wellens test, biological inhibition potential, for example, inhibition of activated sludge | Yes we can comply |  | N/A the site is not a treatment site
7.2.2 |  | For relevant emissions to water or sewer identified by the emissions inventory, you must monitor key process parameters (for example, waste water flow, pH, temperature, conductivity, or BOD) at key locations. For example, these could either be at the: inlet or outlet (or both) of the pre-treatment. inlet to the final treatment. point where the emission leaves the facility boundary | Yes we can comply |  | N/A the site is not a treatment site
8 | Process efficiency appropriate measures
8.1 | Energy efficency |  | Yes we can comply |  | Not a installation
8.2 | Raw material |  | Yes we can comply |  | Not a installation
8.3 | Water use |  | Yes we can comply |  | Not a installation
8.4 | waste minimisation, recovery and disposal
8.4.1 |  | You must have and implement a residues management plan that: minimises the generation of residues from waste treatment. optimises the reuse, regeneration, recycling or energy recovery of residues, including packaging. makes sure you properly dispose of residues where recovery is technically or economically impractical | Yes we can comply
8.4.2 |  | Where you must dispose of waste, you must do a detailed assessment to identify the best environmental options for waste disposal. | Yes we can comply
8.4.3 |  | You must regularly review options for recovering and disposing of waste produced at the facility. You must do this as part of your management system to make sure you are using the best environmental options and promoting the recovery of waste where technically and economically viable. | Yes we can comply

## WEEE appropriate measures
| WEEE (Waste electrical and eletronic equipment) | Waste electrical and electronic equipment - Waste electrical and electronic equipment (WEEE): appropriate measures for permitted facilities - Guidance - GOV.UK
1 | When appropriate measures apply | Headers | Agree | Sub | Notes
2 | General management appropriate measures
2.1 | Management system
2.1.1 |  | you must have and follow an up-to-date written management system. It must incorporate the following features. You have:management commitment, including from senior managers, an environmental policy that is approved by senior managers and includes the continuous improvement of the facility’s environmental performance, You plan and establish the resources, procedures, objectives and targets needed for environmental performance alongside your financial planning and investment.You implement your environmental performance procedures, paying particular attention to: staff structure and relevant responsibilities, staff recruitment, training, awareness and competence, communication (for example, of performance measures and targets), employee involvement, documentation and records, effective process control, maintenance programmes, the management of change (including legislative changes and waste classification changes), emergency preparedness and response, making sure you comply with environmental legislation, You check environmental performance and take corrective action paying particular attention to: monitoring and measurement, learning from incidents, near misses and mistakes, including those of other organisations, records maintenance, independent (where practicable) internal or external auditing of the management system and operations to confirm it has been properly implemented and maintained. Senior managers review the management system at least annually to check it is still suitable, adequate and effective. You review the development of cleaner and more efficient technologies and their applicability to site operations. When designing new plant, you make sure that you assess the environmental impacts from the plant’s operating life and eventual decommissioning. You consider the risks a changing climate poses to your operations. You have appropriate plans in place to assess and manage future risks.You compare your site’s performance against relevant sector guidance and standards on a regular basis, known as sectoral benchmarking. You have and maintain the following documentation: inventory of emissions to air and water. residues management plan. accident management plan. site infrastructure plan. site condition report. fire prevention plan. If required, you have and maintain the following documentation: odour management plan. noise and vibration management plan. dust management plan. pest management plan. climate change risk assessment | Yes we can comply |  | Require changing climate risk assessment to be added to the site waste management system
2.2 | Staff competence
2.2.1 |  | Your site must be operated at all times by an adequate number of staff with appropriate qualifications and competence. | Yes we can comply
2.2.2 |  | The design, installation and maintenance of infrastructure, plant and equipment must be carried out by competent people. | Yes we can comply
2.2.3 |  | You must have appropriately qualified managers for your waste activity who are either: qualified under a technical competence scheme. operating under a Competence Management System approved under a technical competence scheme | Yes we can comply |  | Mike Broadfoot TCM
2.2.4 |  | Non-supervisory staff must be reliable and technically skilled in the activities they are responsible for and in emergency response procedures. Their skills may be based on experience and relevant training. | Yes we can comply
2.3 | Accident management plan
2.3.1 |  | As part of your management system you must have a plan for dealing with any incidents or accidents that could result in pollution. | Yes we can comply |  | Site Emergency Procedure, veolia contact for major spillages and Local waste procedure
2.3.2 |  | The accident management plan must identify and assess the risks the facility poses to human health and the environment. | Yes we can comply |  | JT: Not sure on this
2.3.3 |  | Areas to consider may include: waste types and the risks they pose. robust waste acceptance procedures to avoid receiving unwanted items, such as gas cylinders. failure of abatement systems. failure of plant and equipment (for example over-pressure of vessels and pipework, blocked drains). failure of containment (for example, bund failure, or drainage sumps overfilling). damaged lithium-ion batteries. failure to contain firefighting water.making the wrong connections in drains or other systems. checking the composition of an effluent before emission. vandalism and arson. extreme weather conditions, for example flooding or very high winds. loss of power | Yes we can comply |  | JT: may need to consider this more
2.3.4 |  | You must assess the risk of accidents and their possible consequences. Risk is the combination of the likelihood that a hazard will occur and the severity of the impact resulting from that hazard. Having identified the hazards, you can assess the risks by addressing 6 questions: how likely is it that the accident will happen? where will the emission go – what are the pathways and receptors? what are the consequences? what is the overall significance of the risk? what can you do to prevent or reduce the risk? | Yes we can comply |  | Local Risk Assessment
2.3.5 |  | In particular, you must identify any fire risks that may be caused, for example by: arson or vandalism. self-combustion, for example the finer fractions of shredder residue. plant or equipment failure and electrical faults. naked lights and discarded smoking materials. hot works (for example welding or cutting), industrial heaters and hot exhausts. neighbouring site activities. sparks from loading buckets. hot loads deposited at the site. damage to, or shorting of, batteries. You must have a fire prevention plan that identifies the risks at your site and meets the requirements of our fire prevention plan guidance. | Yes we can comply
2.3.6 |  | The depth and type of accident risk assessment you carry out will depend on the characteristics of the plant and its location. The main factors to consider are the: scale and nature of the accident hazard presented by the plant and its activities. risks to areas of population and the environment (the receptors). nature of the plant and complexity of the activities and how difficult it is to decide and justify adequate risk control techniques | Yes we can comply
2.3.7 |  | Through your accident management plan, you must also identify the roles and responsibilities of the staff involved in managing accidents. You must provide them with clear guidance on how to manage each accident scenario, for example, whether to use containment or dispersion to extinguish fires, or let them burn. | Yes we can comply
2.3.8 |  | You must appoint one facility employee as an emergency co-ordinator who will take lead responsibility for implementing the plan. You must train your employees so they can perform their duties effectively and safely and know how to respond to an emergency. | Yes we can comply
2.3.9 |  | You must: establish how you will communicate with relevant authorities, emergency services and neighbours (as appropriate) both before, during and after an accident.have appropriate emergency procedures, including for safe plant shutdown and site evacuation. have post-accident procedures that include assessing the harm that may have been caused by an accident and the remediation actions you will take. test the plan by carrying out emergency drills and exercises | Yes we can comply
2.4 | Accident prevention measures
2.4.1 |  | You must take the following measures, where appropriate, to prevent events that may lead to an accident.
2.4.2 | Segregating waste | You must keep incompatible wastes apart. | Yes we can comply
2.4.3 | Preventing accidental emissions | You must make sure you contain the following for off-site disposal or route to the sealed drainage system as appropriate: process waters, site drainage waters, emergency firefighting water, oil or chemical contaminated waters, spillages of oils and chemicals | Yes we can comply
2.4.4 |  | You must be able to contain surges and storm water flows. You must provide enough buffer storage capacity to make sure you can achieve this. You can define this capacity using a risk-based approach, for example, by considering the:nature of the pollutants, effects of downstream waste-water treatment, sensitivity of the receiving environment | Yes we can comply
2.4.5 |  | You can only discharge waste-water from this buffer storage after you have taken appropriate measures, for example, to control, treat or reuse the water. Discharges to ground, surface water or sewer must be lawful and must comply with any consents or permissions that are required. | Yes we can comply
2.4.6 |  | You must have spill contingency procedures to minimise the risk of an accidental emission of raw materials, products and waste materials, and to prevent their entry into water. | Yes we can comply
2.4.7 |  | Your emergency firefighting water collection system must take account of additional firefighting water flows or firefighting foams. You may need emergency storage lagoons to prevent contaminated firefighting water reaching a receiving water body. This should be considered as part of your fire prevention plan. | Yes we can comply
2.4.8 |  | You must consider and, if appropriate, plan for the possibility that you need to contain or abate accidental emissions from: overflows, vents, safety relief valves, bursting discs. If this is not advisable on safety grounds, you must focus on reducing the probability of the emission. | Yes we can comply
2.4.9 | Security measures | You must have security measures in place (including staff) to prevent:entry by vandals and intruders, damage to plant and equipment,theft, fly-tipping, arson | Yes we can comply
2.4.10 |  | Facilities must use an appropriate combination of the following measures: security guards, total enclosure (usually with fences), controlled entry points, adequate lighting, warning signs, 24-hour surveillance, such as closed-circuit television (CCTV) | Yes we can comply
2.4.11 | Fire prevention | There are 3 fire prevention objectives. You must: minimise the likelihood of a fire happening, aim for a fire to be extinguished within 4 hours, minimise the spread of fire within the site and to neighbouring sites | Yes we can comply
2.4.12 |  | You must have a fire prevention plan that meets the requirements of our fire prevention plan guidance. | Yes we can comply
2.4.13 | Other accident prevention measures | You must maintain plant control in an emergency using one or a combination of: alarms, process trips and interlocks, automatic systems, manual interventions | Yes we can comply
2.4.14 |  | You must: make sure all the measurement and control devices you would need in an emergency are easy to access and operate in an emergency situation. maintain the plant so it is in a good state through a preventive maintenance programme and a control and testing programme. use techniques such as suitable barriers to prevent moving vehicles damaging equipment. have procedures in place to avoid incidents due to poor communication between operating staff during shift changes and following maintenance or other engineering work. where relevant, use equipment and protective systems designed for use in potentially explosive atmospheres | Yes we can comply
2.4.15 | Record keeping and procedures | You must: keep an up-to-date record of all accidents, incidents, near misses, changes to procedures, abnormal events, and the findings of maintenance inspections. carry out investigations into accidents, incidents, near misses and abnormal events and record the steps taken to prevent their reoccurrence. maintain an inventory of substances, which are present (or likely to be) and which could have environmental consequences if they escape – many apparently innocuous substances can damage the environment if they escape. have procedures for checking raw materials and wastes to make sure they are compatible with other substances they may accidentally come into contact with. make sure that any documents that may be needed in the event of an incident are accessible | Yes we can comply
2.5 | Contingency plan and procedures
2.6 | Plant decommissioning | N/A | Yes we can comply
3 | Waste pre-acceptance, acceptance and tracking appropriate measures
3.1.1 | Waste pre-acceptance | Except in the case of small one-off deliveries of WEEE, for example from tradespeople, you must implement waste pre-acceptance procedures so that you know enough about a waste before it arrives at your facility. You need to do this to assess and confirm the waste is technically and legally suitable for your facility. Your procedures must follow a risk-based approach, considering: the source and nature of the waste any hazardous properties and persistent organic pollutant (POPs) content potential risks to process safety, occupational safety and the environment (for example, from the presence of hazardous substances that could be dispersed during treatment) knowledge about the previous waste holder the type of containment used for the waste | Yes we can comply |  | As per the WEEE APL flow process
3.1.2 |  | You must get the following information in writing when you receive a customer query: details of the waste producer (who you are receiving the waste from) including organisation name, address and contact details where the waste is coming from full description of the waste including the quantity the List of Waste code (European Waste Classification, EWC, code) any hazardous properties or presence of any regulated chemicals, for example, POPs if WEEE identified as POPs waste in the guidance on how to classify WEEE is described as not being a POPs waste, you should request evidence of the assessment demonstrating this with reference to Annex VII of the WEEE Directive, details of any treatment already undertaken You can verify the pre-acceptance information by contacting or visiting the waste producer. Dealing with staff directly involved in waste production can help to fully characterise a waste. | Yes we can comply |  | As per the WEEE APL flow process, POP regulation Not a treatment plant, WEEE held in a secure 660L wheelie bin awaiting collection
3.1.3 |  | You should consider with your customer whether the WEEE is suitable for preparing for reuse. Where that remains a possibility, you should ensure the WEEE is handled and transported with care to avoid any damage or loss that could affect reuse. | Yes we can comply
3.1.4 |  | You must also obtain confirmation that the WEEE does not contain a radioactive source other than domestic smoke detectors and specialist lamps such as xenon lamps. If there is a risk of radioactive contamination, for example, in certain types of medical equipment, you must obtain confirmation that the waste is not radioactive, unless your facility is permitted to accept such waste. | Yes we can comply
3.1.5 |  | You must consider whether specific wastes, from among those you are permitted to receive, have properties that can pose unacceptable risks to the site or process. For example, due to: a risk of explosion (for example, from gas or aerosol canisters that may be present) a risk of fire (for example, from WEEE containing lithium-ion batteries) You should establish a list of such wastes and procedures for managing the risks from them. | Yes we can comply
3.1.6 |  | You must keep pre-acceptance records following receipt of the waste. If an enquiry from a waste producer does not lead to the receipt of waste, you do not need to keep records. | Yes we can comply
3.1.7 |  | You must reassess the information required at pre-acceptance if the: waste changes process giving rise to the waste changes waste received does not conform to the pre-acceptance information | Yes we can comply
3.1.8 |  | In all cases you must reassess the information required at pre-acceptance on an annual basis. | Yes we can comply
3.1.9 |  | The information required, and the assessment made at the pre-acceptance stage is to make sure you: only accept wastes that are suitable for the site avoid unnecessarily accumulating waste have enough storage and treatment capacity | Yes we can comply
3.2 | Waste acceptance
3.2.1 |  | You must implement waste acceptance procedures to check that the characteristics of the waste received matches the information you obtained during waste pre-acceptance. This is to confirm that the waste is as expected, and you can accept it. If it is not, you must confirm that you can accept it as a non-conforming waste, or you must reject it. If you are rejecting hazardous waste you must follow the guidance on the procedure for rejecting hazardous waste. Procedures should be documented and auditable. | Yes we can comply |  | As per the WEEE APL flow process
3.2.2 |  | Your procedures must follow a risk-based approach, considering: the source, nature, condition and age of the waste any hazardous properties of the waste any POPs content in the waste potential risks to process safety, occupational safety and the environment (for example, the presence of lithium-ion batteries) knowledge about the previous waste holders | Yes we can comply |  | As per the WEEE APL flow process
3.2.3 |  | If, in the case of small one-off deliveries of WEEE (for example those from tradespeople) you have not received any pre-acceptance information, you must fully assess the load to make sure it is technically and legally suitable for your process. | Yes we can comply
3.2.4 | Storage area | All relevant storage areas (quarantine, reception and general) and treatment processes in your facility must have the physical capacity needed for the waste you receive. You must not receive wastes if this capacity is not available. The amount of waste you receive must also comply with storage limits in your permit. | Yes we can comply |  | Not a treatment plant, WEEE held in a secure 660L wheelie bin awaiting collection
3.2.5 |  | The waste offloading, reception and quarantine areas must have impermeable surfaces with a sealed drainage system. This system must collect all surface water run-off and channel it to a blind sump unless you can lawfully discharge it. | Yes we can comply
3.2.6 |  | You must clearly designate a materials reception area (or areas). Staff controlling the inspection, reception and validation of materials at the facility, must be trained in their respective roles. | Yes we can comply
3.2.7 | Waste acceptance | You must weigh each load of waste on arrival to confirm the quantities against the accompanying paperwork, unless alternative reliable systems are available (for example, based upon volume). You must record the weight in the waste tracking system. | Yes we can comply |  | Weight calculated from ID, serial number plate on unit
3.2.8 |  | You must visually check wastes and verify them against pre acceptance information and transfer documentation before you accept them on site. | Yes we can comply
3.2.9 |  | You must check and validate all transfer documentation and resolve discrepancies before you accept the waste. If you believe the incoming waste classification and description is incorrect or incomplete, then you must address this with the customer during waste acceptance. You must record any non-conformances. If you have assessed the waste as acceptable for on-site storage or treatment, you must document this. | Yes we can comply
3.2.10 |  | You must have clear criteria that you use to reject non-conforming wastes. You must also have a written procedure for recording, reporting and tracking non-conforming wastes, including notifying the relevant customer or waste producer to prevent reoccurrence. | Yes we can comply
3.2.11 |  | The person carrying out waste acceptance checks must be trained to effectively identify and manage any non-conformances in the loads received, complying with this guidance and your permit conditions. | Yes we can comply
3.2.12 |  | If there is a known risk of radioactive contamination other than the presence of smoke detectors and certain specialist lamps such as xenon lamps, you must check the waste to determine that it does not include radioactive material unless your site is permitted to accept that type of radioactive waste | Yes we can comply
3.2.13 | Quarantine storage | You must establish quarantine areas for WEEE and materials that are prohibited, awaiting full inspection, or awaiting assessment or removal. | Yes we can comply |  | As per the WEEE APL flow process
3.2.14 |  | Quarantine storage must be for a maximum of fourteen working days. | Yes we can comply |  | As per the WEEE APL flow process
3.2.15 |  | You must have written procedures in place for dealing with wastes held in quarantine, and a maximum storage volume. For some limited and specific cases (for example, the detection of radioactivity), you can extend quarantine storage time if the Environment Agency agrees. | Yes we can comply |  | Not a treatment plant, WEEE held in a secure 660L wheelie bin awaiting collection
3.2.16 |  | Quarantine storage must be separate from all other storage and clearly marked as a quarantine area. | Yes we can comply |  | As per the WEEE APL flow process
3.3 | Waste tracking
3.3.1 |  | You must use a waste tracking system to hold up to date information about the available capacity of the waste quarantine, reception, general and bulk storage areas of your facility. This must include treatment residues and end of waste product materials. | Yes we can comply |  | As per the WEEE APL flow process
3.3.2 |  | Your waste tracking system must hold all the information generated during: pre-acceptance acceptance non-conformance or rejection storage treatment removal off site This information must be readily accessible. | Yes we can comply |  | As per the WEEE APL flow process
3.3.3 |  | You must create records and update them to reflect deliveries, on-site treatment and despatches. This can be done on a ‘loads received’ basis. Your tracking system will also operate as a waste inventory and stock control system. It must include this information as a minimum: the date the waste arrived on site the producer’s details (or unique identifier) a unique reference number waste pre-acceptance and acceptance information the quantity delivered the intended treatment route accurate records of the nature and quantity of wastes held on site, including all hazards – and identifying the primary hazards and presence of any regulated chemicals such as POPs where the waste is physically located on site | Yes we can comply |  | As per the WEEE APL flow process
3.3.4 |  | The tracking system must be able to report: the total quantity of waste present on site at any one time a breakdown by type of the waste quantities you are storing pending treatment or transfer the quantity of waste on site compared with the limits authorised by your permit the length of time the waste has been on site the quantity of end-of-waste product materials on site at any one time and, where applicable, details of any non-conformances and rejections | Yes we can comply |  | As per the WEEE APL flow process
3.3.5 |  | You must store back-up copies of electronic records off site. Records must be readily accessible in an emergency. | Yes we can comply
3.3.6 |  | You must hold pre-acceptance and acceptance records for a minimum of 2 years after you have treated the waste or removed it off site. You may have to keep some records for longer if they are required for other purposes, for example, hazardous waste consignment notes. | Yes we can comply
4 | Waste store, segregation and handling appropriate measures
4.1 | General waste storage
4.1.1 |  | You should design and operate your facility in a way that minimises the handling of waste. Waste handling must be carried out by competent staff using appropriate equipment. | Yes we can comply
4.1.2 |  | Where possible, you should locate storage areas away from watercourses and sensitive perimeters (for example, those close to public rights of way, housing or schools). | Yes we can comply
4.1.3 |  | You must store all waste within the security protected area of your facility to prevent unauthorised access and vandalism. | Yes we can comply
4.1.4 | Storage duration and capacity | You must clearly establish the maximum storage capacity of the site and designated storage areas and you must not exceed these maximum capacities. | Yes we can comply
4.1.5 |  | You must define capacity in pile sizes as well as tonnage. You must regularly monitor the quantity of waste stored on the site and within the designated areas to check against the allowed maximum capacity. You must also monitor the quantities and pile sizes against those set out in your fire prevention plan. | Yes we can comply
4.1.6 |  | Where relevant, you must conform to Health and Safety Executive (HSE) guidance and standards. | Yes we can comply
4.1.7 |  | You must not accumulate waste unnecessarily. You must treat wastes, or remove them from the site, as soon as possible. Generally, all wastes must be removed within a maximum of 6 months of receipt. If you have a shorter time period as a permit condition or one is specified in your fire prevention plan you must comply with that condition or the fire prevention plan. | Yes we can comply
4.1.8 |  | You must store all waste in a way that allows easy inspection. You must maintain safe access between piles of wastes. There must always be pedestrian and vehicular access (for example, forklift) to the whole of the storage area. | Yes we can comply
4.1.9 |  | You must store and handle waste in a way that prevents pests and vermin. You must have specific measures and procedures in place to identify and manage any wastes that are causing pests or vermin at your site. | Yes we can comply
4.1.10 |  | Waste storage areas and stored equipment must be subject to frequent inspection to make sure that any leaks, spillages of liquids, dust or loose material are identified and managed appropriately, and fire breaks are maintained. You must keep written records of the inspections. You must rectify and log any spillages of waste. | Yes we can comply
4.1.11 |  | You must not carry out activities that represent a clear fire risk within any storage area. Examples include: grinding welding or brazing of metalwork smoking parking of normal road vehicles except while unloading or loading recharging forklift truck or power tool batteries | Yes we can comply
4.1.12 |  | You should assess areas of the site where explosive atmospheres could occur. Where appropriate these must be classified into hazardous zones in accordance with the Dangerous Substances and Explosive Atmospheres Regulations 2002 (DSEAR). | Yes we can comply |  | Hazardous WEEE is stored separately in hazardous waste compound
4.1.13 |  | Outdoor waste storage areas must have an impermeable surface with a sealed drainage system. It must collect all surface water run-off and channel it to a blind sump unless it may be lawfully discharged. | Yes we can comply
4.1.14 |  | Indoor waste storage areas must have an impermeable surface and you must provide spillage collection facilities. | Yes we can comply
4.1.15 |  | You must use weatherproof covering to store any items that may be reused as whole appliances or may have components recovered from them for reuse. The type of covering will depend on the types and quantities of waste but must ensure the WEEE is protected from the weather. It could be as simple as a lid or cover over a container for small items but in other cases may require the construction of a roofed building. | Yes we can comply
4.1.16 |  | You must also use weatherproof covering in areas used for storage of waste containing hazardous material or fluids where this is necessary to avoid contamination of surface water. This includes, but is not necessarily limited to, the storage of: lamps and processed fractions flat panel display equipment which may contain cold-cathode fluorescent lamp (CCFL) backlights and where these are processed by shredding, the shredded fractions broken cathode ray tubes (CRTs) and CRT glass shredded WEEE or plastic containing fractions that may be persistent organic pollutant (POPs) waste | Yes we can comply
4.1.17 |  | Covering may still be required even if you have a consent to discharge surface water to sewer or if water is tankered away. For example, to avoid leached chemicals such as POPs from WEEE plastic entering the water environment. | Yes we can comply
4.1.18 |  | Any spillage or leakage resulting from the storage of WEEE or processed materials must be collected without delay using equipment and procedures appropriate to the type of spillage. The collected residues must be stored in a lidded, leakproof container. Any containers or surfaces affected by the spillage must be cleaned. | Yes we can comply
4.1.19 |  | You must train forklift drivers in the handling of waste, to minimise forklift truck damage to the integrity of containers or individual appliances. | Yes we can comply
4.1.20 |  | Any liquids removed from WEEE must be collected and stored in lidded, leakproof containers. Containers must be kept closed when not being filled and must be stored within a bunded area to contain any leakage or spillage. | Yes we can comply
4.1.21 |  | You must store the following separately and securely from other WEEE in leakproof containers to prevent leakage and spillage: batteries, capacitors and other similar components which could leak any components which may contain residual liquids Containers must be closed or stored under cover to prevent the accumulation of rainwater. | Yes we can comply
4.1.22 |  | You must clearly label containers to identify their contents. | Yes we can comply
4.2. | Additional storage requirements for specific categories of WEEE | The following appropriate measures apply to specific WEEE categories in addition to those in the section 4.1.
4.2.1 | Gas discharge lamps | You must store lamps in lidded, leakproof and weatherproof containers. The containers must prevent the ingress of water and the release of any lamp fragments should any lamps break. | Yes we can comply
4.2.2 |  | Containers must be designed and constructed to be sufficiently rigid and strong, so they do not distort or flex when being moved. Storage tubes are not recommended and should only ever be used for small numbers of lamps. If you do use them, they must be stored and handled in a manner to prevent them from rolling which may cause breakage of the lamps. | Yes we can comply
4.2.3 |  | You must pack lamps carefully into containers to minimise movement and the risk of lamps breaking. Linear fluorescent tubes must be stored separately from other format bulbs. Containers must not be overfilled – lids must close fully without exerting pressure on the contents. | Yes we can comply
4.2.4 |  | You must handle containers of lamps carefully during loading and unloading to minimise the risk of breakage. | Yes we can comply
4.2.5 |  | Any crushed lamps that have not been treated to remove the mercury must be stored in a gas-tight sealed drum or gas-tight sealed heavy-duty impermeable plastic bag resistant to punctures. Any bag that does become damaged must immediately be placed inside a secondary sealed container. | Yes we can comply
4.2.6 |  | You must clean and decontaminate any container that has held broken lamps prior to reuse or disposal. | Yes we can comply
4.2.7 |  | You must store any WEEE containing gas discharge lamps such as sun beds and facial tanners in a manner to prevent breakage of the lamps. The lamps should be removed as soon as possible and stored as set out in this section. | Yes we can comply
4.2.8 | Flat panel display (FPD) equipment | You must store FPDs which may contain cold-cathode fluorescent lamp (CCFL) backlights under weatherproof covering. | Yes we can comply
4.2.9 |  | You must store FPDs in such a way to prevent breakage. They must not be dropped into containers, tipped in bulk or stored loose but should be packed into cages or stillages to minimise movement. | Yes we can comply
4.2.10 |  | You can only store FPDs on pallets if they are stacked and secured to prevent toppling. | Yes we can comply
4.2.11 |  | You must only stack containers of FPDs on top of each other where damage to FPDs will be avoided. | Yes we can comply
4.2.12 |  | Any damaged FPD devices should be prioritised for treatment to minimise any release of mercury vapour. | Yes we can comply
4.2.13 | Cathode ray tube (CRT) equipment | You must handle display equipment containing CRTs and bare CRTs carefully and store it in cages, bulk bags or securely on pallets to prevent breakage. They must not be dropped or stacked in an unstable manner. | Yes we can comply
4.2.14 |  | You must not tip containers of CRT equipment or bare CRTs in bulk unless enclosure, air extraction and abatement are provided to collect all dust generated. | Yes we can comply
4.2.15 |  | You must store any broken CRTs under weatherproof covering and prioritise them for treatment. | Yes we can comply
4.2.16 | Small mixed WEEE (SMW) | You must not mechanically compact or compress untreated and unsorted SMW during storage and transport. This is to minimise the dispersion of pollutants and the risk of fires caused by damage to batteries. | Yes we can comply
4.2.17 | Photovoltaic panels | Photovoltaic panels must be off-loaded, handled and stored to prevent breakage. | Yes we can comply
4.2.18 |  | Disconnected photovoltaic panels are still capable of generating electricity which can pose a risk of electrocution or fire. You must store them glass side down and take other precautions to minimise these risks. | Yes we can comply
5 | Waste treatment appropriate measures |  | Yes we can comply |  | Not a treatment plant, WEEE held in a secure 660L wheelie bin awaiting collection
6 | Emissions control appropriate measures |  | Yes we can comply |  | Not a treatment plant, WEEE held in a secure 660L wheelie bin awaiting collection
7 | Emissions monitoring and limits appropriate measures |  | Yes we can comply |  | Not a treatment plant, WEEE held in a secure 660L wheelie bin awaiting collection
7.1.1-3 |  | 1. Your facility’s emissions inventory must include information about the relevant characteristics of point source emissions to air, such as the: average values and variability of flow and temperature average concentration and load values of relevant substances and their variability flammability, lower and higher explosive limits and reactivity presence of other substances that may affect the waste gas treatment system or plant safety – for example, oxygen, nitrogen, water vapour, dust 2. Monitoring locations must meet MCERTS standards. Monitoring must be carried out using MCERTS qualified accredited methods and MCERTS certified staff. Further guidance can be found in our guidance M1 sampling requirements for stack emissions monitoring. 3. You must carry out emissions monitoring when the plant is operating at or near to full treatment capacity. Information regarding the plant treatment processing rate and air flow rate at the time of monitoring must be recorded and submitted with the monitoring results. 4. You must monitor point source emissions to air from your treatment plant for the following substances using the monitoring standards stated. You must monitor at the frequencies stated and meet the specified emission limits unless your permit states alternative requirements. | Yes we can comply |  | Not a treatment plant, WEEE held in a secure 660L wheelie bin awaiting collection
| Channelled emissions to air from all mechanical treatment of WEEE | Dust Monitoring standard – EN 13284-1. Frequency – every 6 months. Emission limit – 5mg/m³ (where it is inappropriate to fit a fabric filter due to the potential effects of deflagration on the filter, the limit is 10mg/m³). TVOC Monitoring standard – EN 12619. Frequency – every 6 months. In addition, the following monitoring is required from all mechanical treatment of WEEE when the substance concerned is identified as relevant based on your facility’s emissions inventory. Dioxin-like PCBs Monitoring standard – EN 1948-1, -2 and -4. Frequency – every 12 months. PCDD/F Monitoring standard – EN 1948-1, -2 and -3. Frequency – every 12 months. BFRs Frequency – every 12 months. Metals and metalloids excluding mercury Monitoring standard – EN 14385. Frequency – every 12 months. Channelled emissions to air from the treatment of WEEE containing mercury Total mercury Monitoring standard – EN 13211. Frequency – every 3 months. Emission limit – 7µg/m³. Periodic monitoring results should normally consist of the average value of 3 consecutive measurements of at least 30 minutes each. For some parameters, due to analytical limitations, a longer sampling period may be required. Monitoring frequencies may be reduced if the emission levels are proven to be sufficiently stable over time. | Yes we can comply |  | Not a treatment plant, WEEE held in a secure 660L wheelie bin awaiting collection
8 | Process efficiency appropriate measures |  | Yes we can comply |  | Not an instillation
8.4 | Waste minimisation, recovery and disposal
8.4.1 |  | You must have and implement a residues management plan that: minimises the generation of residues arising from waste treatment optimises the reuse, regeneration, recycling or energy recovery of residues, including packaging makes sure you properly dispose of residues where recovery is technically or economically impractical | Yes we can comply
8.4.2 |  | Where you must dispose of waste, you must carry out a detailed assessment identifying the best environmental options for waste disposal. | Yes we can comply
8.4.3 |  | You must review options for recovering and disposing of waste produced at the facility on a regular basis. You must do this as part of the management system to make sure you are: still using the best environmental options promoting the recovery of waste where technically and economically viable | Yes we can comply

## Non-hazardous appropriate meas
| Non-hazardous and inert waste | Non-hazardous and inert - Non-hazardous and inert waste: appropriate measures for permitted facilities - Guidance - GOV.UK
1 | When appropriate measures apply | Headers | Agree | Sub | Notes
1.1 | Who this guidance is for | This guidance applies to permitted waste management facilities such as household waste recycling facilities (civic amenity sites). waste transfer stations. materials facilities. inert waste, aggregate, soil, and incinerator bottom ash treatment facilities. treatment facilities for processing waste such as wood, tyres, plastics, and mattresses. Exempt facilities that store or treat non-hazardous or inert waste may also find it useful to refer to this guidance. This guidance does not apply to all non-hazardous and inert wastes. It does not apply to exclusions from the Waste Framework Directive or to certain processes which may involve non-hazardous or inert waste, such as chemical treatment, producing recycled paper and card, using waste-derived fuel, waste incineration or co-incineration, pyrolysis and gasification, landfill of waste, or deposit for recovery activities, treating landfill leachate, in-situ remediation of contaminated soil, mobile plant, Storing and treating the following kinds of waste is (or will be) covered in separate guidance specific to that industry sector: biowaste, including food waste. healthcare, including hygiene and offensive waste. hazardous waste, including asbestos. waste electrical and electronic equipment. batteries, metal shredders. In this guidance, the term ‘handling’ covers all site-based activities relating to waste, except for storage. Handling includes treatment as well as transfer activities like loading, unloading, and moving waste within the facility. | Yes we can comply
1.2 | Assesssing appropriate measures for the site | There is overlap between best available techniques (BAT) for waste installation facilities and necessary measures for waste operation facilities. The Environment Agency uses the term ‘appropriate measures’ to cover both sets of requirements. This guidance sets out what you must consider when you assess the appropriate measures for your facility. It is not definitive and it does not replace your obligation to assess appropriate measures fully for your site. Some measures in this guidance may not be suitable or relevant for your operation. Appropriate measures will depend on the activities being carried out size, and nature of the activities, Location of the facility. Our guidance on risk assessment will help you identify the risks from your activities and what the environmental impact could be. For installations, there are additional requirements for using energy and raw materials (including water) efficiently. These are called process efficiency measures. Where a measure is not suitable or relevant, an operator can propose alternative measures that achieve the same level of environmental protection. Or they can provide an explanation of why the specific measure is not relevant. In certain situations, a higher standard of environmental protection may be needed, for example, where there are local sensitive receptors. if the facility is affecting the local environment or human health despite using appropriate measures. if there is a risk that you may breach an Environmental Quality Standard | Yes we can comply
1.3 | Implementing appropriate measures at new and existing facilities | The appropriate measures in this guidance apply to both new and existing facilities that store, treat or transfer (or both) non-hazardous or inert waste. For new facilities the appropriate measures must be in place before operations start. For existing facilities, if the cost of complying with the appropriate measures is disproportionate to the environmental benefit, immediate compliance may not be reasonable. Through permit reviews, the Environment Agency will assess the current operating techniques of existing facilities against the relevant appropriate measures. Where an operator is not using appropriate measures, we will expect them to provide improvement plans and timetables for implementing the relevant appropriate measures. We will review these proposals and set formal timescales for making the improvements needed. We will do this by varying the environmental permit to include improvement conditions, but we may use alternative approaches, if required. Improvements at existing facilities are likely to fall into one of the following categories:
1.3.1 | Standard good practice requirements | Where improvements are relatively low cost, operators should prioritise them based on the risk posed by their facility. They should implement these improvements as soon as possible and no later than 12 months after the publication date of this guidance. For example, these improvements could be: updated management systems, waste pre-acceptance, acceptance, handling techniques and waste transfers off site, measures to prevent fugitive or accidental emissions, appropriate monitoring equipment, waste, water and energy efficiency measures | Yes we can comply
1.3.2 | More capital-intensive improvements | Operators should complete these improvements as soon as reasonably possible. Within 3 years of the publication of this guidance is a reasonable expectation. Capital intensive improvements will generally be required through a permit variation and associated improvement conditions. Examples of capital intensive improvements include: installing significant abatement and emission monitoring equipment the significant redesign of the facility layout, including installing new buildings, or treatment or abatement plant Capital-intensive projects may need permission from other regulators and we will take this into account when considering improvement condition timescales. We expect operators to send their permission requests to other regulators as soon as possible. In some cases, we will be a consultee (for example as part of the planning process). Local environmental impacts (for example, having sensitive receptors or an air quality management area close by) may mean an operator has to take action more quickly than the timescales provided here. By August 2022, unless we approve a derogation, existing installations must comply with relevant BAT associated emission levels (AELs). These are set out in the published Waste Treatment BAT Conclusions document. New installations (including new or replacement plant at existing facilities) must comply with any relevant BAT AELs from when operations begin, unless we approve a derogation. | Yes we can comply
1.4 | Site design and suitability | You should consider the potential impacts of climate change when selecting a site, especially: flood risk drought extreme temperatures extreme weather events You should have enough space on site to manage wastes and to make sure that you minimise potential pollution impacts on nearby receptors. For example, you should have enough space for appropriate fire breaks between stockpiles of combustible waste, and to allow access for fire-fighting. The storage and handling of waste on site must be located as far as technically and economically possible from sensitive receptors and watercourses, while minimising unnecessary handling. Access doors should be on the side of any buildings that are opposite to sensitive receptors. You must have enough space on site to operate your plant and equipment safely, and to segregate waste to prevent cross-contamination. Environmental permits set limits on the amount of waste an operator can bring onto site on an annual basis. The permit may also set other capacity limits, for example the maximum quantity of a particular waste type at any one time. The physical capacity of your site may not be large enough to safely handle, without causing pollution, the amount of waste your permit allows. You must make sure that the quantities of waste at your facility are manageable at all times and do not exceed your capacity to store and treat waste. At the design stage you should consider: how you will monitor emissions from your site the access to waste treatment processes so you can take representative samples | Yes we can comply
2 | General managenment appropriate measures
2.1 | Management system | You must have an up-to-date written management system, and activities at your facility must follow it. Your management system must incorporate the following features. You have: management commitment, including from senior managers an environmental policy that is approved by senior managers and includes the continuous improvement of the facility’s environmental performance, so you can identify pollution risks and minimise them through appropriate measures You plan and establish the resources, procedures, objectives and targets needed for environmental performance alongside your financial planning and investment. You implement your environmental performance procedures, paying particular attention to: staff structure and relevant responsibilities staff recruitment, training, awareness and competence communication (for example of performance measures and targets) employee involvement documentation effective process control maintenance programmes management of change emergency preparedness and response making sure you comply with environmental legislation You check environmental performance and take corrective action, paying particular attention to: monitoring and measurement learning from incidents, near misses and mistakes, including those of other organisations records maintenance independent (where practicable) internal or external auditing of the management system to confirm it has been properly implemented and maintained Senior managers must review the management system to check it is still suitable, adequate and effective at least annually. Improvements should be carried out within a reasonable time, based on the level of environmental risk. You review the development of cleaner technologies and their applicability to site operations. We would expect cleaner technologies to be considered: as a result of substantiated pollution incidents when reviewing management systems when planning investment decisions, for example new items of plant When designing new plant, you must assess the environmental impacts from the plant’s operating life and eventual decommissioning. You must make sure that new plant is authorised by your environmental permit. You must have a written procedure for proposing, considering and approving changes to procedures or infrastructure related to storing or treating waste or pollution control. This is so you can track and control the process of change. You consider the risks that a changing climate poses to your operations. You have appropriate plans in place to assess and manage future risks. You compare your facility’s performance against relevant sector guidance and standards on a regular basis, known as ‘sectoral benchmarking’. You have and maintain the following documentation as part of your management system: inventory of emissions to air and water residues management plan accident management plan site infrastructure plan site condition report for new facilities or where you are increasing the facility’s area odour management plan, if required noise and vibration management plan, if required dust, mud and litter management plans, if required pest management plan, if required fire prevention plan, unless your facility does not handle combustible waste climate change risk assessment and adaptation plan Your management system must include a schedule of inspection and maintenance for all pollution control infrastructure, including for example the: impermeable surfacing and drainage system ducts of abatement systems You must have a document control procedure that clearly describes how and when you will periodically review documentation and maintain version control. Your management system must clearly set out the actual physical capacity of your facility to store and handle waste, which may be less than the quantity limits allowed by your permit. You must specify limits for the maximum: waste storage capacity at any one time daily and annual throughputs residence time for waste When doing this, you must take into account the characteristics of your facility and the waste types and the pollution risks, for example fire and odour. Your limits must also reflect the constraints of the available space and waste handling processes. You must include factors like seasonal changes in supplies of inputs, and markets for outputs. More information on understanding capacity is available in our RGN 2 guidance. | Yes we can comply |  | Require changing the climate risk assessment to be added to the site waste management system
2.2 | Staff competence
2.2.1 |  | Your facility must be operated at all times by an adequate number of staff with appropriate training, qualifications and competence. You must keep records of training, qualifications and relevant experience. | Yes we can comply
2.2.2 |  | If you operate a 24-hour process, you must have: remote or telemetric systems to make sure an alarm would be raised in the event of an incident during unmanned hours appropriate personnel on call to deal with these incidents You must explain these procedures in your management system. | Yes we can comply
2.2.3 |  | The design, installation and maintenance of infrastructure, plant and equipment must be carried out by competent people, including Construction Quality Assurance where appropriate. | Yes we can comply
2.2.4 |  | You must have appropriately qualified managers for your waste activity who are members of a government approved technical competence scheme and who attend the facility as set out in our attendance guidance. | Yes we can comply
2.2.5 |  | Staff carrying out waste acceptance checks, including sampling and analysis of waste, must be appropriately trained and competent to: classify and characterise waste properly identify whether it is suitable for your facility manage any loads that do not conform to waste acceptance criteria determine end of waste products | Yes we can comply
2.3 | Accidents management plan
2.3.1 |  | As part of your written management system you must have a plan for dealing with any incidents or accidents that could result in pollution, including near misses. | Yes we can comply
2.3.2 |  | The accident management plan must identify and assess the risks the facility poses to human health and the environment. Particular areas to consider may include: waste types transferring substances, for example filling (including overfilling) or emptying of vessels and containers preventing incompatible substances coming into contact with each other failure of plant and equipment, for example storage tanks and pipework, or blocked drains failure of containment, for example bund failure or drainage sumps overfilling making the wrong connections in drains or other systems failure to contain firefighting water failure of abatement systems hazardous atmospheres in confined spaces failure of main services, for example power, steam or cooling water checking the composition of effluents before their emission vandalism and arson operator error accessibility of control equipment in emergency situations extreme weather conditions, for example flooding or very high winds | Yes we can comply
2.3.3 |  | You must assess the risk of accidents and their possible consequences. You can use our risk assessment guidance to help you to do this. Risk is the combination of the likelihood that a hazard will occur and the severity of the impact resulting from that hazard. Having identified the hazards, you can assess the risks by addressing six questions: how likely is it that the accident will happen? what may be emitted and how much? where will the emission go – what are the pathways and receptors? what are the consequences? what is the overall significance of the risk? what can you do to prevent or reduce the risk? | Yes we can comply
2.3.4 |  | The depth and type of accident risk assessment you carry out will depend on the characteristics of your facility and its location. The main factors to take into account are the: scale and nature of the accident hazard presented by the facility and its activities risks to areas of population and the environment (the receptors) | Yes we can comply
2.3.5 |  | Through your accident management plan, you must also identify the roles and responsibilities of the staff involved in managing accidents. You must provide them with clear guidance on how to manage each accident scenario, for example as a result of a spillage of a potentially polluting liquid. | Yes we can comply
2.4 | Contingency plan and procedures
2.4.1 |  | You must implement a contingency plan so that you: comply with all of your permit conditions and operating procedures during maintenance or shutdown at your facility, including disruption at other facilities that would affect supplies to your facility or the removal of waste from it do not exceed limits in your permit and continue to apply appropriate measures for storing and handling waste stop accepting waste unless you have a clearly defined method of recovery or disposal and enough permitted capacity | Yes we can comply
2.4.2 |  | You must have contingency procedures to make sure that, as far as possible, you know in advance about any planned shutdowns at waste management facilities to which you send waste. | Yes we can comply
2.4.3 |  | You must make your contracted or regular customers are aware of your contingency plan and of the circumstances in which you would stop accepting waste from them. | Yes we can comply
2.4.4 |  | You must consider whether the sites or companies you rely on in your contingency plan: can take waste at short notice are authorised to do so in the quantities and types likely to be needed, in addition to carrying out their existing activities | Yes we can comply
2.4.5 |  | If you could exceed your permitted limits, or compromise you storage or handling procedures, you must not discount alternative disposal or recovery options on the basis of extra cost or geographical distance. | Yes we can comply
2.4.6 |  | You must not include unauthorised capacity in your contingency plan. If your contingency plan includes using temporary storage for additional waste at your facility, then you must make sure that your facility is authorised for this storage and you have the appropriate infrastructure in place. | Yes we can comply
2.4.7 | Contingency measures for treatment only |  | Yes we can comply |  | No treatment, current permit regulations followed
2.5 | Facility decommissioning |  | Yes we can comply
2.5.1 |  | You must consider the decommissioning of the facility at the design stage and make suitable plans to minimise risks during decommissioning. | Yes we can comply
2.5.2 |  | For existing facilities where potential risks are identified, you must implement a programme of design improvements. These design improvements must make sure that you: avoid using subsurface tanks and pipework drain and clean out vessels and pipework before dismantling use insulation which you can remove easily without dust or hazard use recyclable materials, taking into account operational or other environmental objectives | Yes we can comply
2.5.3 |  | You must maintain a decommissioning plan to demonstrate that: plant can be decommissioned without causing pollution the site will be returned to a satisfactory condition | Yes we can comply
2.5.4 |  | You should identify non-productive or redundant items such as tanks, pipework, retaining walls, bunds, reusable waste containers, ducts, filters and security systems and implement a programme of decommissioning and removal. | Yes we can comply
2.5.5 |  | You should follow our guidance on how land and groundwater should be protected at permitted facilities. You should plan for producing a site condition report, if needed to surrender your permit. | Yes we can comply
3 | Waste pre-acceptance, acceptance and tracking appropriate measures | These are appropriate measures for waste pre-acceptance, acceptance and tracking at a regulated facility permitted to store, treat or transfer (or both) non-hazardous and inert waste.
3.1 | Waste pre-acceptance | You must implement waste pre-acceptance procedures so that you know enough about a waste (including its composition) before it arrives at your facility. You need to do this to assess and confirm that the waste is technically and legally suitable for your facility. If you accept the waste, you must keep records to justify your decision. Your pre-acceptance procedures must follow a risk-based approach, considering: the source and nature of the waste potential risks to process safety, occupational safety and the environment (for example from odour and other emissions) knowledge about the previous waste holder(s) | Yes we can comply
3.1.2 |  | Some facilities receive waste on an ad hoc basis. In those instances pre-acceptance checks can still be carried out before the waste is accepted. For example, through the exchange of information at the weighbridge before acceptance on site. | Yes we can comply
3.1.3 |  | When you receive a customer query, and before the waste arrives at your facility, you must get enough information from the waste producer to satisfy yourself that the waste has been properly assessed and classified as set out in WM3. | Yes we can comply
3.1.4 |  | In the case of household and similar non-household waste (including skip waste) waste is pre-accepted by the terms and conditions of the contract in place (for example skip waste companies excluding fridges and freezers or hazardous wastes). There should also be a visual pre-acceptance check before removal from the producer’s premises. | Yes we can comply
3.1.5 |  | For commercial and industrial waste you must get the following information in writing or electronic form: details of the waste producer including their organisation name, address and contact details a description of the waste the waste classification code (also referred to as a List of Waste (LoW) or European Waste Classification code the source of the waste (the producer’s business and the specific process that has created the waste) information on the nature and variability of the waste production process information about the history of the producer site if it may be relevant to the classification of the waste (for example soils and other construction and demolition arisings from a site contaminated by previous industrial uses) the waste’s physical form the waste’s composition (based on representative samples if necessary) a description of the waste’s odour and whether it is likely to be odorous an estimate of the quantity you expect to receive in each load and in a year For mirror entry LoW codes (as defined in WM3), you must keep the evidence that you have made an assessment of the waste to assign the relevant mirror entry code. | Yes we can comply
3.1.6 |  | You do not need to have sample information if the origin of the waste is reliably understood and it clearly shows that the waste is non-hazardous. However, a visual assessment alone will not be enough to assess whether mirror entry waste is hazardous or not. | Yes we can comply |  | No treatment, current permit regulations followed
3.1.7 |  | If the waste is a mirror entry and has not been properly assessed, you must assume it is the hazardous entry as a precautionary measure. This is likely to mean that you cannot accept it at your facility. The pre-acceptance information should be verified by contacting or visiting the producer. Dealing with staff directly involved in waste production can help to fully characterise a waste. | Yes we can comply |  | No treatment, current permit regulations followed
3.1.8 |  | Analysis of samples must be carried out by laboratories who are UKAS or MCERTs accredited for the prescribed test. | Yes we can comply |  | No treatment, current permit regulations followed
3.1.9 |  | After a waste has been properly assessed and classified, you must technically assess the waste’s suitability for storage and treatment at your facility to make sure you can meet your permit conditions. You must make sure that the waste complies with your facility’s treatment capabilities and you are permitted to take that waste. | Yes we can comply |  | No treatment, current permit regulations followed
3.1.10 |  | You must keep pre-acceptance records for at least 3 years, with records preferably held electronically, following receipt of the waste. If an enquiry does not lead to receipt of the waste, you do not need to keep records. | Yes we can comply
3.1.11 |  | You must reassess the information required at pre-acceptance if the: waste changes process giving rise to the waste changes waste received does not to conform to the pre-acceptance information In all cases you must reassess the information required at pre-acceptance on an annual basis. | Yes we can comply
3.1.12 |  | When you agree that you will accept waste from a customer, you should decide and record what parameters you will check at the acceptance stage. The checks could be visual, physical, chemical and odour-based parameters. You must also record the criteria for non-conformance or rejection. The person checking the waste for acceptance can also decide on their own additional parameters. | Yes we can comply
3.2 | Waste acceptance
3.2.1 |  | You must implement waste acceptance procedures to check that the characteristics of the waste received matches the information provided to you during waste pre-acceptance. This is to confirm the waste is as expected and that you can accept it. If the waste does not conform to the pre-acceptance information, you may still be able to accept the waste, but you must confirm first that your permit allows it and that your facility can handle it appropriately. Otherwise, you must reject the waste. | Yes we can comply
3.2.2 |  | Your procedures should follow a risk-based approach, considering: the source, nature and age of the waste potential risks to process safety, occupational safety and the environment (for example, from odour and other emissions) the potential for self-heating knowledge about the previous waste holder(s) | Yes we can comply
3.2.3 |  | When deciding whether to accept waste, you must also check that the relevant storage areas and treatment processes in your facility have the physical capacity needed to handle the waste. You must not accept waste if this capacity is not available, or if you would breach your permit by doing so. | Yes we can comply
3.2.4 |  | You must visually check wastes and verify them against pre-acceptance information and transfer documentation before you accept them on site. The extent of the initial visual check is based on the waste type and how it is packaged. | Yes we can comply
3.2.5 |  | You must check and validate all transfer documentation and resolve discrepancies before you accept the waste. If you believe the incoming waste classification or description is incorrect or incomplete, then you must address this with the original waste producer or waste carrier (or both) during waste acceptance. You must record any non-conformance. If you have assessed the waste as acceptable for on-site storage or treatment, you must document this. | Yes we can comply
3.2.6 |  | You must have clear criteria that you use to identify non-conforming wastes and wastes to be rejected. You must also have written procedures for recording, reporting and tracking non-conforming and rejected wastes. These must include: using quarantine storage notifying the relevant customer or waste producer recording a summary of your justification for accepting non-conforming waste in your electronic (or equivalent) system You must take measures to prevent the recurrence of non-conforming and rejected wastes. | Yes we can comply
3.2.7 |  | Where you reject waste which has been classified as hazardous, you must follow the procedure set out in our rejected loads guidance. | Yes we can comply
3.2.8 |  | You must weigh each load of waste on arrival to confirm the quantities against the accompanying paperwork, unless alternative reliable and representative systems are available (for example, based upon density and volume). You must record the weight in your electronic or equivalent systems, so you can monitor available capacity at your facility. Records of incoming waste are not required for waste from householders deposited at Household Waste Recycling Facilities. | Yes we can comply |  | Due to no weigh bridge being available, waste is based on density and volume
3.2.9 |  | The person carrying out waste acceptance checks must be trained to effectively identify and manage any non-conformances in the loads received, so you comply with your Duty of Care for waste and your permit conditions. | Yes we can comply
3.2.10 |  | Your procedures must make sure that your staff watch waste being unloaded, so you can quarantine the waste if necessary before it is mixed with other material. | Yes we can comply
3.2.11 |  | Offloading and reception areas must have an impermeable surface with self-contained drainage, to prevent any potentially polluting liquid from escaping off site. This requirement does not apply if your facility’s permit allows only inert wastes and does not require impermeable surfacing with self-contained drainage. | Yes we can comply
3.3 | Quarantine
3.3.1 |  | Your facility must have a dedicated waste quarantine area or areas which you use to temporarily store waste being rejected, or non-conforming waste whilst it is being assessed. Quarantine areas must have impermeable surface with self-contained drainage if there is a risk of contaminated runoff from the quarantined waste. | Yes we can comply
3.3.2 |  | Where there is a risk of fugitive emissions from quarantined waste you must store it in closed or covered containers or within a building. | Yes we can comply
3.3.3 |  | Quarantine storage must be separate from all other storage and clearly marked as a quarantine area. | Yes we can comply
3.3.4 |  | You should store the waste in quarantine in closed containers or cover it to prevent emissions if appropriate. For example, you should sheet quarantined contaminated soil or store it in a covered skip to prevent rainfall or wind from mobilising pollutants. | Yes we can comply
3.3.5 |  | You must have written procedures for dealing with wastes held in quarantine, including a maximum storage volume. The maximum storage time must take account of the potential for odour generation, pest infestation and storage conditions. If the waste is infested or odorous you must remove it within 24 hours or sooner. | Yes we can comply
3.4 | Waste tracking
3.4.1 |  | You should use an electronic or equivalent system to hold up-to-date information about the available capacity of different parts of your facility, for example reception, quarantine, treatment and storage areas. If you do not have an electronic system you still need to hold the equivalent level of information. You should use a pre-booking system to make sure that you have enough waste storage and process capacity for the incoming acceptable waste. Your electronic or equivalent system must hold all the information generated during: pre-acceptance acceptance non-conformance or rejection storage repackaging treatment removal off site This information must be readily accessible. | Yes we can comply
3.4.2 |  | You must create records and update them to reflect deliveries, on-site treatment and despatches. Your tracking system will also operate as a waste inventory and stock control system, including both wastes and end-of-waste materials produced at your facility. It must include this information as a minimum: the date the waste arrived on site the original producer’s details (or unique identifier) a unique reference number waste pre-acceptance and acceptance information the package type and size the intended treatment or disposal route the nature and quantity of wastes held on site where the waste is physically located on site where the waste is in the designated recovery or disposal process identifying the staff who have taken any decisions about accepting or rejecting waste streams and who have decided on recovery or disposal options details that link waste to relevant transfer notes details of any non-conformances and rejections, including consignment notes for waste rejected because it is hazardous | Yes we can comply
3.4.3 |  | The electronic (or equivalent) system must be able to report for each of LoW code: the total quantity of waste present on site at any one time a breakdown of the waste quantities you are storing pending on-site treatment or awaiting onward transfer where a batch of waste is located based on a site plan the quantity of waste on site compared with the limits in your management system and permit the length of time the waste has been on site compared with the limits in your management system and permit | Yes we can comply
3.4.4 |  | The electronic (or equivalent) system must also be able to report the total quantity of end-of-waste materials on site at any one time, and where that material is located based on the site plan. | Yes we can comply
3.4.5 |  | You must store back-up copies of records off site. These records must be readily accessible in an emergency. | Yes we can comply
3.4.6 |  | You must keep acceptance records for a minimum of 2 years after you have treated the waste or removed it off site. You may have to keep records for longer if they are required for other purposes, for example hazardous waste consignment notes. | Yes we can comply
4 | Waste store appropriate measures | These are appropriate measures for waste storage at a regulated facility permitted to store, treat or transfer (or both) non-hazardous and inert waste.
4.1 |  | You must have waste storage and handling procedures. You must store and handle waste in a way that makes sure you prevent and minimise pollution risks by using appropriate measures. | Yes we can comply
4.2 |  | You must store waste in locations that minimise the unnecessary handling of waste. | Yes we can comply
4.3 |  | Waste handling must be carried out by competent staff using appropriate equipment. You must use mechanical unloading technologies where it is possible, safe and practicable to do so. | Yes we can comply
4.4 |  | Where possible, you should locate storage areas away from watercourses and sensitive perimeters, for example those close to public rights of way, housing or schools. You must store all waste within the security protected area of your facility to prevent unauthorised access and vandalism. | Yes we can comply
4.5 |  | You must clearly document in your management system the maximum storage capacity of your facility and its designated storage areas. You must regularly monitor the quantity of stored waste against the allowed maximum capacities, and not exceed them. You must define capacity in terms of, for example: cubic metres or tonnage numbers of skips or other containers maximum tank or vessel capacities | Yes we can comply
4.6 |  | You should clearly mark all waste storage areas and provide signs indicating the type of waste stored there. | Yes we can comply
4.7 |  | You must not accumulate wastes. You must treat wastes or remove them from the site as soon as possible. You must prioritise the treatment or off-site transfer of waste based on: its type its age on arrival the date of arrival the duration of storage on site | Yes we can comply
4.8 |  | Except for inert waste, you must follow the first-in-first-out principle, unless you need to prioritise more recently received wastes because they pose a higher risk of pollution. | Yes we can comply
4.9 |  | You must minimise refuse derived fuel (RDF) and solid recovered fuel (SRF) storage durations. You must implement an auditable bale identification system so that you can remove bales in date order. | Yes we can comply
4.10. |  | You must securely wrap bales of RDF and SRF with high-density polyethylene (HDPE) membrane or equivalent. This is to prevent water entering, access by pests and odour release. You should inspect bales regularly and rewrap any that are damaged. If they are wrapped securely, you can store them outside (unless your permit forbids this). If you store bales outside, your fire prevention plan must manage the risks from solar heating during hot weather. | Yes we can comply |  | No treatment, current permit regulations followed
4.11 |  | You must thoroughly clean storage bays and containers on a regular basis to prevent the build-up of aging waste, which will be a source of odour and attract vermin. | Yes we can comply
4.12 |  | All waste containers must be fit for purpose, that is: in sound condition not corroded, if metal have well-fitting lids suitable for the contents with caps, valves and bungs in place and secure within the manufacturer’s designed lifespan, particularly for plastic containers | Yes we can comply
4.13 |  | You must inspect storage areas, containers and infrastructure regularly to make sure there is no loss of containment. You must deal with any issues immediately. You must keep written records of the inspections. You must clean up and log any spillages of waste. | Yes we can comply
4.1 | Segregation
4.1.1 |  | You should keep different types of waste segregated if contamination would inhibit the recovery of the waste. | Yes we can comply
4.1.2 |  | Where paper, plastic, metal or glass have been collected separately, they must not be mixed with other waste or material. This duty applies where you are required to keep wastes separate and to help with or improve waste recovery. | Yes we can comply
5 | Waste treatment appropriate measures | These are waste treatment appropriate measures for a regulated facility permitted to store, treat or transfer (or both) non-hazardous and inert waste. | Yes we can comply |  | No treatment, current permit regulations followed
6 | Emissions control appropriate measures | You must identify, characterise and control emissions from your activities that may cause pollution. | Yes we can comply
6.1 | Enclosure within building |  | Yes we can comply |  | No treatment, current permit regulations followed
6.2 | Point source emission to (channelled emission) |  | Yes we can comply |  | No treatment, current permit regulations followed
6.3 | Fugtitive emissions to air
6.3.1 |  | You must use appropriate measures to prevent and minimise fugitive emissions to air, including dust, mud and litter, odour and noise and vibration. | Yes we can comply
6.3.2 |  | You must use your waste pre-acceptance, waste acceptance and site inspection checks and procedures to identify and manage wastes that could cause, or are causing, fugitive emissions to air. When you identify any such wastes you must: take appropriate risk-assessed measures to prevent and control emissions prioritise their treatment or transfer Where necessary to prevent fugitive emissions to air from the storage or handling of wastes, you should use a combination of the following measures: use fully enclosed material transfer and storage systems and equipment outside buildings, for example conveyors, hoppers, containers, tanks and skips store and handle the waste within a suitably enclosed area (for example bays), a building or enclosed building keep doors closed except when access is required keep enclosed buildings and equipment under adequate negative pressure with an appropriate abated air circulation or extraction system, locating air extraction points close to potential emission sources use fast-acting or ‘airlock’ doors that default to closed | Yes we can comply
6.3.3 |  | You must have an appropriate, regular maintenance programme covering all buildings, plant and equipment. It must help prevent emissions or minimise them. Your maintenance programme must include: a leak detection and repair programme to promptly identify and mitigate any fugitive emissions of organic compounds from treatment plant and associated infrastructure (for example, pipework, conveyors or tanks) regular inspection and cleaning of all waste storage and treatment areas and equipment (including conveyor belts) to avoid large scale contamination activities preventing plant and equipment from corroding (for example, conveyors or pipes) – including selecting and using appropriate construction materials, and lining or coating equipment with corrosion inhibitors | Yes we can comply
6.3.4 |  | You should monitor and log weather conditions – temperature, wind speed and direction, and describe any precipitation (for example none, drizzle, heavy rain, snow). You can use this information to identify when dispersion conditions are poor (that is, periods of warm, calm weather with wind blowing towards sensitive receptors). You can also use it to inform decisions to implement additional short-term pollution control contingency measures. If you have a weather station you should position it carefully, for example not placing it in between buildings. There is guidance in the World Meteorological Organization’s Guide to Meteorological Instruments and Methods of Observation. | Yes we can comply
6.3.5 |  | Relying on dispersion and wind direction to minimise pollution at sensitive receptors must be a last resort and you must not use it instead of measures that prevent and reduce pollution at source. | Yes we can comply
6.3.6 | Other measures for dust, mud and litter | If your activities are likely to produce dust and particulates, mud or litter that could cause pollution at sensitive receptors, or if such pollution has been substantiated, you must implement and regularly review a dust, mud and litter management plan. You must do this following our guidance. Your dust, mud and litter management plan must explain how you will prevent and minimise emissions of dust, mud and litter from your facility. | Yes we can comply
6.3.7 |  | Measures such as litter fencing and micro-netting should be located as close as possible to areas where you load and unload light-weight loose waste, if this activity is done outdoors. You should not rely on fences and screens at the perimeter of your facility to stop litter escaping. | Yes we can comply
6.3.8 |  | Measures such as mist sprays should be located as close as possible to point source emissions of dust, for example at conveyors, trommels, shredders, and at building entrances – except where this would increase odour from biodegradable waste. If measures such as using hoses and road sweepers do not prevent mud escaping onto the public highway, you must take further measures and you must consider installing a high pressure wheel wash. Regardless of the measures you use, you must make sure that you minimise water consumption, and that contaminated water does not escape from your facility, unless you can lawfully discharge it. | Yes we can comply |  | No treatment, current permit regulations followed
6.3.9 | Other measures for odour | If your activities are likely to produce odour pollution at sensitive receptors, or such pollution has been substantiated, you must implement and regularly review an odour management plan following our guidance, which includes H4 Odour management. Your odour management plan must explain how you will prevent and minimise odorous emissions from your facility. | Yes we can comply
6.3.10 |  | You must reject waste that is highly odorous as part of your pre-acceptance and waste acceptance procedures. This is unless you can handle and treat these wastes within an enclosed building with appropriate odour control measures, including extraction via odour abatement. Otherwise, you should talk to the waste supplier to stop it happening again. You should avoid receiving aged waste, for example by refusing to accept waste from other transfer stations that do not have strict inventory controls and documented holding times. | Yes we can comply |  | No treatment, current permit regulations followed
6.3.11 |  | You must make sure that odorous waste arrives at and leaves your facility in covered or enclosed vehicles. Mesh covers are not adequate to control odour. You should minimise how long potentially odorous waste is kept at your facility, in particular under anaerobic conditions. Making smaller stockpiles increases natural aeration, reducing the risk of anaerobic biodegradation which can cause odour. | Yes we can comply |  | No treatment, current permit regulations followed
6.3.12 |  | You should wash empty vehicles before they leave your facility, to remove any residues which may be or become odorous. You must make sure the run-off from this process is contained and lawfully discharged. | Yes we can comply |  | No treatment, current permit regulations followed
6.3.13 |  | You should not allow contaminated liquids to pool for long periods of time, as they can be a source of odour. If you do not have a drainage system inside the building that can collect the leachate or dirty water, then you will need other appropriate measures. You should take action to avoid ponding or pooling. Industrial vacuum cleaners can be used to suck up liquids. You should clean any spillages immediately. | Yes we can comply
6.3.14 |  | You must cover odorous or potentially odorous waters or liquids or keep them in enclosed tanks or containers. | Yes we can comply
6.3.15 |  | Using masking agents (for example dry nano systems, ozone systems and ionisation systems) is a way of attempting to disguise an odour problem. If you understand and process wastes efficiently then you will not need to use masking agents. We do not consider this technology an appropriate measure. | Yes we can comply |  | No treatment, current permit regulations followed
6.3.16 | Other measures for noise and vibration | If your activities are likely to produce noise or vibration pollution at sensitive receptors, or such pollution has been substantiated, you must implement and regularly review a noise and vibration management plan. Follow our guidance H3 part 2 noise assessment and control. Your noise and vibration management plan must explain how you will prevent and minimise emissions of noise and vibration from your facility. | Yes we can comply
6.3.17 |  | For noise, your noise and vibration management plan must be informed by a noise impact assessment carried out following the methodology of BS 4142:2014+A1:2019 ‘Methods for rating and assessing industrial and commercial sound’. | Yes we can comply
6.3.18 |  | For vibration, your noise and vibration management plan must be informed by a vibration impact assessment carried out following the methodology of BS 6472-1:2008 ‘Guide to evaluation of human exposure to vibration in buildings. Vibration sources other than blasting’. | Yes we can comply
6.5 | Fugitive emissions to land and water
6.5.1 |  | You must use appropriate measures to control potential fugitive emissions and make sure that they do not cause pollution. See the guidance on emissions to water and leaks from containers. | Yes we can comply
6.5.2 |  | You must design appropriate surfacing and containment or drainage facilities for all operational areas, taking into account: collection capacities surface thicknesses strength and reinforcement falls materials of construction permeability resistance to chemical attack inspection and maintenance procedures relevant standards of construction end use, for example by tracked or wheeled vehicles or vehicle weight | Yes we can comply
6.5.3 |  | Your drainage infrastructure must: prevent incompatible wastes coming into contact with each other make sure that fire cannot spread | Yes we can comply
6.5.4 |  | You must store and treat all waste on an impermeable surface with contained drainage that meets CIRIA 736 or an equivalent approved standard. The impermeable surfaces must have sealed construction joints. These requirements do not apply in designated areas where the waste being stored or handled does not pose any significant risk of contaminating surface water or ground water. You must appropriately isolate these designated areas from other operational areas so that there cannot be any flows between them. This includes in the event of an accident, for example a fire. | Yes we can comply
6.5.5 |  | You must provide bunds for all tanks containing liquids (whether waste or otherwise) that could be harmful to the environment if spilled. Bunds must meet CIRIA 736 or an equivalent approved standard and: be impermeable, stable and resistant to the stored materials have no outlet (that is, no drains or taps) and drain to a blind collection point have pipework routed within bunded areas with no penetration of contained surfaces be designed to catch leaks from tanks or fittings have an appropriate capacity have regular visual inspections – any contents must be pumped out or otherwise removed under manual control after checking for contamination be fitted with a high level probe and an alarm (as appropriate) if not frequently inspected have tanker connection points within the bund (where possible), and if not possible you must provide adequate containment for spillages or leakage have programmed engineering inspections (extending to water testing if structural integrity is in doubt) be emptied of rainwater regularly to maintain the containment capacity
6.5.6 |  | All above-ground tanks containing liquids (whether waste or otherwise) that could be harmful to the environment if spilled must be kept on an impermeable surface with contained drainage that meets CIRIA 736 or an equivalent approved standard. You must fit the tanks with alarms and cut-out systems to detect and prevent leaks and spills.
6.5.7 |  | You must minimise using subsurface equipment and infrastructure, and decommission it where possible. For subsurface structures, you must: establish and record the routing of all site drains and subsurface pipework identify all subsurface sumps and storage vessels engineer systems to minimise leakages from pipes and make sure they can be detected quickly if they do occur provide secondary containment or leakage detection for subsurface pipework, sumps and storage vessels – vessels must be fitted with alarms and cut-out systems to detect and prevent spills when filling establish an inspection and maintenance programme for all subsurface structures, for example, pressure tests, leak tests, material thickness checks or CCTV | Yes we can comply |  | No treatment, current permit regulations followed
You must provide secondary containment that meets CIRIA 736, or an equivalent approved standard, for all drums and other mobile containers which: are greater than 200 litres in capacity and are kept outside contain liquids (waste or otherwise) that could be harmful to the environment if spilled
6.5.6 |  | All above-ground tanks containing liquids (whether waste or otherwise) that could be harmful to the environment if spilled must be kept on an impermeable surface with contained drainage that meets CIRIA 736 or an equivalent approved standard. You must fit the tanks with alarms and cut-out systems to detect and prevent leaks and spills. | Yes we can comply
6.5.7 |  | You must minimise using subsurface equipment and infrastructure, and decommission it where possible. For subsurface structures, you must: establish and record the routing of all site drains and subsurface pipework identify all subsurface sumps and storage vessels engineer systems to minimise leakages from pipes and make sure they can be detected quickly if they do occur provide secondary containment or leakage detection for subsurface pipework, sumps and storage vessels – vessels must be fitted with alarms and cut-out systems to detect and prevent spills when filling establish an inspection and maintenance programme for all subsurface structures, for example, pressure tests, leak tests, material thickness checks or CCTV | Yes we can comply |  | No treatment, current permit regulations followed
7 | Emissions monitoring and limits appropriate measures |  | Yes we can comply |  | No treatment, current permit regulations followed
8 | Process efficiency appropriate measures |  | Yes we can comply |  | Not an instillation
9 | Waste minimimisation, recovery and disposal
9.1 |  | You must have and implement a residues management plan that: minimises the generation of residues, that is solid waste arising from the treatment of waste optimises the reuse, regeneration, recycling or energy recovery of residues, including packaging makes sure you properly dispose of residues where recovery is technically or economically impractical | Yes we can comply
9.2 |  | Where you must dispose of waste, you must carry out a detailed assessment identifying the best environmental options for waste disposal. You must review on a regular basis options for recovering and disposing of waste produced at the facility. You must do this as part of your management system to make sure that you are still using the best environmental options and promoting the recovery of waste where technically and economically viable. | Yes we can comply