## Groundwater Policy
HS093 - Groundwater Contamination Policy - A1
PLIXXENT UK Ground Water Contamination Policy
Overview
PLIXXENT UK aim to eliminate groundwater contamination across the site.
It is company policy throughout the organisation to comply with environmental legislation and maintain our ISO 14001 Standard.
Key Points
- The site is located in an old quarry and is not within a Surface Water Protection Zone.
- The processes are not water based and mixing takes place in sealed vessels.
- The products are moisture sensitive and so water is kept out of the processes.
- All liquid storage (in drums and IBC’s) is within buildings on concrete hardstanding and no liquids (with the exception of very short-term goods in/out movements) are stored externally.
- Site security, bund inspection and spill kits are in place to reduce the likelihood and impact of pollution events from occurring.
- Every effort is made to protect the groundwater from hazardous materials and the input of non-hazardous materials are limited so as to not cause pollution.
- Surface water run off is protected against the entry of pollutants.
- Bund water is visually inspected before being released.
- All waste liquids are stored in bunded cabinets until formal disposal with a licenced Waste Disposal Contractor.
Measurement & Improvement
- All spills are investigated as incidents and cleaned up effectively
- Warehouse and storage spaces are laid out to allow easy inspection and assessment of the stocks with regard to spillage.
- Additional bunding will be added to provide further protection.
Summary
A risk based approach is taken to ensure that substances are not released into ground water.