## Risk Assessment
Site Name | Basildon |  |  |  | Review due | 2024-12-01
Short Code | BASIST
Completed by | Philip Seamons
Completed on | 2023-12-01
Signed off by
Signed off on | 2023-12-01
|  | Initial |  |  |  | Residual |  |  |  |  | Higher than acceptable Residual
Description of risk | Impact of risk | Likelihood | Severity | Score | Mitigation | Likelihood | Severity | Score | Sufficient | Comments | Agreed by | Agreed On
Escape of fuel from stationary fuel tank (bowser or diesel tank) | Pollution to water course / ground | 4 | 5 | 20 | Both fuel tanks and transformer are bunded and removed from heavy traffic movements | 1 | 5 | 5 | Yes | Spill Kits availabel from boiler house
Spillage of fuel from vehicles on site | Pollution to water course / ground | 3 | 5 | 15 | Main thoroughfares are well manintaine. Construction traffic will manke good any damage. All vehciles are maintained. | 1 | 5 | 5 | Yes | Spill kits available from boiler house
Escape of gas from gas bag | Odour and pollution to air | 4 | 5 | 20 | Gas monitoring takes place in the outer bag of the double gas bag. Gas Plan for the site available | 1 | 5 | 5 | Yes | n/a
Wind blown litter on site | Spread of polltion from AW site to external sites | 5 | 3 | 15 | Good housekeeping on site / site ownership by users Bins available where people congregate | 1 | 3 | 3 | Yes
Inadequate waste storage | Overspilling waste to the environment | 3 | 3 | 9 | Waste carriers prodominately deliver a scheduled service with ad hoc collections arranged on a need basis | 1 | 3 | 3 | Yes | n/a
Incorrect disposal of waste | Use of non-registered companies | 4 | 4 | 16 | Waste carrier is arranged through the RES BIFFA contract and therefore the DoC checks are made by RES | 1 | 4 | 4 | Yes
Contamination of segregated wastes | Increased costs and risk of prosecution | 5 | 3 | 15 | Both signage and CCTV are used to ensure that the personnel on site are not only aware of the containers they should be using but that site management can monitor usage. | 1 | 3 | 3 | Yes | n/a
Threshold of imports exceeded | Risk of prosecution through non-conformance with permit/exemption conditions | 4 | 3 | 12 | RES sludge modlelling controls the imports levels in conjunction with the Wastewater information on a yearly basis - forming the sludge strategy | 1 | 3 | 3 | Yes
Quarterly waste returns are not made on time | Risk of prosecution through non-conformance with permit/exemption conditions | 4 | 3 | 12 | Data collected by RES. Reminders sent to complete Quarterly returns. | 1 | 3 | 3 | Yes | n/a
Annual CHP report not made on time | Risk of prosecution through non-conformance with permit/exemption conditions | 4 | 3 | 12 | Managed and sent to the EA by the CHP team | 1 | 3 | 3 | Yes | n/a
Emissions reports not made on time | Risk of prosecution through non-conformance with permit/exemption conditions | 4 | 3 | 12 | Managed and sent to the EA by the CHP team | 1 | 3 | 3 | Yes | n/a
Official notification of environmental incident not made on time (Specifically CHP) | Risk of prosecution through non-conformance with permit/exemption conditions | 4 | 3 | 12 | Aware of permit requirment | 1 | 3 | 3 | Yes
Odour from STW | Complaints from neighbours | 5 | 3 | 15 | Odour management plan | 1 | 3 | 3 | Yes | n/a
Odour from STC | Complaints from neighbours & regualtors | 5 | 3 | 15 | Odour management plan | 1 | 3 | 3 | Yes | n/a
Odour from CHP | Complaints from neighbours & regualtors | 5 | 3 | 15 | Odour management plan | 1 | 3 | 3 | Yes | n/a
Vehicles accessing areas not intended for access | Damage to biodiversity | 4 | 3 | 12 | Controlled access to site via fobs. clear thoroughfares, signed. Only off road traffic for specific purposes under controlled circumstances | 1 | 3 | 3 | Yes | n/a
Vehicles accessing areas not intended for access | Damage to structures including drainage | 4 | 3 | 12 | Controlled access to site via fobs. clear thoroughfares, signed. Only off road traffic for specific purposes under controlled circumstances | 1 | 3 | 3 | Yes | n/a
Escape of liquids from site through drainage to the environment | Pollution to water course / ground and risk of prosecution and non-compliance with permits | 4 | 5 | 20 | Site was originally designed with sealed drainage | 1 | 5 | 5 | Yes
Day-to-day operations on site (for example driving across site, digging holes/trenches, storing equipment). | Disturbance to protected species and/or damage to habitats causing a prosecutable offence and/or not fulfilling our legislative 'duty'. | 4 | 4 | 16 | Operational staff to refer to Biodiversity: Guidance for Operations and implementation of site specific conservation management plans as they are produced. Contact Biodiversity Team for any other queries. CDM to be completed before works takes place | 2 | 1 | 2 | Yes | n/a
Development and refurbishment works (including pipelaying). | Damage/destruction of habitats (including stautorily designated sites) and/or heritage and archaeology causing a prosecutable offence and/or not fulfilling our legislative 'duty'. | 5 | 5 | 25 | All refurbishment/development works to be referred to Environmental Assessor for screening prior to commencement. CDM to be completed before all works takes place | 5 | 1 | 5 | Yes | n/a
Escape of chemicals from storage areas | Pollution to water course / ground | 4 | 5 | 20 | All liquids are bunded and maintained to allow for 110% capacity Storage away from heavy vehicle movements Most storage is within buidlings | 1 | 5 | 5 | Yes | n/a

## Background data
Likelihood |  | Severity |  | Review period | 1 | years
1 | Little to no chance | 1 | Negligible impact |  |  | Likelihood
2 |  | 2 |  |  |  | 1 | 2 | 3 | 4 | 5
3 |  | 3 |  | Severity | 1 | 1 | 2 | 3 | 4 | 5
4 |  | 4 |  |  | 2 | 2 | 4 | 6 | 8 | 10
5 | Certain to happen | 5 | Severe impact |  | 3 | 3 | 6 | 9 | 12 | 15
[5 empty] | 4 | 4 | 8 | 12 | 16 | 20
[5 empty] | 5 | 5 | 10 | 15 | 20 | 25