## Cover Sheet
Approval and Sign Off:
| Prepared By: | Dr Richard Mitchener Site Environmental Engineering Lead |  | See EDRMS
| Reviewed By: | Jessica Harris Environmental Compliance Specialist |  | See EDRMS
Construction Water Discharge Activity Permit Variation 011 CWDA Permit variation Cd, Cr, DIN – data_Cefas Rev0.01 | Approved By: | James Holbrook Environmental Compliance Manager |  | See EDRMS
| Revision | Amendment | By | Date
| 1 | New Document | James Holbrook | See EDRMS

## EA Screening tests
Flow rate (L/s) | 46.7
Flow rate (M3/s) | 0.0467
Contaminant | Assessed discharged concentration µg l-1 | Saltwater AA EQS (µg l-1) | Saltwater MAC EQS (µg l-1) | Background concentration (µg l-1) | EVF Case C | EVF< 3.0 Pass/Fail
DIN | 15000 | 2520 |  | 1050 | 0.47653 | Pass
Total cadmium | 3 | 0.2 | - | 0 | 0.7005 | Pass
Total chromium | 144 | 0.6 | 32 | 0.02 | 0.21028 | Pass
Notes: The assessment is for maximum permit concentrations not averages, and therefore the MAC has been applied where available. The AA EQS has been used where no MAC is specified. The average effluent data on the next tab shows that the average levels of these metals are substantially below the maximum and therefore application of an AA is highly precautionary. Details of the background concentrations can be found in BEEMS Technical Report TR428.
Annual load
Substance | Annual limit (kg) | Assessed discharged concentration µg l-1 | Discharge in kg/year | Test result/limit >1? | Result
Cadmium | 5 | 3 | 4.4182 | 0.88364 | Pass
Notes: This is based on the maximum level being discharged at all times, which is not realistic (see 'effluent data' tab), and therefore offers a highly precautionary annual load screening test.

## Effluent data
Date Sampled | Turnbull Sample ID | Category for filtering | Sub-Category for filtering | Dissolved Inorganic Nitrogen (Kone Calc) | Cadmium (Total) | Chromium (Total)
|  |  |  | mg/L | µg/L | µg/L
highlighted cells below deteciton - presented as face value
2020-01-30 | COMA_1555 | Outlet 12-GW | Outlet 12 | 2.4 | 0.02 | 0.5
2020-02-06 | COMA_1584 | Outlet 12-GW (Weekly) | Outlet 12
2020-02-13 | COMA_1610 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 2.2
2020-02-13 | COMA_1611 | Outlet 12-GW (Weekly) | Outlet 12
2020-02-13 | COMA_1613 | Outlet 12-TE (Weekly) | Outlet 12
2020-02-13 | COMA_1614 | Outlet 12-TE (Monthly) | Outlet 12 | 1.4 | 0.02 | 15.3
2020-02-20 | COMA_1638 | Outlet 12-GW (Weekly) | Outlet 12
2020-02-27 | COMA_1664 | Outlet 12-GW (Weekly) | Outlet 12
2020-02-27 | COMA_1665 | Outlet 12-TE (Weekly) | Outlet 12
2020-02-27 | COMA_1666 | Outlet 12-TE (Weekly) | Outlet 12
2020-03-05 | COMA_1686 | Outlet 12-GW (Weekly) | Outlet 12
2020-03-05 | COMA_1687 | Outlet 12-TE (Weekly) | Outlet 12
2020-03-05 | COMA_1687 Re-test | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.02 | 0.2
2020-03-12 | COMA_1706 | Outlet 12-GW (Monthly) | Outlet 12 | 0.7 | 0.02 | 0.3
2020-03-12 | COMA_1707 | Outlet 12-GW (SWEL) | Outlet 12
2020-03-19 | COMA_1736 | Outlet 12-GW (Weekly) | Outlet 12
2020-03-26 | COMA_1759 | Outlet 12-GW (weekly) | Outlet 12
2020-04-02 | COMA_1780 | Outlet 12-GW (Weekly) | Outlet 12
2020-04-09 | COMA_1798 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.02 | 0.2
2020-04-16 | COMA_1822 | Outlet 12-GW (Weekly) | Outlet 12
2020-04-23 | COMA_1846 | Outlet 12-GW (WEEKLY) | Outlet 12 | 0.6
2020-04-30 | COMA_1866 | Outlet 12-GW (WEEKLY) | Outlet 12
2020-05-07 | COMA_1897 | Outlet 12-GW (Weekly) | Outlet 12
2020-05-14 | COMA_1913 | Outlet 12-GW (Weekly) | Outlet 12
2020-05-14 | COMA_1913 | Outlet 12-GW (Monthly) | Outlet 12 | 0.7 | 0.02 | 0.2
2020-05-14 | COMA_1914 | Outlet 12-TE (Weekly) | Outlet 12
2020-05-14 | COMA_1914 | Outlet 12-TE (Monthly) | Outlet 12 | 2 | 0.02 | 3.5
2020-05-21 | COMA_1932 | Outlet 12-GW (Weekly) | Outlet 12
2020-05-21 | COMA_1933 | Outlet 12-TE (Weekly) | Outlet 12
2020-05-28 | COMA_1956 | Outlet 12-GW (Weekly) | Outlet 12
2020-06-04 | COMA_1978 | Outlet 12-GW (Weekly) | Outlet 12
2020-06-11 | COMA_1999 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 0.2
2020-06-11 | COMA_2000 | Outlet 12-GW (SWEL) | Outlet 12 |  | 0.02 | 0.2
2020-06-18 | COMA_2029 | Outlet 12-GW (Weekly) | Outlet 12
2020-06-18 | COMA_2034 | Outlet 12-TE (Monthly) | Outlet 12 | 1.6 | 0.08 | 5.6
2020-06-18 | COMA_2035 | Outlet 12-TE (SWEL) | Outlet 12 |  | 0.08 | 5.5
2020-07-02 | COMA_2078 | Outlet 12-GW (Weekly) | Outlet 12
2020-07-09 | COMA_2100 | Outlet 12-GW (Monthly) | Outlet 12 | 0.4 | 0.02 | 0.2
2020-07-09 | COMA_2101 | Outlet 12-TE (Monthly) | Outlet 12 | 1.2 | 0.03 | 5.2
2020-07-16 | COMA_2126 | Outlet 12-GW (Weekly) | Outlet 12
2020-07-16 | COMA_2127 | Outlet 12-TE (Monthly) | Outlet 12 | 2.1 | 0.04 | 2.1
2020-07-23 | COMA_2152 | Outlet 12-GW (Weekly) | Outlet 12
2020-07-24 | COMA_2157 | Outlet 12-TE (Monthly) | Outlet 12 | 1 | 0.02 | 7.8
2020-07-30 | COMA_2173 | Outlet 12-GW (Weekly) | Outlet 12
2020-07-30 | COMA_2174 | Outlet 12-TE (Monthly) | Outlet 12 | 1.8 | 0.02 | 3.8
2020-08-06 | COMA_2191 | Outlet 12-GW (Weekly) | Outlet 12
2020-08-07 | COMA_2192 | Outlet 12-TE (Monthly) | Outlet 12 | 0.6 | 0.02 | 1
2020-08-07 | COMA_2198 | Miscellaneous | Outlet 12 |  | 0.02 | 7.2
2020-08-10 | COMA_2206 | Miscellaneous | Outlet 12 | 3.2 | 0.21 | 7.6
2020-08-13 | COMA_2211 | Outlet 12-GW (Monthly) | Outlet 12 | 1.7 | 0.02 | 0.2
2020-08-13 | COMA_2213 | Outlet 12-TE (Monthly) | Outlet 12 | 1.2 | 0.02 | 0.2
2020-08-20 | COMA_2236 | Outlet 12-TE (Monthly) | Outlet 12 | 2.1 | 0.02 | 0.4
2020-08-27 | COMA_2257 | Outlet 12-GW (Weekly) | Outlet 12
2020-08-27 | COMA_2257 | Outlet 12-GW (Weekly) | Outlet 12
2020-08-27 | COMA_2260 | Outlet 12-TE (Monthly) | Outlet 12 | 3 | 0.02 | 0.4
2020-08-28 | COMA_2266 | Outlet 12-GW (Weekly) | Outlet 12
2020-09-03 | COMA_2279 | Outlet 12-GW (Weekly) | Outlet 12
2020-09-07 | COMA_2289 | Outlet 12-TE (Monthly) | Outlet 12 | 1.7 | 0.02 | 1.6
2020-09-10 | COMA_2293 | Outlet 12-GW (Monthly) | Outlet 12 | 0.7 | 0.03 | 3.3
2020-09-10 | COMA_2294 | Outlet 12-GW (SWEL) | Outlet 12
2020-09-11 | COMA_2305 | Outlet 12-TE (Monthly) | Outlet 12 | 2 | 0.14 | 8.6
2020-09-11 | COMA_2306 | Outlet 12-TE (SWEL) | Outlet 12
2020-09-17 | COMA_2318 | Outlet 12-GW (Weekly) | Outlet 12
2020-09-22 | COMA_2319 | Outlet 12-TE (Monthly) | Outlet 12 | 1.6 | 0.08 | 2.6
2020-09-24 | COMA_2357 | Outlet 12-GW (Weekly) | Outlet 12
2020-10-01 | COMA_2376 | Outlet 12-GW (Weekly) | Outlet 12
2020-10-01 | COMA_2377 | Outlet 12-TE (Monthly) | Outlet 12 | 1.9 | 0.04 | 9.3
2020-10-08 | COMA_2397 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.12 | 3.6
2020-10-15 | COMA_2424 | Outlet 12-GW (Weekly) | Outlet 12
2020-10-22 | COMA_2448 | Outlet 12-GW (Weekly) | Outlet 12
2020-10-22 | COMA_2449 | Outlet 12-TE (Weekly) | Outlet 12
2020-10-29 | COMA_2468 | Outlet 12-GW (Weekly) | Outlet 12
2020-10-29 | COMA_2469 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.1 | 4.5
2020-11-05 | COMA_2492 | Outlet 12-GW (Weekly) | Outlet 12
2020-11-05 | COMA_2493 | Outlet 12-TE (Weekly) | Outlet 12
2020-11-12 | COMA_2511 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.03 | 4.2
2020-11-12 | COMA_2513 | Outlet 12-TE (Monthly) | Outlet 12 | 1.1 | 0.03 | 3.5
2020-11-17 | COMA_2527 | Outlet 12-GW (SWEL) | Outlet 12 |  | 0.5 | 3
2020-11-17 | COMA_2528 | Outlet 12-GW (Weekly) | Outlet 12
2020-11-17 | COMA_2529 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.5 | 3.17
2020-11-17 | COMA_2530 | Outlet 12-TE (SWEL) | Outlet 12 |  | 0.5 | 3.77
2020-11-24 | COMA_2552 | Outlet 12-GW (SWEL) | Outlet 12
2020-11-24 | COMA_2553 | Outlet 12-GW (Weekly) | Outlet 12
2020-12-01 | COMA_2575 | Outlet 12-GW (Monthly) | Outlet 12 | 0.9 | 0.5 | 3
2020-12-01 | COMA_2577 | Outlet 12-TE (Monthly) | Outlet 12 | 4.4 | 0.5 | 3
2020-12-01 | COMA_2578 | Outlet 12-TE (SWEL) | Outlet 12 |  | 0.5 | 3
2020-12-08 | COMA_2604 | Outlet 12-GW (Weekly) | Outlet 12
2020-12-08 | COMA_2611 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.03 | 3.7
2020-12-10 | COMA_2618 | Outlet 12-GW (Weekly) | Outlet 12
2020-12-15 | COMA_2633 | Outlet 12-GW (Weekly) | Outlet 12
2020-12-15 | COMA_2634 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.07 | 4.4
2020-12-15 | COMA_2635 | Outlet 12-TE (SWEL) | Outlet 12 |  | 0.14 | 9.4
2020-12-22 | COMA_2652 | Outlet 12-GW (Weekly) | Outlet 12
2020-12-22 | COMA_2653 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.04 | 1.1
2020-12-22 | COMA_2654 | Outlet 12-TE (SWEL) | Outlet 12 |  | 0.04 | 1.3
2020-12-29 | COMA_2665 | Outlet 12-GW (Weekly) | Outlet 12
2020-12-30 | COMA_2676 | Outlet 12-TE (Weekly) | Outlet 12
2021-01-05 | COMA_2691 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.03 | 2.3
2021-01-05 | COMA_2692 | Outlet 12-GW (SWEL) | Outlet 12 |  | 0.04 | 2.2
2021-01-12 | COMA_2714 | Outlet 12-GW (Weekly) | Outlet 12
2021-01-19 | COMA_2732 | Outlet 12-GW (Weekly) | Outlet 12
2021-01-21 | COMA_2750 | Outlet 12-TE (Monthly) | Outlet 12 | 1.4 | 0.05 | 1.7
2021-01-21 | COMA_2751 | Outlet 12-TE (SWEL) | Outlet 12
2021-01-26 | COMA_2760 | Outlet 12-GW (Weekly) | Outlet 12
2021-01-26 | COMA_2761 | Outlet 12-TE (Weekly) | Outlet 12
2021-02-02 | COMA_2781 | Outlet 12-GW (Monthly) | Outlet 12 | 0.4 | 0.07 | 2.3
2021-02-09 | COMA_2800 | Outlet 12-GW (Weekly) | Outlet 12
2021-02-16 | COMA_2823 | Outlet 12-GW (Weekly) | Outlet 12
2021-02-16 | COMA_2824 | Outlet 12-TE (Monthly) | Outlet 12 | 2.6 | 0.09 | 69.4
2021-02-22 | COMA_2839 | Outlet 12-TE (Weekly) | Outlet 12
2021-02-23 | COMA_2841 | Outlet 12-GW (Monthly) | Outlet 12
2021-03-02 | COMA_2860 | Outlet 12-GW (Monthly) | Outlet 12 | 1.3 | 0.02 | 1.1
2021-03-03 | COMA_2862 | Outlet 12-TE (Monthly) | Outlet 12 | 2.8 | 0.02 | 0.2
2021-03-03 | COMA_2862 | Outlet 12-TE (Monthly) | Outlet 12
2021-03-09 | COMA_2891 | Outlet 12-GW (Weekly) | Outlet 12
2021-03-09 | COMA_2892 | Outlet 12-TE (Weekly) | Outlet 12 |  |  | 1
2021-03-16 | COMA_2908 | Outlet 12-TE (Weekly) | Outlet 12 |  |  | 1
2021-03-16 | COMA_2909 | Outlet 12-GW (Weekly) | Outlet 12
2021-03-23 | COMA_2932 | Outlet 12-GW (Weekly) | Outlet 12
2021-03-24 | COMA_2934 | Outlet 12-TE (Weekly) | Outlet 12 |  |  | 2.6
2021-03-29 | COMA_2950 | Outlet 12-TE (Weekly) | Outlet 12 |  |  | 6.2
2021-03-30 | COMA_2953 | Outlet 12-GW (Weekly) | Outlet 12
2021-04-06 | COMA_2967 | Outlet 12-GW (Monthly) | Outlet 12 | 1 | 0.05 | 1.7
2021-04-06 | COMA_2968 | Outlet 12-GW (SWEL) | Outlet 12
2021-04-06 | COMA_2970 | Outlet 12-TE (Monthly) | Outlet 12 | 2.4 | 0.08 | 65.7
2021-04-06 | COMA_2971 | Outlet 12-TE (SWEL) | Outlet 12
2021-04-13 | COMA_3002 | Outlet 12-GW (Weekly) | Outlet 12
2021-04-20 | COMA_3014 | Outlet 12-GW (Weekly) | Outlet 12
2021-04-27 | COMA_3030 | Outlet 12-GW (Weekly) | Outlet 12
2021-05-04 | COMA_3048 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.02 | 1.3
2021-05-11 | COMA_3073 | Outlet 12-GW (Weekly) | Outlet 12
2021-05-11 | COMA_3074 | Outlet 12-TE (Monthly) | Outlet 12 | 2.4 | 0.12 | 33.8
2021-05-18 | COMA_3086 | Outlet 12-GW (Weekly) | Outlet 12
2021-05-18 | COMA_3087 | Outlet 12-TE (Weekly) | Outlet 12 |  |  | 0.5
2021-05-25 | COMA_3107 | Outlet 12-GW (Weekly) | Outlet 12
2021-05-25 | COMA_3114 | Outlet 12-TE (Weekly) | Outlet 12 |  |  | 2.5
2021-06-01 | COMA_3122 | Outlet 12-GW (Monthly) | Outlet 12 | 0.8 | 0.03 | 2.3
2021-06-01 | COMA_3128 | Outlet 12-TE (Monthly) | Outlet 12 | 2.1 | 1.4 | 6.4
2021-06-01 | COMA_3128 | Outlet 12-TE (Monthly) | Outlet 12 |  | 1.6
2021-06-08 | COMA_3144 | Outlet 12-GW (Weekly) | Outlet 12
2021-06-09 | COMA_3154 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.11
2021-06-15 | COMA_3160 | Outlet 12-GW (Weekly) | Outlet 12 | 14 | 0.02 | 1.6
2021-06-15 | COMA_3160 | Outlet 12-GW (Weekly) | Outlet 12 | 2.6
2021-06-15 | COMA_3160 | Outlet 12-GW (Weekly) | Outlet 12 | 0.9
2021-06-15 | COMA_3161 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.4
2021-06-22 | COMA_3184 | Outlet 12-GW (Weekly) | Outlet 12
2021-06-22 | COMA_3189 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.02 | 3.1
2021-06-24 | COMA_3198 | Miscellaneous | Outlet 12 | 4.8 | 0.02 | 1.8
2021-06-29 | COMA_3206 | Outlet 12-GW (Weekly) | Outlet 12 | 0.8
2021-06-29 | COMA_3207 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.07
2021-07-06 | COMA_3221 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.3 | 2.4
2021-07-06 | COMA_3222 | Outlet 12-GW (Swel) | Outlet 12
2021-07-06 | COMA_3224 | Outlet 12-TE (Monthly) | Outlet 12 | 1.3 | 0.04 | 1.8
2021-07-06 | COMA_3224 | Outlet 12-TE (Monthly) | Outlet 12
2021-07-06 | COMA_3224 | Outlet 12-TE (Monthly) | Outlet 12
2021-07-06 | COMA_3224 | Outlet 12-TE (Monthly) | Outlet 12
2021-07-06 | COMA_3225 | Outlet 12-TE (Swel) | Outlet 12
2021-07-08 | COMA_3241 | Outlet 12-GW (Monthly) | Outlet 12 | 0.7 | 0.03 | 2.9
2021-07-13 | COMA_3251 | Outlet 12-GW (Weekly) | Outlet 12 | 0.5
2021-07-13 | COMA_3252 | Outlet 12-TE (Weekly) | Outlet 12
2021-07-20 | COMA_3266 | Outlet 12-GW (Weekly) | Outlet 12 | 0.5
2021-07-20 | COMA_3267 | Outlet 12-TE (Weekly) | Outlet 12
2021-07-27 | COMA_3292 | Outlet 12-GW (Weekly) | Outlet 12
2021-08-03 | COMA_3307 | Outlet 12-GW (Monthly) | Outlet 12 | 1.4 | 0.02 | 1.9
2021-08-10 | COMA_3336 | Outlet 12-GW (Weekly) | Outlet 12
2021-08-17 | COMA_3351 | Outlet 12-GW (Weekly) | Outlet 12
2021-08-19 | COMA_3374 | Outlet 12-TE (Monthly) | Outlet 12 | 1.1 | 0.02 | 0.6
2021-08-24 | COMA_3381 | Outlet 12-GW (Weekly) | Outlet 12
2021-08-24 | COMA_3382 | Outlet 12-TE (Weekly) | Outlet 12
2021-08-31 | COMA_3394 | Outlet 12-GW (Weekly) | Outlet 12
2021-09-01 | COMA_3400 | Outlet 12-TE (Weekly) | Outlet 12
2021-09-07 | COMA_3416 | Outlet 12-GW (Monthly) | Outlet 12 | 0.4 | 0.02 | 2.5
2021-09-07 | COMA_3418 | Outlet 12-TE (Monthly) | Outlet 12 | 0.6 | 0.06 | 3
2021-09-14 | COMA_3431 | Outlet 12-GW (Weekly) | Outlet 12 | 0.5 | 0.02 | 2.4
2021-09-21 | COMA_3452 | Outlet 12-GW (Weekly) | Outlet 12
2021-09-21 | COMA_3453 | Outlet 12-TE (Weekly) | Outlet 12
2021-09-28 | COMA_3476 | Outlet 12-GW (Weekly) | Outlet 12
2021-09-28 | COMA_3477 | Outlet 12-TE (Weekly) | Outlet 12
2021-10-05 | COMA_3493 | Outlet 12-GW (Monthly) | Outlet 12 | 1.5 | 0.03 | 2.7
2021-10-05 | COMA_3494 | Outlet 12-GW (SWEL) | Outlet 12
2021-10-05 | COMA_3496 | Outlet 12-TE (Monthly) | Outlet 12 | 1 | 0.02 | 1.6
2021-10-05 | COMA_3497 | Outlet 12-TE (SWEL) | Outlet 12
2021-10-12 | COMA_3515 | Outlet 12-GW (Weekly) | Outlet 12
2021-10-19 | COMA_3535 | Outlet 12-GW (Weekly) | Outlet 12
2021-10-21 | COMA_3550 | Outlet 12-TE (Weekly) | Outlet 12
2021-10-26 | COMA_3558 | Outlet 12-GW (Weekly) | Outlet 12
2021-10-26 | COMA_3559 | Outlet 12-TE (Weekly) | Outlet 12
2021-11-02 | COMA_3574 | Outlet 12-GW (Monthly) | Outlet 12 | 0.7 | 0.04 | 2.1
2021-11-02 | COMA_3576 | Outlet 12-TE (Monthly) | Outlet 12 | 1.4 | 0.06 | 2.4
2021-11-02 | TB_0002 | Outlet 12-GW (Monthly) | Outlet 12 | 0.7 | 0.02 | 3
2021-11-02 | TB_0004 | Outlet 12-TE (Monthly) | Outlet 12 | 1.2 | 0.03 | 1
2021-11-09 | COMA_3595 | Outlet 12-GW (Weekly) | Outlet 12
2021-11-09 | COMA_3596 | Outlet 12-TE (Weekly) | Outlet 12
2021-11-09 | TB_0022 | Outlet 12-GW (Weekly) | Outlet 12
2021-11-09 | TB_0023 | Outlet 12-TE (Weekly) | Outlet 12
2021-11-16 | COMA_3619 | Outlet 12-GW (Weekly) | Outlet 12
2021-11-16 | TB_0046 | Outlet 12-GW (Weekly) | Outlet 12
2021-11-24 | TB_0065 | Outlet 12-GW (Weekly) | Outlet 12
2021-11-30 | TB_0077 | Outlet 12-GW (Weekly) | Outlet 12
2021-11-30 | TB_0078 | Outlet 12-TE (Weekly) | Outlet 12
2021-12-07 | TB_0094 | Outlet 12-GW (Monthly) | Outlet 12 | 0.8 | 0.02 | 1
2021-12-08 | TB_0096 | Outlet 12-TE (Monthly) | Outlet 12 | 1.8 | 0.02 | 1
2021-12-14 | TB_0118 | Outlet 12-GW (Weekly) | Outlet 12
2021-12-14 | TB_0119 | Outlet 12-TE (Weekly) | Outlet 12
2021-12-21 | TB_0153 | Outlet 12-GW (Weekly) | Outlet 12
2021-12-29 | TB_0169 | Outlet 12-GW (Weekly) | Outlet 12
2022-01-04 | TB_0171 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.02 | 1
2022-01-04 | TB_0172 | Outlet 12-GW (SWEL) | Outlet 12
2022-01-04 | TB_0174 | Outlet 12-TE (Monthly) | Outlet 12 | 2.4 | 0.03 | 1
2022-01-04 | TB_0175 | Outlet 12-TE (SWEL) | Outlet 12
2022-01-11 | TB_0207 | Outlet 12-GW (Weekly) | Outlet 12
2022-01-11 | TB_0208 | Outlet 12-TE (Weekly) | Outlet 12
2022-01-18 | TB_0219 | Outlet 12-GW (Weekly) | Outlet 12
2022-01-18 | TB_0220 | Outlet 12-TE (Weekly) | Outlet 12
2022-01-25 | TB_0241 | Outlet 12-GW (Weekly) | Outlet 12
2022-01-25 | TB_0242 | Outlet 12-TE (Weekly) | Outlet 12
2022-02-01 07:40 | TB_0253 | Outlet 12-GW (Monthly) | Outlet 12 | 0.4 | 0.02 | 1
2022-02-03 | TB_0255 | Outlet 12-TE (Monthly) | Outlet 12 | 2.5 | 0.05 | 2
2022-02-08 | TB_0276 | Outlet 12-GW (Weekly) | Outlet 12
2022-02-15 | TB_0292 | Outlet 12-GW (Weekly) | Outlet 12
2022-02-15 | TB_0293 | Outlet 12-TE (Weekly) | Outlet 12
2022-02-22 | TB_0313 | Outlet 12-GW (Weekly) | Outlet 12
2022-02-22 | TB_0314 | Outlet 12-TE (Weekly) | Outlet 12
2022-03-01 07:30 | TB_0330 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.05 | 1
2022-03-08 | TB_0351 | Outlet 12-GW (Weekly) | Outlet 12
2022-03-09 | TB_0353 | Outlet 12-TE (Weekly) | Outlet 12
2022-03-09 | TB_0354 | Outlet 12-TE (Monthly) | Outlet 12 | 2.3 | 0.03 | 2
2022-03-15 | TB_0367 | Outlet 12-GW (Weekly) | Outlet 12
2022-03-15 | TB_0368 | Outlet 12-TE (Weekly) | Outlet 12
2022-03-22 | TB_0387 | Outlet 12-GW (Weekly) | Outlet 12
2022-03-24 | TB_0391 | Outlet 12-TE (Weekly) | Outlet 12
2022-03-29 | TB_0398 | Outlet 12-GW (Weekly) | Outlet 12
2022-03-29 | TB_0399 | Outlet 12-TE (Weekly) | Outlet 12
2022-04-04 | TB_0417 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.03 | 1
2022-04-04 | TB_0418 | Outlet 12-GW (SWEL) | Outlet 12
2022-04-07 | TB_0420 | Outlet 12-TE (Monthly) | Outlet 12 | 0.89 | 0.02 | 4
2022-04-07 | TB_0421 | Outlet 12-TE (SWEL) | Outlet 12
2022-04-12 | TB_0435 | Outlet 12-GW (Weekly) | Outlet 12
2022-04-12 | TB_0436 | Outlet 12-TE (Weekly) | Outlet 12
2022-04-19 | TB_0449 | Outlet 12-GW (Weekly) | Outlet 12
2022-04-21 | TB_0450 | Outlet 12-TE (Weekly) | Outlet 12
2022-04-26 | TB_0471 | Outlet 12-GW (Weekly) | Outlet 12
2022-05-03 | TB_0482 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 1
2022-05-10 | TB_0504 | Outlet 12-GW (Weekly) | Outlet 12
2022-05-11 | TB_0484 | Outlet 12-TE (Monthly) | Outlet 12 | 5.7 | 0.03 | 1
2022-05-11 | TB_0484 | Outlet 12-TE (Monthly) | Outlet 12 | 5.7 | 0.03 | 1
2022-05-11 | TB_0484 | Outlet 12-TE (Monthly) | Outlet 12 | 5.7 | 0.03 | 1
2022-05-17 | TB_0519 | Outlet 12-GW (Weekly) | Outlet 12
2022-05-17 | TB_0520 | Outlet 12-TE (Weekly) | Outlet 12
2022-05-24 | TB_0538 | Outlet 12-GW (Weekly) | Outlet 12
2022-05-31 | TB_0555 | Outlet 12-GW (Weekly) | Outlet 12
2022-06-01 | TB_0559 | Outlet 12-TE (Weekly) | Outlet 12
2022-06-07 | TB_0565 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.03 | 1
2022-06-08 | TB_0567 | Outlet 12-TE (Monthly) | Outlet 12 | 1 | 0.02 | 1
2022-06-08 | TB_0567 | Outlet 12-TE (Monthly) | Outlet 12 | 1 | 0.02 | 1
2022-06-14 | TB_0590 | Outlet 12-GW (Weekly) | Outlet 12
2022-06-14 | TB_0595 | Outlet 12-TE (Weekly) | Outlet 12
2022-06-21 | TB_0602 | Outlet 12-GW (Weekly) | Outlet 12
2022-06-23 | TB_0603 | Outlet 12-TE (Weekly) | Outlet 12
2022-06-23 | TB_0603 | Outlet 12-TE (Weekly) | Outlet 12
2022-06-28 | TB_0629 | Outlet 12-GW (Weekly) | Outlet 12
2022-06-28 | TB_0630 | Outlet 12-TE (Weekly) | Outlet 12
2022-07-05 | TB_0644 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 1
2022-07-05 | TB_0645 | Outlet 12-GW (SWEL) | Outlet 12 |  | 0.02 | 1
2022-07-05 | TB_0647 | Outlet 12-TE (Monthly) | Outlet 12 | 2.8 | 0.02 | 1
2022-07-05 | TB_0648 | Outlet 12-TE (SWEL) | Outlet 12 |  | 0.02 | 1
2022-07-12 | TB_0670 | Outlet 12-GW (Weekly) | Outlet 12
2022-07-12 | TB_0671 | Outlet 12-TE (Weekly) | Outlet 12
2022-07-19 | TB_0684 | Outlet 12-GW (Weekly) | Outlet 12
2022-07-21 | TB_0685 | Outlet 12-TE (Weekly) | Outlet 12
2022-07-26 | TB_0712 | Outlet 12-GW (Weekly) | Outlet 12
2022-07-26 | TB_0713 | Outlet 12-TE (Weekly) | Outlet 12
2022-08-01 | TB_0719 | Outlet 12-GW (Monthly) | Outlet 12 | 0.9 | 0.02 | 2
2022-08-02 | TB_0726 | Outlet 12-TE (Monthly) | Outlet 12 | 1.9 | 0.02 | 2
2022-08-09 | TB_0742 | Outlet 12-GW (Weekly) | Outlet 12
2022-08-10 | TB_0746 | Outlet 12-TE (Weekly) | Outlet 12
2022-08-16 | TB_0756 | Outlet 12-GW (Weekly) | Outlet 12
2022-08-18 | TB_0757 | Outlet 12-TE (Weekly) | Outlet 12
2022-08-23 | TB_0782 | Outlet 12-GW (Weekly) | Outlet 12
2022-08-25 | TB_0783 | Outlet 12-TE (Weekly) | Outlet 12
2022-08-30 | TB_0791 | Outlet 12-GW (Weekly) | Outlet 12
2022-08-31 | TB_0801 | Outlet 12-TE (Weekly) | Outlet 12
2022-09-06 | TB_0817 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.02 | 1
2022-09-07 | TB_0819 | Outlet 12-TE (Monthly) | Outlet 12 | 6.8 | 0.14 | 3
2022-09-13 | TB_0834 | Outlet 12-GW (Weekly) | Outlet 12
2022-09-13 | TB_0835 | Outlet 12-TE (Weekly) | Outlet 12
2022-09-20 | TB_0845 | Outlet 12-GW (Weekly) | Outlet 12
2022-09-20 | TB_0846 | Outlet 12-TE (Weekly) | Outlet 12
2022-09-27 | TB_0869 | Outlet 12-GW (Weekly) | Outlet 12
2022-09-27 | TB_0870 | Outlet 12-TE (Weekly) | Outlet 12
2022-10-04 | TB_0888 | Outlet 12-GW (Monthly) | Outlet 12 | 0.8 | 0.02 | 1
2022-10-04 | TB_0889 | Outlet 12-GW (SWEL) | Outlet 12
2022-10-04 | TB_0891 | Outlet 12-TE (Monthly) | Outlet 12 | 7.8 | 0.02 | 7
2022-10-04 | TB_0892 | Outlet 12-TE (SWEL) | Outlet 12
2022-10-04 | TB_0888 | Outlet 12-GW (Monthly) | Outlet 12 | 0.8 | 0.02 | 1
2022-10-04 | TB_0889 | Outlet 12-GW (SWEL) | Outlet 12
2022-10-04 | TB_0891 | Outlet 12-TE (Monthly) | Outlet 12 | 7.8 | 0.02 | 7
2022-10-04 | TB_0892 | Outlet 12-TE (SWEL) | Outlet 12
2022-10-11 | TB_0907 | Outlet 12-GW (Weekly) | Outlet 12
2022-10-11 | TB_0913 | Outlet 12-TE (Weekly) | Outlet 12
2022-10-18 | TB_0923 | Outlet 12-GW (Weekly) | Outlet 12
2022-10-18 | TB_0924 | Outlet 12-TE (Weekly) | Outlet 12
2022-10-25 | TB_0939 | Outlet 12-GW (Weekly) | Outlet 12
2022-10-26 | TB_0940 | Outlet 12-TE (Weekly) | Outlet 12
2022-11-01 | TB_0951 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 1
2022-11-01 | TB_0953 | Outlet 12-TE (Monthly) | Outlet 12 | 6.3 | 0.09 | 3
2022-11-08 | TB_0965 | Outlet 12-GW (Weekly) | Outlet 12
2022-11-08 | TB_0966 | Outlet 12-TE (Weekly) | Outlet 12
2022-11-15 | TB_0976 | Outlet 12-GW (Weekly) | Outlet 12
2022-11-15 | TB_0977 | Outlet 12-TE (Weekly) | Outlet 12
2022-11-22 | TB_1006 | Outlet 12-GW (Weekly) | Outlet 12
2022-11-22 | TB_1007 | Outlet 12-TE (Weekly) | Outlet 12
2022-11-29 | TB_1021 | Outlet 12-GW (Weekly) | Outlet 12
2022-11-29 | TB_1022 | Outlet 12-TE (Weekly) | Outlet 12
2022-12-06 | TB_1027 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 1
2022-12-06 | TB_1029 | Outlet 12-TE (Monthly) | Outlet 12 | 8.9 | 0.02 | 1
2022-12-06 | TB_1027 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 1
2022-12-06 | TB_1029 | Outlet 12-TE (Monthly) | Outlet 12 | 8.9 | 0.02 | 1
2022-12-13 | TB_1045 | Outlet 12-GW (Weekly) | Outlet 12
2022-12-13 | TB_1046 | Outlet 12-TE (Weekly) | Outlet 12
2022-12-20 | TB_1058 | Outlet 12-GW (Weekly) | Outlet 12
2022-12-21 | TB_1059 | Outlet 12-TE (Weekly) | Outlet 12
2022-12-28 | TB_1074 | Outlet 12-GW (Weekly) | Outlet 12
2023-01-03 | TB_1083 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 1
2023-01-03 | TB_1084 | Outlet 12-GW (SWEL) | Outlet 12
2023-01-04 | TB_1086 | Outlet 12-TE (Monthly) | Outlet 12 | 9.3 | 0.02 | 2
2023-01-04 | TB_1087 | Outlet 12-TE (SWEL) | Outlet 12
2023-01-10 | TB_1114 | Outlet 12-GW (Weekly) | Outlet 12
2023-01-10 | TB_1115 | Outlet 12-TE (Weekly) | Outlet 12
2023-01-17 | TB_1127 | Outlet 12-GW (Weekly) | Outlet 12
2023-01-17 | TB_1128 | Outlet 12-TE (Weekly) | Outlet 12 | 8.4
2023-01-24 | TB_1143 | Outlet 12-GW (Weekly) | Outlet 12
2023-01-24 | TB_1145 | Outlet 12-TE (Weekly) | Outlet 12 | 11.5
2023-01-31 | TB_1155 | Outlet 12-GW (Weekly) | Outlet 12
2023-02-01 | TB_1158 | Outlet 12-TE (Weekly) | Outlet 12 | 9.7
2023-02-07 | TB_1169 | Outlet 12-GW (Monthly) | Outlet 12 | 0.6 | 0.08 | 1
2023-02-07 | TB_1171 | Outlet 12-TE (Monthly) | Outlet 12 | 10.8 | 0.19 | 7
2023-02-14 | TB_1185 | Outlet 12-GW (Weekly) | Outlet 12
2023-02-14 | TB_1186 | Outlet 12-TE (Weekly) | Outlet 12 | 0.5
2023-02-21 | TB_1203 | Outlet 12-GW (Weekly) | Outlet 12
2023-02-21 | TB_1204 | Outlet 12-TE (Weekly) | Outlet 12 | 2
2023-02-28 | TB_1221 | Outlet 12-GW (Weekly) | Outlet 12
2023-02-28 | TB_1222 | Outlet 12-TE (Weekly) | Outlet 12 | 11.1
2023-03-07 | TB_1243 | Outlet 12-GW (Monthly) | Outlet 12 | 0.5 | 0.02 | 1
2023-03-07 | TB_1245 | Outlet 12-TE (Monthly) | Outlet 12 | 10.7 | 1.03 | 2
2023-03-14 | TB_1259 | Outlet 12-GW (Weekly) | Outlet 12
2023-03-14 | TB_1260 | Outlet 12-TE (Weekly) | Outlet 12 | 10.4
2023-03-21 | TB_1274 | Outlet 12-GW (Weekly) | Outlet 12
2023-03-22 | TB_1275 | Outlet 12-TE (Weekly) | Outlet 12 | 10.8 | 0.09
2023-03-28 | TB_1289 | Outlet 12-GW (Weekly) | Outlet 12
2023-03-28 | TB_1290 | Outlet 12-TE (Weekly) | Outlet 12 | 11.3 | 0.11
2023-04-04 | TB_1303 | Outlet 12-GW (Monthly) | Outlet 12 | 0.7 | 0.02 | 1
2023-04-04 | TB_1304 | Outlet 12-GW (SWEL) | Outlet 12
2023-04-04 | TB_1306 | Outlet 12-TE (Monthly) | Outlet 12 | 10.3 | 0.64 | 2
2023-04-04 | TB_1307 | Outlet 12-TE (SWEL) | Outlet 12
2023-04-11 | TB_1315 | Outlet 12-GW (Weekly) | Outlet 12
2023-04-11 | TB_1316 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.02
2023-04-18 | TB_1334 | Outlet 12-GW (Weekly) | Outlet 12
2023-04-18 | TB_1335 | Outlet 12-TE (Weekly) | Outlet 12 |  | 0.05
|  |  | Max | 14 | 1.6 | 69.4
|  |  | average | 2.7078 | 0.10408 | 3.7889
|  |  | 95th | 10.735 | 0.5 | 8.52