**Biomass Boiler at Deepdale Farm Poultry Unit**

Make and Boiler Model – Linka Nominal heat output 995Kwh

Number of boilers 1 Total heat output 995Kwh

Thermal input 1071kwh

Exhaust stack height 1.5m above building heights.

Farm Centre Grid Reference 371421,323530

Exhaust stack Grid Reference 371416 , 323613

Biomass fuel – Approved biomass, eg. virgin woodchip/Miscanthus/straw

Boiler ash securely stored and spread with litter under exemption.