## ARA Odour
WOODCOTE WOOD QUARRY LANDFILL |  | ODOUR |  |  |  |  | DRAWING ESSD 2 AND ESSD 12
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | Risk Assesment | Risk Management | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population from odour | The site will take inert wastes. Therefore no issues considered with odour | Houses and agricultural land | Air transport then inhalation. | High | Very low | Low | Permitted waste types are inert. The Landfill Gas Risk Assessment has concluded that there is little to no potential for significant gases to be generated at the site. This and the nature of the waste will mean that odour control and masking is not considered a requirement. Local residents are often sensitive to odours, however the wastes will not relase odour.The nearest identified receptor is within 25 metres of the landfill boundary, however this is generally upwind with isolated receptors. DR1,DR2 and DR3 are downwind but the site does not take odorous waste and has trees round the site | Emissions shall be free or virtually free from odour. Site has no requirement for gas flares or gas engines. | Very low
Protected sites - European sites and SSSIs from odour | The site will take inert wastes. Therefore no issues considered with odour from ancient woodland | Nuisance, loss of amenity | Air transport then inhalation. | High | Very low | Low | Waste operations will not cause harm to and deterioration of nature conservation sites. Odour risk is considered negligible due to low production of gas set in Landfill Gas Risk Assessment ansd low organic matter content of waste.Nearest protected site is to west as Granville Country Park and Lilleshall Hill. | Emissions shall be free or virtually free from odour. | Very Low
| Very low | Low | Medium | High
High | 4 | 8 | 12 | 16
Medium | 3 | 6 | 9 | 12
Low | 2 | 4 | 6 | 8
Very low | 1 | 2 | 3 | 4
|  |  |  | Very low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | 4 | 1 | 4 | Low
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | #REF! | #REF! | #REF! | #REF!
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J3: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.

## ARA Fugitive Emissions
WOODCOTE WOOD QUARRY LANDFILL |  | FUGITIVE EMISSIONS |  |  |  |  | DRAWING ESSD 2 AND ESSD 12
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Risk Assesment | Risk Management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population DR1, DR2,DR3,DR4,DR5,DR6,DR7, from dust | Releases of particulate matter (dusts) from inert landfill and treatment area | Harm to human health - respiratory irritation and illness. Silica dust release from inert crushing | Air transport then inhalation. | High | High | High | Permitted waste types are inert. The permitted level of throughput and potential size of the facility means there is potential for exposure if anyone is living or working close to the site (apart from the operator and employees). There is potential for increased dust generation from permitted activities during prolonged dry periods e.g. summer months.Nearest residential properties within DR6 (Pine Ridge and Ridge House) but the wind rose says that dust in this direction is negible. DR1 , DR2 and DR3 are most likely to have dust but they are over 250 metres from the boundary which has trees on the outside.Woodcote Hall, Coach House Cottages abd St Peters Church are 250 metres from the site. | Dust Management Plan with regular damping down of material prior to deposition in cells.Reduce dust release by controlling speed of vehicles on site. Dust monitoring points are DR1, DR3 and DR6. | Low
Local human population DR1, DR2,DR3,DR4,DR5,DR6,DR7, from dust | As above | Nuisance - dust on cars, clothing etc. | Air transport then deposition | High | Low | Medium | As above. Local residents often sensitive to dust, however nearest receptors sre generally well screened. | Control speed limits on site to reduce vehicles generating dust. | Low
Local human population DR1, DR2,DR3,DR4,DR5,DR6,DR7, from dust | As above | Nuisance, loss of amenity and harm to animal health | Air transport then deposition | High | High | High | Agricultural land is next to the site all the way round so would be affected | Dust Management Plan with dust control with regular damping down of material prior to deposition in cells.Reduce dust release by controlling speed of vehicles on site and follow Dust Management Plan | Low
Surface Water, SW1,SW2,SW3 are large lakes to the west and north of the site SW4 and SW5 are to the suth east. SW6 is 350 meter west of site | Releases of particulate matter (dusts) from landfill and treatment area | Smoothering of water bodies, but are at least 150 metres away and the sitwe has trees round the outside | Vehicles entering and leaving site. Wind blown dust | Medium | Medium | Medium | Road safety, local residents often sensitive to mud on roads. Wind blown dust could leave the site but all of the water bodies are at least 250 metres from the site. SW1 is 155 metres north west of the site with only 5% air in this direction.SW2 and SW3 are north to north east of the site. SW4 is 350metres from site and SW5 is 500metres from site. SW6 is 350 metres from site | Dust Management Plan with dust control with regular damping down of material prior to deposition in cells.Reduce dust release by controlling speed of vehicles on site and follow Dust Management Plan | Low
Protected sites - European sites and SSSIs | Releases of particulate matter (dusts) | Harm to protected site through toxic contamination, nutrient enrichment, smothering, disturbance, predation etc. | Any | Medium | Medium | Medium | Pave Lane has a an iron age farmstead near the Croft but is unlikely to have dust from the landfill.Lilleshall Abbey is 1.5 miles to the west and dust is not likely to get to the Abbey from the landfill. The nearest locasl Nature Reserves are 3.5 and 5 km from the site | Emissions of substances not controlled by emission limits shall not cause pollution. Works and all site operations as per the Dust Management Plan and the Particulate Matter Risk Assessment. | Low
| Very low | Low | Medium | High
High | 4 | 8 | 12 | 16
Medium | 3 | 6 | 9 | 12
Low | 2 | 4 | 6 | 8
Very low | 1 | 2 | 3 | 4
|  |  |  | Very low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | 4 | 4 | 16 | High
[6 empty] | 4 | 2 | 8 | Medium
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | 3 | 3 | 9 | Medium
[6 empty] | #REF! | #REF! | #REF! | #REF!
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | #REF! | #REF! | #REF! | #REF!
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Protected sites - European sites and SSSIs | Releases of particulate matter (dusts) | Harm to protected site through toxic contamination, nutrient enrichment, smothering, disturbance, predation etc. | Any | Medium | Medium | Medium | Pave Lane has a an iron age farmstead near the Croft but is unlikely to have dust from the landfill.Lilleshall Abbey is 1.5 miles to the west and dust is not likely to get to the Abbey from the landfill | Emissions of substances not controlled by emission limits shall not cause pollution. Works and all site operations as per the Dust Management Plan and the Particulate Matter Risk Assessment. | Low
Dust from waste on site on to agricultural land and premises | Harm to human health - respiratory irritation and illness. Silica dust release from inert crushing | Air transport then inhalation. | Air | High | High | High | Permitted waste types are inert. The permitted level of throughput and potential size of the facility means there is potential for exposure if anyone is living or working close to the site (apart from the operator and employees). There is potential for increased dust generation from permitted activities during prolonged dry periods e.g. summer months.Nearest residential properties within DR6 (Pine Ridge and Ridge House) but the wind rose says that dust in this direction is negible. DR1 , DR2 and DR3 are most likely to have dust but they are over 250 metres from the boundary which has trees on the outside.Woodcote Hall, Coach House Cottages abd St Peters Church are 250 metres from the site. | Emissions of substances not controlled by emission limits shall not cause pollution. Works and all site operations as per the Dust Management Plan and the Particulate Matter Risk Assessment. | Low
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.

## ARA Noise and Vibration
WOODCOTE WOOD QUARRY LANDFILL |  | NOISE AND VIBRATION |  |  |  |  | DRAWING ESSD 2
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population DR1, DR2,DR3,DR4,DR5,DR6,DR7, from noise | Noise and vibration | Nuisance, loss of amenity, loss of sleep. | Noise through the air and vibration through the ground. | Medium | Medium | Low | Noise limitsd were set in the Planning for Woodcote Hall at 47dBa, Brandon Way at 49dBa, 1 Chadwell Lane at 50dBa, 88 Bloomsbury at 46dBa and Pine Ridge at 49dBa. The Noise Report for the landfill and the Recycling also is the same and none of the values are above 50dBa and so no noise levels are expecyted at any of the houses, hall etcLF Acoustics Ltd have were appointed to prepare a noise assessment to support a permit application for an inert treatment and transfer facility located within Woodcote Wood Quarry. Planning permission for the operation has been granted, subject to conditions, including controls on noise levels at surrounding noise sensitive properties. An Environmental Permit is now being sought for the proposed treatment and transfer facility and landfilling of inert materials within the quarry. Noise monitoring has been carried out to establish baseline noise levels at positions representative of the properties potentially most likely to be affected by the proposed operations. Calculations of the site noise levels have been made based upon likely worst-case operating conditions, assuming all plant on site fully operational. An assessment of the operational noise levels has been made, which indicates that the noise levels at the surrounding properties would remain acceptable, with noise levels remaining below the planning condition limits and with no adverse noise impacts identified, when assessed against the requirements of BS 4142. Considering the specific EA guidelines, noise levels at the surrounding properties would, as a worst-case, represent a detectable level of noise. This level of noise would be acceptable. | Regular maintenance of plant to ensure silencers are correct and engines are working efficiently. and to comply with Noise Management Plan | Low based on the Noise Management Plan for Woodcote
Local human population DR1, DR2,DR3,DR4,DR5,DR6,DR7, noise | Noise and vibration | Harm to protected site through disturbance, | Noise through the air and vibration through the ground. | Medium | Medium | Medium | Not likely at any of the sites. | Regular maintenance of plant to ensure silencers are correct and engines are working efficiently.Comply with Noise Management Plan | Low
Noise from HGV entering site anf leaving | Noise and vibration | Premises | Noise through the air | Very low | Very low | Low | Not likely at any of the premises or the fields | Regular maintenance of plant to ensure silencers are correct and engines are working efficiently.Comply with Noise Management Plan | Low
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J3: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.

## ARA Accidents
WOODCOTE WOOD QUARRY LANDFILL |  | ACCIDENTS |  |  |  |  | DRAWING ESSD 2 AND ESSD 12
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population and / or livestock after gaining unauthorised access to the waste operation | All on-site hazards: wastes; machinery and vehicles. | Bodily injury | Direct physical contact | Medium | Low | Low | Detailed Standard Operating Procedures in the Site Health and Safety Manual and all staff trained on plant | Activities shall be managed and operated in accordance with a management system.Site gates locked after closing time | Low
Local human population and local environment. | Arson and / or vandalism causing the release of polluting materials to air (smoke or fumes), water or land. | Respiratory irritation, illness and nuisance to local population. Injury to staff, fire fighters or arsonists/vandals. Pollution of water or land. | Air transport of smoke. Spillages and contaminated firewater by direct run-off from site into Horn Brook and Cornets End Brook | Medium | Low | Low | Permitted waste types do not include flammable materials, as not permitted in landfill so a low magnitude risk is estimated. The landfill phases 1 to 3 are all below ground with no possibility of direct runoff.Later phases are to original field levels but will not allow runoff.Site will only take low organic matter levels so methane gas production will be extremely low so low risk of explosion | EMS procedures in place including emergencies, and spillage procedures | Low
Local human population and local environment | Accidental fire causing the release of polluting materials to air (smoke or fumes), water or land. | Respiratory irritation, illness and nuisance to local population. Injury to staff or fire fighters. Pollution of water or land. | As above. | Medium | Low | Low | As above. | As above (excluding comments on access to waste). Permitted activities do not include the burning of waste. | Low
All surface waters close to and downstream of site. | Spillage of liquids, leachate from waste, contaminated rainwater run-off from waste e.g. containing suspended solids. | Acute effects: oxygen depletion, fish kill and algal blooms | Direct run-off from site across ground surface, via surface water drains, ditches etc. | Low | Low | Low | Site HRA indicates no leachate impact.Fuel store not considered a risk and all waters are over 500 metres from the site | All liquids shall be provided with secondary containment. Run-off restricted on emissions of substances, with appropriate measures. Wastes from potentially contaminated sites require analysis. Storage & spreading has distance limitations from watercourses. | Very low
All surface waters close to and downstream of site. | Spillage of liquids, leachate from waste, contaminated rainwater run-off from waste e.g. containing suspended solids. | Chronic effects: deterioration of water quality | As above. Indirect run-off via the soil layer | Low | Low | Low | Site HRA indicates no leachate impact.Fuel store not considered a risk and all waters are over 500 metres from the site | No surface waters near to site so not part of monitoring for the site | Very low
Abstraction from watercourse downstream of facility (for agricultural or potable use). | Spillage of liquids, leachate from waste, contaminated rainwater run-off from waste e.g. containing suspended solids. | Acute effects, closure of abstraction intakes. | Direct run-off from site across ground surface, via surface water drains, ditches etc. then abstraction. | Low | Low | Low | Site not within Source Protection Zone.No private water supplies near by. Therefore no risk | No surface waters near to site so not part of monitoring for the site | Very low
Groundwater | As above | Chronic effects: contamination of groundwater, requiring treatment of water. | Transport through soil/groundwater then extraction at borehole. | Low | Low | Low | Site not within Source Protection Zone.No private water supplies near by. HRA demonstrates no release of Hazardous Substances into groundwater and non hazardous pollutants at aceptable levels | No surface waters near to site so not part of monitoring for the site | Very low
Protected sites - European sites and SSSIs | Any | Harm to protected site through toxic contamination, nutrient enrichment, smothering, disturbance, predation etc. | Any | Medium | Medium | Low | Waste operations may cause harm to and deterioration of nature conservation sites. | Emissions of substances not controlled by emission limits shall not cause pollution. At 500 metres or above, the potential hazards from the permitted activities pose a low risk to the broad sensitivity of species and habitats groups. | Low
Fires and Explosions | Any | Damage to liner and increased permeability | Into groundwaters | Medium | Medium | Significant | Would be significant | Site has EMS .The site will not take combustibe waste and will not therefore be able to explode | Low
Spillage on site and direct leachate dischage from waste | Any | Chronic effects: contamination of groundwater, requiring treatment of water. | Transport through soil/groundwater then extraction at borehole. | Low | Low | Low | Waste operations may cause harm to and deterioration of nature conservation sites. | Emissions of substances not controlled by emission limits shall not cause pollution. At 500 metres or above, the potential hazards from the permitted activities pose a low risk to the broad sensitivity of species and habitats groups. | Low
| Very low | Low | Medium | High
High | 4 | 8 | 12 | 16
Medium | 3 | 6 | 9 | 12
Low | 2 | 4 | 6 | 8
Very low | 1 | 2 | 3 | 4
|  |  |  | Very low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Low |  | 2 | 2 | 4 | Low
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | #REF! | #REF! | #REF! | #REF!
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J3: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.

## ARA Groundwater ad Suface Wate
WOODCOTE WOOD QUARRY LANDFILL |  | WATER |  |  |  |  | DRAWING ESSD 2 and ESSD 11
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | Risk Assesment | Risk Management | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population | The site will take inert wastes. Therefore no issues considered with groundwater and surface water | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | Permitted waste types are inert. Site will have geological barrier on base and sides and in the Chester Formation.DR6 (Pine Ridge and Ridge House) but the wind rose says that dust in this direction is negible. DR1 , DR2 and DR3 are most likely to have dust but they are over 250 metres from the boundary which has trees on the outside.Woodcote Hall, Coach House Cottages abd St Peters Church are 250 metres from the site. | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very low
Protected sites - European sites and SSSIs | The site will take inert wastes. Therefore no issues considered with SSSI in the surrounding area | Potential for containments to enter groundwater or surface waters | Through engineered barrier but all sites are | High | Very low | Low | Waste operations will not cause harm to and deterioration of nature conservation sites. The site will not take and substances above limits used in the HRA. All sites are west and south west of the site and are up hydraulic gradient. | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Differnetial Settlement | The site will take inert wastes. Therefore no issues considered with groundwater and surface water | Potential for containments to enter groundwater or surface waters | Differential settlenment is not considered likely at the site due to nature of waste to be landfilled | High | Very low | Low | Permitted waste types are inert. Site will have geological barrier on base and sides sides and be on Chester Formation and is not likely to have diffential settlement | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very low
Line of weakness of geological barrier | The site will take inert wastes and so the landfill should never have leachate that is hazardous. | Potential for containments to enter groundwater | Leachate travels through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table beneath the site | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Delivery vehicles spill waste | The site will only take inert waste | Potential for waste to get into drains | Direct discharge when wet | High | Very low | Low | Not likely. Site has loading shovels to get any spillages | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Mining subsidence | The site area has not been mined | There will be no harm as the site has not had coal workings beneath it | Through engineered barrier | High | Very low | Low | There has not been any mineworkings beneath the site | Not required | Very Low
Diesel tank | The tank is in a building with concere floors and is double skinned | The site is not is a protection zone | Through the enginnered barrier | High | Very low | Low | The tank is double skinned and not on the landfill | No other requirements are needed | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J3: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.