# Routine Maintenance Schedule Willoughbridge Lodge Farm Poultry Unit

| # Item Description | # Frequency | # Action | # Date | # Comments |
| --- | --- | --- | --- | --- |
| Fuel Storage | Weekly | Check bunding and stocks |  |  |
| Drainage System | Weekly | Ensure gulley’s and sediment traps are clean Check guttering and downspouts. Ensure catchment tanks are empty prior to wash down. Check changeover/diverter valves and bungs for operation and integrity |  |  |
| Buildings Integrity | Monthly | Visual check around outside of buildings and concrete areas |  |  |
| Electrical Systems | Service each crop Daily during crop | Service by qualified electrician. Ensure correct daily operation |  |  |
| Heating System | Service each crop Daily during crop | Routine maintenance Ensure correct daily operation |  |  |
| Ventilation System | Service each crop Daily during crop | Routine maintenance Ensure correct daily operation |  |  |
| Feeder System | Service each crop Daily during crop | Routine maintenance Ensure correct daily operation |  |  |
| Drinker System | Service each crop Daily during crop | Clean and sanitise Adjust height daily, record water usage and check for leaks |  |  |
| Generator | Service bi-annual Test run weekly | Service contract Check for any leaks |  |  |
| House environment | Daily | Ensure correct temperature and humidity levels to maintain litter quality. |  |  |
| Wash down Tanks | During wash down | Monitor levels during washing to maintain at least 300mm freeboard |  |  |