**Willoughbridge Lodge Farm Poultry Unit Standby Generator.**

Willoughbridge Lodge Farm poultry operations has a standby generator.

Generator has a thermal input of 990kw.

Generator will not be test run more than 50hrs per annum.

Generator will not be operated more than 500hrs per annum averaged over 3 years, as backup for mains interruption, including testing.