## Effluent Results
| DAF 2 | DAF 2 Final Eff | Daf 2 | Daf 2 | DAF 2 | EFF DAF 2 | Final Effluent DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | 193436 | 193678
| 05/01/2018 08:00:00 | 10/01/2018 08:00:00 | 2018-01-12 08:00 | 16/01/2018 06:09:00 | 18/01/2018 06:20:00 | 23/01/2018 08:00:00 | 25/01/2018 08:00:00 | 30/01/2018 08:00:00 | 01/02/2018 08:00:00 | 06/02/2018 08:00:00 | 08/02/2018 08:00:00 | 13/02/2018 08:00:00 | 2018-02-15 08:00 | 2018-02-20 08:00 | 2018-02-22 08:00 | 27/02/2018 08:00:00 | 08/03/2018 08:00:00 | 13/03/2018 08:00:00 | 15/03/2018 08:00:00 | 20/03/2018 08:00:00 | 22/03/2018 08:00:00 | 27/03/2018 00:00:00 | 29/03/2018 08:00:00 | 03/04/2018 08:00:00 | 05/04/2018 08:00:00 | 2018-04-10 08:00 | 2018-04-12 08:00 | 2018-04-17 08:00 | 2018-04-19 08:00 | 2018-04-24 08:00 | 2018-04-26 08:00 | 2018-05-01 08:00 | 2018-05-03 08:00 | 2018-05-08 08:00 | 2018-05-10 08:00 | 2018-05-15 08:00 | 2018-05-17 08:00 | 2018-05-22 08:00 | 2018-05-24 08:00
| Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Not Specified | Trade Effluent | Trade Effluent | Not Specified | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2
 | time axis 2020-01-02 to 2021-01-06
pH - pH units | 7.5 | 7.4 | 7.5 | 7.5 | 7.8 | 8 | 8.3 | 8 | 8.1 | 8.5 | 8.3 | 8 | 7.9 | 7.5 | 7.9 | 8.2 | 8.3 | 8.2 | 8.5 | 8.5 | 8.7 | 8.6 | 8.6 | 8.4 | 8.6 | 8.4 | 8.2 | 8.3 | 8.5 | 8.4 | 8.4 | 8.5 | 8.2 | 8.4 | 8.4 | 8.3 | 8.3 | 8.3 | 8.3 | 7.9 | 8 | 8 | 8.1 | 7.7 | 8.2 | 7.6 | 7.8 | 7.9 | 7.7 | 7.7 | 7.9 | 8.2 | 8.1 | 7.9 | 7.9 | 8 | 7.8 | 8 | 7.9 | 6.6 | 7.4 | 8 | 7.3 | 7.6 | 7.3 | 7.6 | 8 | 7.9 | 7.5 | 7.6 | 6.8 | 7.2 | 7.4 | 7.8 | 7.3 | 7.5 | 6.7 | 7.7 | 8.2 | 8 | 8 | 7.9 | 7.7 | 7.4 | 7.4 | 7.2 | 7.3 | 7.6 | 7.4 | 7.9 | 7.7 | 8.1
Ammoniacal Nitrogen as N - mg/l | 21.4 | 25.7 | 28.5 | 26.6 | 18.7 | 37.3 | 46.7 | 70.7 | 46.3 | 15 | 1.22 | 16.9 | 10.6 | 19.6 | 36.8 | 40.1 | 10.4 | 31.2 | 42.8 | 19.7 | 16 | 40.5 | 36.6 | 19.3 | 28.6 | 71.9 | 71.9 | 69.4 | 65.1 | 69.2 | 55 | 54.7 | 69.2 | 79.8 | 74.3 | 92.5 | 100 | 64.8 | 48.7 | 1.6 | 1.6 | 0.3 | 8.2 | 12 | 8.2 | 0.8 | 0.1 | 0.3 | 0.2 | 1.4 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.2 | <0.1 | 0.8 | 1.7 | 0.8 | 1.6 | 1.6 | 0.5 | 1.6 | 1.7 | 1.7 | 1.6 | 0.8 | 0.4 | 0.6 | 0.1 | 0.4 | 0.2 | 0.6 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.3 | 0.1 | 0.1 | 0.1 | 0.1 | 0.6 | 0.1
Nitrate as N - mg/l | [31 empty] | 0.9 | <0.7 | <0.7 | <0.7 | 1.7 | <0.7 | 0.9 | 1.7
Total Nitrogen as N - mg/l | [31 empty] | 65.9 | 76.2 | 87.4 | 94.1 | 96 | 111 | 67.8 | 61.2
Phosphorus , Total as P - mg/l | 34.8 | 36.3 | 32.2 | 25.4 | 23.5 | 23.7 | 24.5 | 19.3 | 13.4 | 9.8 | 10.2 | 16.1 | 12.5 | 12.8 | 15.4 | 18.1 | 14.6 | 17.4 | 14.7 | 17.4 | 15.7 | 17.5 | 19.8 | 28.2 | 17.7 | 19.9 | 17.6 | 39.8 | 18.3 | 12.7 | 13.1 | 18.7 | 20.5 | 13.3 | 13.6 | 13.1 | 13.5 | 15.2 | 13.9 | 11.5 | 9.71 | 15.3 | 25.4 | 24.1 | 28.1 | 20.4 | 15.8 | 16.4 | 14.4 | 7.14 | 10.6 | 7.4 | 16.2 | 17 | 23.7 | 17.6 | 15.8 | 14.7 | 24.1 | 15.8 | 14.2 | 38.2 | 10.7 | 8.4 | 6.63 | 17.1 | 8.2 | 12.7 | 13.4 | 14.7 | 32.2 | 20 | 19.9 | 19.5 | 20.4 | 23.7 | 18.3 | 13.3 | 15.6 | 9.94 | 9.1 | 9.58 | 8.81 | 5.42 | 5.77 | 4.71 | 12.7 | 12.8 | 7.3 | 9.75 | 4.56 | 13.3
Total Suspended Solids - mg/l | 368 | 220 | 288 | 198 | 91 | 98 | 36 | 26 | 58 | 18 | 14 | 36 | 38 | 135 | 106 | 132 | 136 | 54 | 53 | 29 | 50 | 8 | 32 | 122 | 25 | 37 | 80 | 568 | 60 | 56 | 5 | 26 | 26 | 22 | 84 | 12 | 8 | 26 | 27 | 4 | 18 | 2 | 22 | 58 | 46 | 16 | 0.1 | 10 | 4 | 2 | 24 | 6 | 28 | <0.1 | <0.1 | <0.1 | 2 | <0.1 | 24 | <0.1 | 4 | 18 | 10 | <0.1 | <0.1 | 10 | 30 | 29 | 30 | 24 | 26 | 8 | 10 | 8 | 4 | 16 | 20 | 8 | 26 | 10 | 6 | 18 | 24 | 26 | 24 | 28 | 19 | 24 | 15 | 29 | 25 | 16
BOD + ATU (5 day) - mg/l | 148 | 165 | 94 | 119 | 68 | 34 | 33 | 20 | 50 | 17 | 14 | 24 | 11 | 77 | 39 | 84 | 26 | 14 | See note 1 | 49 | 26 | 24 | 38 | 52 | 7 | 51 | 16 | 36 | 20 | 18 | 7 | 24 | 29 | 10 | 35 | 256 | 1 | 11 | 13 | 3 | 3 | 8 | 14 | 60 | 39 | 14 | 2 | 2 | <2 | 6 | 4 | <2 | 2 | 9 | <2 | <2 | <2 | 14 | 10 | <2 | <2 | 6 | 2 | <2 | 13 | 5 | 4 | 7.9 | 14 | 9 | 12 | 2 | 4 | 2 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 18 | 14 | 19 | 14 | 19 | 18 | 20 | 15 | 2
COD (Total) - mg/l | 719 | 552 | 651 | 469 | 552 | 315 | 245 | 191 | 297 | 209 | 198 | 285 | 240 | 384 | 419 | 371 | 263 | 185 | 178 | 252 | 201 | 148 | 143 | 330 | 141 | 150 | 264 | 844 | 200 | 120 | 131 | 162 | 183 | 156 | 212 | 106 | 112 | 86 | 77 | 2020-01-02: 143; 2020-01-08: 109; 2020-01-15: 50; 2020-01-22: 55; 2020-01-29: 53; 2020-02-05: 65; 2020-02-12: 53; 2020-02-19: 58; 2020-03-04: 68; 2020-03-11: 62; 2020-03-18: 96; 2020-03-25: 61; 2020-04-01: 86; 2020-04-08: 111; 2020-04-15: 72; 2020-04-22: 92; 2020-04-29: 104; 2020-05-06: 37; 2020-05-13: 47; 2020-05-20: 71.9; 2020-05-27: 56.9
| Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance
pH - pH units | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9
Ammoniacal Nitrogen as N - mg/l | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Nitrate as N - mg/l | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Nitrogen as N - mg/l | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids - mg/l | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
BOD + ATU (5 day) - mg/l | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
COD (Total) - mg/l | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2020-01-02: N/A; 2020-01-08: N/A; 2020-01-15: N/A; 2020-01-22: N/A; 2020-01-29: N/A; 2020-02-05: N/A; 2020-02-12: N/A; 2020-02-19: N/A; 2020-02-26: N/A; 2020-03-04: N/A; 2020-03-11: N/A; 2020-03-18: N/A; 2020-03-25: N/A; 2020-04-01: N/A; 2020-04-08: N/A; 2020-04-15: N/A; 2020-04-22: N/A; 2020-04-29: N/A; 2020-05-06: N/A; 2020-05-13: N/A; 2020-05-20: N/A; 2020-05-27: N/A; 2020-06-03: N/A; 2020-06-10: N/A; 2020-06-17: N/A; 2020-06-24: N/A; 2020-07-01: N/A; 2020-07-08: N/A; 2020-07-15: N/A; 2020-07-22: N/A; 2020-07-29: N/A
Note on AL7: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AF11: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AL11: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AP12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AQ12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AX12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AZ12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BA12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BB12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BC12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BD12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BE12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BG12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BH12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BI12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BJ12: Mark Bartlett: Analysed outside recommended staility times by ALS

## Effluent Data
| pH - pH units | Upper Consent Limit | Lower Consent Limit | Ammoniacal Nitrogen | Consent Limit | Phosphorus | Total Suspended Solids | Consent Limit | Biological Oxygen Demand | Consent Limit
2020-01-02 | 7.9 | 9 | 6 | 1.6 | 2 | 11.5 | 4 | 30 | 3 | 20
2020-01-08 | 8 | 9 | 6 | 1.6 | 2 | 9.71 | 18 | 30 | 3 | 20
2020-01-15 | 8 | 9 | 6 | 0.3 | 2 | 15.3 | 2 | 30 | 8 | 20
2020-01-22 | 8.1 | 9 | 6 | 8.2 | 2 | 25.4 | 22 | 30 | 14 | 20
2020-01-29 | 7.7 | 9 | 6 | 12 | 2 | 24.1 | 58 | 30 | 60 | 20
2020-02-05 | 8.2 | 9 | 6 | 8.2 | 2 | 28.1 | 46 | 30 | 39 | 20
2020-02-12 | 7.6 | 9 | 6 | 0.8 | 2 | 20.4 | 16 | 30 | 14 | 20
2020-02-19 | 7.8 | 9 | 6 | 0.1 | 2 | 15.8 | 0.1 | 30 | 2 | 20
2020-02-26 | 7.9 | 9 | 6 | 0.3 | 2 | 16.4 | 10 | 30 | 2 | 20
2020-03-04 | 7.7 | 9 | 6 | 0.2 | 2 | 14.4 | 4 | 30 | 2 | 20
2020-03-11 | 7.7 | 9 | 6 | 1.4 | 2 | 7.14 | 2 | 30 | 6 | 20
2020-03-18 | 7.9 | 9 | 6 | 0.1 | 2 | 10.6 | 24 | 30 | 4 | 20
2020-03-25 | 8.2 | 9 | 6 | 0.1 | 2 | 7.4 | 6 | 30 | 2 | 20
2020-04-01 | 8.1 | 9 | 6 | 0.1 | 2 | 16.2 | 28 | 30 | 2 | 20
2020-04-08 | 7.9 | 9 | 6 | 0.1 | 2 | 17 | 0.1 | 30 | 9 | 20
2020-04-15 | 7.9 | 9 | 6 | 0.1 | 2 | 23.7 | 0.1 | 30 | 2 | 20
2020-04-22 | 8 | 9 | 6 | 0.1 | 2 | 17.6 | 0.1 | 30 | 2 | 20
2020-04-29 | 7.8 | 9 | 6 | 0.1 | 2 | 15.8 | 2 | 30 | 2 | 20
2020-05-06 | 8 | 9 | 6 | 0.1 | 2 | 14.7 | 0.1 | 30 | 14 | 20
2020-05-13 | 7.9 | 9 | 6 | 0.2 | 2 | 24.1 | 24 | 30 | 10 | 20
2020-05-20 | 6.6 | 9 | 6 | 0.1 | 2 | 15.8 | 0.1 | 30 | 2 | 20
2020-05-27 | 7.4 | 9 | 6 | 0.8 | 2 | 14.2 | 4 | 30 | 2 | 20
2020-06-03 | 8 | 9 | 6 | 1.7 | 2 | 38.2 | 18 | 30 | 6 | 20
2020-06-10 | 7.3 | 9 | 6 | 0.8 | 2 | 10.7 | 10 | 30 | 2 | 20
2020-06-17 | 7.6 | 9 | 6 | 1.6 | 2 | 8.4 | 0.1 | 30 | 2 | 20
2020-06-24 | 7.3 | 9 | 6 | 1.6 | 2 | 6.63 | 0.1 | 30 | 13 | 20
2020-07-01 | 7.6 | 9 | 6 | 0.5 | 2 | 17.1 | 10 | 30 | 5 | 20
2020-07-08 | 8 | 9 | 6 | 1.6 | 2 | 8.2 | 30 | 30 | 4 | 20
2020-07-15 | 7.9 | 9 | 6 | 1.7 | 2 | 12.7 | 29 | 30 | 7.9 | 20
2020-07-22 | 7.5 | 9 | 6 | 1.7 | 2 | 13.4 | 30 | 30 | 14 | 20
2020-07-29 | 7.6 | 9 | 6 | 1.6 | 2 | 14.7 | 24 | 30 | 9 | 20
2020-08-05 | 6.8 | 9 | 6 | 0.8 | 2 | 32.2 | 26 | 30 | 12 | 20
2020-08-12 | 7.2 | 9 | 6 | 0.4 | 2 | 20 | 8 | 30 | 2 | 20
2020-08-19 | 7.4 | 9 | 6 | 0.6 | 2 | 19.9 | 10 | 30 | 4 | 20
2020-08-26 | 7.8 | 9 | 6 | 0.1 | 2 | 19.5 | 8 | 30 | 2 | 20
2020-09-02 | 7.3 | 9 | 6 | 0.4 | 2 | 20.4 | 4 | 30 | 4 | 20
2020-09-09 | 7.5 | 9 | 6 | 0.2 | 2 | 23.7 | 16 | 30 | 2 | 20
2020-09-16 | 6.7 | 9 | 6 | 0.6 | 2 | 18.3 | 20 | 30 | 2 | 20
2020-09-23 | 7.7 | 9 | 6 | 0.2 | 2 | 13.3 | 8 | 30 | 2 | 20
2020-09-30 | 8.2 | 9 | 6 | 0.1 | 2 | 15.6 | 26 | 30 | 2 | 20
2020-10-07 | 8 | 9 | 6 | 0.1 | 2 | 9.94 | 10 | 30 | 2 | 20
2020-10-14 | 8 | 9 | 6 | 0.1 | 2 | 9.1 | 6 | 30 | 2 | 20
2020-10-21 | 7.9 | 9 | 6 | 0.1 | 2 | 9.58 | 18 | 30 | 2 | 20
2020-10-28 | 7.7 | 9 | 6 | 0.1 | 2 | 8.81 | 24 | 30 | 2 | 20
2020-11-04 | 7.4 | 9 | 6 | 0.1 | 2 | 5.42 | 26 | 30 | 18 | 20
2020-11-11 | 7.4 | 9 | 6 | 0.3 | 2 | 5.77 | 24 | 30 | 14 | 20
2020-11-18 | 7.2 | 9 | 6 | 0.3 | 2 | 4.71 | 28 | 30 | 19 | 20
2020-11-25 | 7.3 | 9 | 6 | 0.1 | 2 | 12.7 | 19 | 30 | 14 | 20
2020-12-02 | 7.6 | 9 | 6 | 0.1 | 2 | 12.8 | 24 | 30 | 19 | 20
2020-12-09 | 7.4 | 9 | 6 | 0.1 | 2 | 7.3 | 15 | 30 | 18 | 20
2020-12-16 | 7.9 | 9 | 6 | 0.1 | 2 | 9.75 | 29 | 30 | 20 | 20
2020-12-23 | 7.7 | 9 | 6 | 0.6 | 2 | 4.56 | 25 | 30 | 15 | 20
2021-01-06 | 8.1 | 9 | 6 | 0.1 | 2 | 13.3 | 16 | 30 | 2 | 20

## Effluent Flow
| DAF 2 Discharge | Consent Limit
2020-01-01 | 231.877 | 150
2020-01-02 | 255.024 | 150
2020-01-03 | 209.445 | 150
2020-01-04 | 210.847 | 150
2020-01-05 | 194.551 | 150
2020-01-06 | 189.998 | 150
2020-01-07 | 133.995 | 150
2020-01-08 | 137.994 | 150
2020-01-09 | 151.994 | 150
2020-01-10 | 161 | 150
2020-01-11 | 191.103 | 150
2020-01-12 | 158.995 | 150
2020-01-13 | 216.967 | 150
2020-01-14 | 152.997 | 150
2020-01-15 | 141.965 | 150
2020-01-16 | 149.002 | 150
2020-01-17 | 174.002 | 150
2020-01-18 | 172 | 150
2020-01-19 | 127.999 | 150
2020-01-20 | 219.959 | 150
2020-01-21 | 153.993 | 150
2020-01-22 | 195.744 | 150
2020-01-23 | 154.992 | 150
2020-01-24 | 156.981 | 150
2020-01-25 | 185.989 | 150
2020-01-26 | 164.992 | 150
2020-01-27 | 197.991 | 150
2020-01-28 | 175.996 | 150
2020-01-29 | 162.023 | 150
2020-01-30 | 245.04 | 150
2020-01-31 | 135.925 | 150
2020-02-01 | 317.676 | 150
2020-02-02 | 164.613 | 150
2020-02-03 | 156.998 | 150
2020-02-04 | 125.99 | 150
2020-02-05 | 121.995 | 150
2020-02-06 | 125.997 | 150
2020-02-07 | 116.991 | 150
2020-02-08 | 126.733 | 150
2020-02-09 | 170.273 | 150
2020-02-10 | 185.697 | 150
2020-02-11 | 85.003 | 150
2020-02-12 | 115.998 | 150
2020-02-13 | 105.997 | 150
2020-02-14 | 150.169 | 150
2020-02-15 | 114.789 | 150
2020-02-16 | 200.064 | 150
2020-02-17 | 273.696 | 150
2020-02-18 | 233.224 | 150
2020-02-19 | 167.037 | 150
2020-02-20 | 197.996 | 150
2020-02-21 | 170.998 | 150
2020-02-22 | 167.997 | 150
2020-02-23 | 176.999 | 150
2020-02-24 | 127.04 | 150
2020-02-25 | 168.98 | 150
2020-02-26 | 174.992 | 150
2020-02-27 | 188.995 | 150
2020-02-28 | 175.997 | 150
2020-02-29 | 145.303 | 150
2020-03-01 | 144.304 | 150
2020-03-02 | 178.998 | 150
2020-03-03 | 168.996 | 150
2020-03-04 | 155.993 | 150
2020-03-05 | 167 | 150
2020-03-06 | 160 | 150
2020-03-07 | 159 | 150
2020-03-08 | 211 | 150
2020-03-09 | 120 | 150
2020-03-10 | 153 | 150
2020-03-11 | 169 | 150
2020-03-12 | 142 | 150
2020-03-13 | 180 | 150
2020-03-14 | 168 | 150
2020-03-15 | 168 | 150
2020-03-16 | 168 | 150
2020-03-17 | 142 | 150
2020-03-18 | 145 | 150
2020-03-19 | 159 | 150
2020-03-20 | 170 | 150
2020-03-21 | 158 | 150
2020-03-22 | 173 | 150
2020-03-23 | 188 | 150
2020-03-24 | 121 | 150
2020-03-25 | 99 | 150
2020-03-26 | 111 | 150
2020-03-27 | 95 | 150
2020-03-28 | 104 | 150
2020-03-29 | 98 | 150
2020-03-30 | 142 | 150
2020-03-31 | 90 | 150
2020-04-01 | 92 | 150
2020-04-02 | 96 | 150
2020-04-03 | 87.944 | 150
2020-04-04 | 111.951 | 150
2020-04-05 | 102.978 | 150
2020-04-06 | 146.962 | 150
2020-04-07 | 89.975 | 150
2020-04-08 | 96.955 | 150
2020-04-09 | 91.921 | 150
2020-04-10 | 89.943 | 150
2020-04-11 | 83.907 | 150
2020-04-12 | 141.9 | 150
2020-04-13 | 156.859 | 150
2020-04-14 | 140.855 | 150
2020-04-15 | 192.963 | 150
2020-04-16 | 164.05 | 150
2020-04-17 | 181.983 | 150
2020-04-18 | 173.963 | 150
2020-04-19 | 173.986 | 150
2020-04-20 | 206.968 | 150
2020-04-21 | 137.97 | 150
2020-04-22 | 134.966 | 150
2020-04-23 | 125.978 | 150
2020-04-24 | 120.966 | 150
2020-04-25 | 129.965 | 150
2020-04-26 | 182.923 | 150
2020-04-27 | 204.921 | 150
2020-04-28 | 139.905 | 150
2020-04-29 | 132.879 | 150
2020-04-30 | 124.894 | 150
2020-05-01 | 141.859 | 150
2020-05-02 | 198.819 | 150
2020-05-03 | 148.875 | 150
2020-05-04 | 205.862 | 150
2020-05-05 | 116.855 | 150
2020-05-06 | 122.939 | 150
2020-05-07 | 125.966 | 150
2020-05-08 | 154.939 | 150
2020-05-09 | 135.957 | 150
2020-05-10 | 143.922 | 150
2020-05-11 | 168.905 | 150
2020-05-12 | 168.875 | 150
2020-05-13 | 163.841 | 150
2020-05-14 | 138.721 | 150
2020-05-15 | 137.718 | 150
2020-05-16 | 146.716 | 150
2020-05-17 | 169.734 | 150
2020-05-18 | 170.733 | 150
2020-05-19 | 163.758 | 150
2020-05-20 | 166.773 | 150
2020-05-21 | 177.812 | 150
2020-05-22 | 196.799 | 150
2020-05-23 | 197.767 | 150
2020-05-24 | 201.795 | 150
2020-05-25 | 221.317 | 150
2020-05-26 | 204.961 | 150
2020-05-27 | 203.954 | 150
2020-05-28 | 189.959 | 150
2020-05-29 | 252.826 | 150
2020-05-30 | 173.964 | 150
2020-05-31 | 217.485 | 150
2020-06-01 | 243.01 | 150
2020-06-02 | 169.34 | 150
2020-06-03 | 191.96 | 150
2020-06-04 | 173.956 | 150
2020-06-05 | 171.954 | 150
2020-06-06 | 163.963 | 150
2020-06-07 | 180.96 | 150
2020-06-08 | 200.894 | 150
2020-06-09 | 112.928 | 150
2020-06-10 | 168.858 | 150
2020-06-11 | 156.089 | 150
2020-06-12 | 206.441 | 150
2020-06-13 | 166.968 | 150
2020-06-14 | 197.106 | 150
2020-06-15 | 216.967 | 150
2020-06-16 | 193.459 | 150
2020-06-17 | 161.893 | 150
2020-06-18 | 172.884 | 150
2020-06-19 | 167.975 | 150
2020-06-20 | 147.973 | 150
2020-06-21 | 163.971 | 150
2020-06-22 | 193.975 | 150
2020-06-23 | 155.972 | 150
2020-06-24 | 111.972 | 150
2020-06-25 | 111.976 | 150
2020-06-26 | 102.978 | 150
2020-06-27 | 129.969 | 150
2020-06-28 | 161.945 | 150
2020-06-29 | 160.97 | 150
2020-06-30 | 112.976 | 150
2020-07-01 | 106.98 | 150
2020-07-02 | 119.981 | 150
2020-07-03 | 118.981 | 150
2020-07-04 | 132.961 | 150
2020-07-05 | 98.981 | 150
2020-07-06 | 98.978 | 150
2020-07-07 | 109.975 | 150
2020-07-08 | 113.951 | 150
2020-07-09 | 110.963 | 150
2020-07-10 | 99.983 | 150
2020-07-11 | 98.971 | 150
2020-07-12 | 99.971 | 150
2020-07-13 | 98.982 | 150
2020-07-14 | 114.995 | 150
2020-07-15 | 125.995 | 150
2020-07-16 | 120.972 | 150
2020-07-17 | 158.957 | 150
2020-07-18 | 151.972 | 150
2020-07-19 | 151.979 | 150
2020-07-20 | 186.957 | 150
2020-07-21 | 127.972 | 150
2020-07-22 | 88.975 | 150
2020-07-23 | 83.967 | 150
2020-07-24 | 89.959 | 150
2020-07-25 | 78.964 | 150
2020-07-26 | 141.972 | 150
2020-07-27 | 141.959 | 150
2020-07-28 | 132.958 | 150
2020-07-29 | 127.958 | 150
2020-07-30 | 135.954 | 150
2020-07-31 | 136.964 | 150
2020-08-01 | 122.986 | 150
2020-08-02 | 132.969 | 150
2020-08-03 | 144.978 | 150
2020-08-04 | 151.928 | 150
2020-08-05 | 108.979 | 150
2020-08-06 | 109.967 | 150
2020-08-07 | 141 | 150
2020-08-08 | 108.965 | 150
2020-08-09 | 143.978 | 150
2020-08-10 | 143.965 | 150
2020-08-11 | 129.977 | 150
2020-08-12 | 133.979 | 150
2020-08-13 | 154.982 | 150
2020-08-14 | 140.984 | 150
2020-08-15 | 136.983 | 150
2020-08-16 | 117.99 | 150
2020-08-17 | 151.981 | 150
2020-08-18 | 131.989 | 150
2020-08-19 | 131.991 | 150
2020-08-20 | 123.985 | 150
2020-08-21 | 137.982 | 150
2020-08-22 | 157.992 | 150
2020-08-23 | 167.63 | 150
2020-08-24 | 167.228 | 150
2020-08-25 | 180.234 | 150
2020-08-26 | 240.371 | 150
2020-08-27 | 250.269 | 150
2020-08-28 | 252.744 | 150
2020-08-29 | 221.806 | 150
2020-08-30 | 200.129 | 150
2020-08-31 | 253.021 | 150
2020-09-01 | 252.021 | 150
2020-09-02 | 131.998 | 150
2020-09-03 | 116.992 | 150
2020-09-04 | 118.949 | 150
2020-09-05 | 108.926 | 150
2020-09-06 | 120.932 | 150
2020-09-07 | 120.957 | 150
2020-09-08 | 101.957 | 150
2020-09-09 | 114.954 | 150
2020-09-10 | 123.905 | 150
2020-09-11 | 130.858 | 150
2020-09-12 | 140.847 | 150
2020-09-13 | 138.849 | 150
2020-09-14 | 138.787 | 150
2020-09-15 | 190.758 | 150
2020-09-16 | 172.773 | 150
2020-09-17 | 98.623 | 150
2020-09-18 | 116.746 | 150
2020-09-19 | 116.689 | 150
2020-09-20 | 116.872 | 150
2020-09-21 | 126.705 | 150
2020-09-22 | 147.754 | 150
2020-09-23 | 140.814 | 150
2020-09-24 | 128.892 | 150
2020-09-25 | 140.766 | 150
2020-09-26 | 130.75 | 150
2020-09-27 | 156.761 | 150
2020-09-28 | 155.704 | 150
2020-09-29 | 189.823 | 150
2020-09-30 | 179.84 | 150
2020-10-01 | 88.846 | 150
2020-10-02 | 138.892 | 150
2020-10-03 | 133.996 | 150
2020-10-04 | 198.969 | 150
2020-10-05 | 224.969 | 150
2020-10-06 | 91.971 | 150
2020-10-07 | 88.947 | 150
2020-10-08 | 90.935 | 150
2020-10-09 | 144.763 | 150
2020-10-10 | 50.106 | 150
2020-10-11 | 121.939 | 150
2020-10-12 | 141.883 | 150
2020-10-13 | 128.895 | 150
2020-10-14 | 130.9 | 150
2020-10-15 | 137.915 | 150
2020-10-16 | 151.936 | 150
2020-10-17 | 129.941 | 150
2020-10-18 | 148.937 | 150
2020-10-19 | 169.918 | 150
2020-10-20 | 91.906 | 150
2020-10-21 | 85.929 | 150
2020-10-22 | 65.936 | 150
2020-10-23 | 110.952 | 150
2020-10-24 | 100.996 | 150
2020-10-25 | 109.993 | 150
2020-10-26 | 122.992 | 150
2020-10-27 | 148.985 | 150
2020-10-28 | 189.997 | 150
2020-10-29 | 210.995 | 150
2020-10-30 | 177 | 150
2020-10-31 | 155 | 150
2020-11-01 | 154 | 150
2020-11-02 | 155 | 150
2020-11-03 | 134.014 | 150
2020-11-04 | 122.002 | 150
2020-11-05 | 138 | 150
2020-11-06 | 141.997 | 150
2020-11-07 | 138.997 | 150
2020-11-08 | 115.996 | 150
2020-11-09 | 143.996 | 150
2020-11-10 | 105.999 | 150
2020-11-11 | 144.998 | 150
2020-11-12 | 154.998 | 150
2020-11-13 | 141.996 | 150
2020-11-14 | 124.999 | 150
2020-11-15 | 134.02 | 150
2020-11-16 | 134.01 | 150
2020-11-17 | 198.002 | 150
2020-11-18 | 141.99 | 150
2020-11-19 | 157.999 | 150
2020-11-20 | 127.995 | 150
2020-11-21 | 144.006 | 150
2020-11-22 | 183 | 150
2020-11-23 | 220.003 | 150
2020-11-24 | 123.007 | 150
2020-11-25 | 134.997 | 150
2020-11-26 | 103.002 | 150
2020-11-27 | 142.992 | 150
2020-11-28 | 116.989 | 150
2020-11-29 | 139.989 | 150
2020-11-30 | 139.993 | 150
2020-12-01 | 130.995 | 150
2020-12-02 | 128.998 | 150
2020-12-03 | 127.993 | 150
2020-12-04 | 116.003 | 150
2020-12-05 | 139.003 | 150
2020-12-06 | 121.996 | 150
2020-12-07 | 154.998 | 150
2020-12-08 | 122.998 | 150
2020-12-09 | 128.982 | 150
2020-12-10 | 152.99 | 150
2020-12-11 | 137.001 | 150
2020-12-12 | 138 | 150
2020-12-13 | 110.01 | 150
2020-12-14 | 134.101 | 150
2020-12-15 | 133.101 | 150
2020-12-16 | 124.154 | 150
2020-12-17 | 118.243 | 150
2020-12-18 | 134.009 | 150
2020-12-19 | 159.882 | 150
2020-12-20 | 138.176 | 150
2020-12-21 | 169.176 | 150
2020-12-22 | 145.176 | 150
2020-12-23 | 231.962 | 150
2020-12-24 | 256.015 | 150
2020-12-25 | 205.4 | 150
2020-12-26 | 177.457 | 150
2020-12-27 | 171.64 | 150
2020-12-28 | 221.141 | 150
2020-12-29 | 243.549 | 150
2020-12-30 | 181.656 | 150
2020-12-31 | 165.973 | 150