## Effluent Results
| DAF 2 | DAF 2 Final Eff | Daf 2 | Daf 2 | DAF 2 | EFF DAF 2 | Final Effluent DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2
| 05/01/2018 08:00:00 | 10/01/2018 08:00:00 | 2018-01-12 08:00 | 16/01/2018 06:09:00 | 18/01/2018 06:20:00 | 23/01/2018 08:00:00 | 25/01/2018 08:00:00 | 30/01/2018 08:00:00 | 01/02/2018 08:00:00 | 06/02/2018 08:00:00 | 08/02/2018 08:00:00 | 13/02/2018 08:00:00 | 2018-02-15 08:00 | 2018-02-20 08:00 | 2018-02-22 08:00 | 27/02/2018 08:00:00 | 08/03/2018 08:00:00 | 13/03/2018 08:00:00 | 15/03/2018 08:00:00 | 20/03/2018 08:00:00 | 22/03/2018 08:00:00 | 27/03/2018 00:00:00 | 29/03/2018 08:00:00 | 03/04/2018 08:00:00 | 05/04/2018 08:00:00 | 2018-04-10 08:00 | 2018-04-12 08:00 | 2018-04-17 08:00 | 2018-04-19 08:00 | 2018-04-24 08:00 | 2018-04-26 08:00 | 2018-05-01 08:00 | 2018-05-03 08:00 | 2018-05-08 08:00 | 2018-05-10 08:00 | 2018-05-15 08:00 | 2018-05-17 08:00 | 2018-05-22 08:00 | 2018-05-24 08:00
| Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Not Specified | Trade Effluent | Trade Effluent | Not Specified | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | Trade Effluent | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2 | DAF 2
 | time axis 2021-01-06 to 2022-01-05
pH - pH units | 7.5 | 7.4 | 7.5 | 7.5 | 7.8 | 8 | 8.3 | 8 | 8.1 | 8.5 | 8.3 | 8 | 7.9 | 7.5 | 7.9 | 8.2 | 8.3 | 8.2 | 8.5 | 8.5 | 8.7 | 8.6 | 8.6 | 8.4 | 8.6 | 8.4 | 8.2 | 8.3 | 8.5 | 8.4 | 8.4 | 8.5 | 8.2 | 8.4 | 8.4 | 8.3 | 8.3 | 8.3 | 8.3 | 8.1 | 7.6 | 8.3 | 7.5 | 7.4 | 7.9 | 7.8 | 7.6 | 7.5 | 6.5 | 7.4 | 7.9 | 8.1 | 8.4 | 8 | 7.9 | 7.7 | 7.3 | 7.6 | 7.6 | 7.6 | 8.1 | 7.4 | 7.4 | 7.8 | 8.1 | 8 | 7.8 | 7.3 | 7.5 | 7.6 | 8.1 | 7.7 | 7.6
Ammoniacal Nitrogen as N - mg/l | 21.4 | 25.7 | 28.5 | 26.6 | 18.7 | 37.3 | 46.7 | 70.7 | 46.3 | 15 | 1.22 | 16.9 | 10.6 | 19.6 | 36.8 | 40.1 | 10.4 | 31.2 | 42.8 | 19.7 | 16 | 40.5 | 36.6 | 19.3 | 28.6 | 71.9 | 71.9 | 69.4 | 65.1 | 69.2 | 55 | 54.7 | 69.2 | 79.8 | 74.3 | 92.5 | 100 | 64.8 | 48.7 | 0.1 | 8.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.3 | 0.1 | 0.1 | 0.1 | 29 | 17 | 41 | 29 | 62 | 4.1 | 8.2 | 0.8 | 2.9 | 8.2 | 8.2 | 8.2 | 0.6 | 8.2 | 17 | 0.8 | 0.1 | 0.4 | 0.8 | 1.2 | 0.8 | 0.2 | 0.1
Nitrate as N - mg/l | [31 empty] | 0.9 | <0.7 | <0.7 | <0.7 | 1.7 | <0.7 | 0.9 | 1.7
Total Nitrogen as N - mg/l | [31 empty] | 65.9 | 76.2 | 87.4 | 94.1 | 96 | 111 | 67.8 | 61.2
Phosphorus , Total as P - mg/l | 34.8 | 36.3 | 32.2 | 25.4 | 23.5 | 23.7 | 24.5 | 19.3 | 13.4 | 9.8 | 10.2 | 16.1 | 12.5 | 12.8 | 15.4 | 18.1 | 14.6 | 17.4 | 14.7 | 17.4 | 15.7 | 17.5 | 19.8 | 28.2 | 17.7 | 19.9 | 17.6 | 39.8 | 18.3 | 12.7 | 13.1 | 18.7 | 20.5 | 13.3 | 13.6 | 13.1 | 13.5 | 15.2 | 13.9 | 13.3 | 13.8 | 11 | 9.92 | 6.31 | 6.1 | 7.72 | 4.06 | 5.29 | 4.41 | 1.89 | 11 | 12.8 | 5.63 | 15 | 26.9 | 14 | 12.3 | 11.4 | 11.5 | 11 | 10 | 6.85 | 7.1 | 32.9 | 11.4 | 7.2 | 8.65 | 14.8 | 23.8 | 13.8 | 77.6 | 37 | 21.7
Total Suspended Solids - mg/l | 368 | 220 | 288 | 198 | 91 | 98 | 36 | 26 | 58 | 18 | 14 | 36 | 38 | 135 | 106 | 132 | 136 | 54 | 53 | 29 | 50 | 8 | 32 | 122 | 25 | 37 | 80 | 568 | 60 | 56 | 5 | 26 | 26 | 22 | 84 | 12 | 8 | 26 | 27 | 16 | 48 | 20 | 12 | 23 | 58 | 14 | 10 | 14 | 30 | 10 | 36 | 38 | 66 | 22 | 84 | 16 | 16 | 34 | 10 | 14 | 8 | 60 | 18 | 58 | 30 | 26 | 30 | 24 | 24 | 24 | 24 | 26 | 16
BOD + ATU (5 day) - mg/l | 148 | 165 | 94 | 119 | 68 | 34 | 33 | 20 | 50 | 17 | 14 | 24 | 11 | 77 | 39 | 84 | 26 | 14 | See note 1 | 49 | 26 | 24 | 38 | 52 | 7 | 51 | 16 | 36 | 20 | 18 | 7 | 24 | 29 | 10 | 35 | 256 | 1 | 11 | 13 | 2 | 35 | 3 | 7 | 5 | 15 | 2 | 2 | 6 | 14 | 7 | 18 | 12 | 25 | 2 | 59 | 2 | 9 | 35 | 68 | 2 | 2 | 5 | 57 | 3 | 2 | 2 | 3 | 5 | 2 | 12 | 11 | 8 | 2
COD (Total) - mg/l | 719 | 552 | 651 | 469 | 552 | 315 | 245 | 191 | 297 | 209 | 198 | 285 | 240 | 384 | 419 | 371 | 263 | 185 | 178 | 252 | 201 | 148 | 143 | 330 | 141 | 150 | 264 | 844 | 200 | 120 | 131 | 162 | 183 | 156 | 212 | 106 | 112 | 86 | 77 | 2021-01-06: 143; 2021-01-13: 109; 2021-01-20: 50; 2021-01-27: 55; 2021-02-03: 53; 2021-02-10: 65; 2021-02-17: 53; 2021-02-24: 58; 2021-03-10: 68; 2021-03-17: 62; 2021-03-24: 96; 2021-03-31: 61; 2021-04-07: 86; 2021-04-14: 111; 2021-04-21: 72; 2021-04-28: 92; 2021-05-05: 104; 2021-05-12: 37; 2021-05-19: 47; 2021-05-26: 71.9; 2021-06-02: 56.9
| Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance | Compliance
pH - pH units | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9 | 6-9
Ammoniacal Nitrogen as N - mg/l | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Nitrate as N - mg/l | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Nitrogen as N - mg/l | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids - mg/l | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
BOD + ATU (5 day) - mg/l | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
COD (Total) - mg/l | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2021-01-06: N/A; 2021-01-13: N/A; 2021-01-20: N/A; 2021-01-27: N/A; 2021-02-03: N/A; 2021-02-10: N/A; 2021-02-17: N/A; 2021-02-24: N/A; 2021-03-03: N/A; 2021-03-10: N/A; 2021-03-17: N/A; 2021-03-24: N/A; 2021-03-31: N/A; 2021-04-07: N/A; 2021-04-14: N/A; 2021-04-21: N/A; 2021-04-28: N/A; 2021-05-05: N/A; 2021-05-12: N/A; 2021-05-19: N/A; 2021-05-26: N/A; 2021-06-02: N/A; 2021-06-09: N/A; 2021-06-16: N/A; 2021-06-23: N/A; 2021-06-30: N/A; 2021-07-07: N/A; 2021-07-14: N/A; 2021-07-28: N/A; 2021-08-04: N/A
Note on AL7: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AF11: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AL11: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AP12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AQ12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AX12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on AZ12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BA12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BB12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BC12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BD12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BE12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BG12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BH12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BI12: Mark Bartlett: Analysed outside recommended staility times by ALS
Note on BJ12: Mark Bartlett: Analysed outside recommended staility times by ALS

## Effluent Data
| pH - pH units | Upper Consent Limit | Lower Consent Limit | Ammoniacal Nitrogen | Consent Limit | Phosphorus | Total Suspended Solids | Consent Limit | Biological Oxygen Demand | Consent Limit
2021-01-06 | 8.1 | 9 | 6 | 0.1 | 2 | 13.3 | 16 | 30 | 2 | 20
2021-01-13 | 7.6 | 9 | 6 | 8.2 | 2 | 13.8 | 48 | 30 | 35 | 20
2021-01-20 | 8.3 | 9 | 6 | 0.1 | 2 | 11 | 20 | 30 | 3 | 20
2021-01-27 | 7.5 | 9 | 6 | 0.1 | 2 | 9.92 | 12 | 30 | 7 | 20
2021-02-03 | 7.4 | 9 | 6 | 0.1 | 2 | 6.31 | 23 | 30 | 5 | 20
2021-02-10 | 7.9 | 9 | 6 | 0.1 | 2 | 6.1 | 58 | 30 | 15 | 20
2021-02-17 | 7.8 | 9 | 6 | 0.1 | 2 | 7.72 | 14 | 30 | 2 | 20
2021-02-24 | 7.6 | 9 | 6 | 3.3 | 2 | 4.06 | 10 | 30 | 2 | 20
2021-03-03 | 7.5 | 9 | 6 | 0.1 | 2 | 5.29 | 14 | 30 | 6 | 20
2021-03-10 | 6.5 | 9 | 6 | 0.1 | 2 | 4.41 | 30 | 30 | 14 | 20
2021-03-17 | 7.4 | 9 | 6 | 0.1 | 2 | 1.89 | 10 | 30 | 7 | 20
2021-03-24 | 7.9 | 9 | 6 | 29 | 2 | 11 | 36 | 30 | 18 | 20
2021-03-31 | 8.1 | 9 | 6 | 17 | 2 | 12.8 | 38 | 30 | 12 | 20
2021-04-07 | 8.4 | 9 | 6 | 41 | 2 | 5.63 | 66 | 30 | 25 | 20
2021-04-14 | 8 | 9 | 6 | 29 | 2 | 15 | 22 | 30 | 2 | 20
2021-04-21 | 7.9 | 9 | 6 | 62 | 2 | 26.9 | 84 | 30 | 59 | 20
2021-04-28 | 7.7 | 9 | 6 | 4.1 | 2 | 14 | 16 | 30 | 2 | 20
2021-05-05 | 7.3 | 9 | 6 | 8.2 | 2 | 12.3 | 16 | 30 | 9 | 20
2021-05-12 | 7.6 | 9 | 6 | 0.8 | 2 | 11.4 | 34 | 30 | 35 | 20
2021-05-19 | 7.6 | 9 | 6 | 2.9 | 2 | 11.5 | 10 | 30 | 68 | 20
2021-05-26 | 7.6 | 9 | 6 | 8.2 | 2 | 11 | 14 | 30 | 2 | 20
2021-06-02 | 8.1 | 9 | 6 | 8.2 | 2 | 10 | 8 | 30 | 2 | 20
2021-06-09 | 7.4 | 9 | 6 | 8.2 | 2 | 6.85 | 60 | 30 | 5 | 20
2021-06-16 | 7.4 | 9 | 6 | 0.6 | 2 | 7.1 | 18 | 30 | 57 | 20
2021-06-23 | 7.8 | 9 | 6 | 8.2 | 2 | 32.9 | 58 | 30 | 3 | 20
2021-06-30 | 8.1 | 9 | 6 | 17 | 2 | 11.4 | 30 | 30 | 2 | 20
2021-07-07 | 8 | 9 | 6 | 0.8 | 2 | 7.2 | 26 | 30 | 2 | 20
2021-07-14 | 7.8 | 9 | 6 | 0.1 | 2 | 8.65 | 30 | 30 | 3 | 20
2021-07-28 | 7.3 | 9 | 6 | 0.4 | 2 | 14.8 | 24 | 30 | 5 | 20
2021-08-04 | 7.5 | 9 | 6 | 0.8 | 2 | 23.8 | 24 | 30 | 2 | 20
2021-08-11 | 7.6 | 9 | 6 | 1.2 | 2 | 13.8 | 24 | 30 | 12 | 20
2021-08-18 | 8.1 | 9 | 6 | 0.8 | 2 | 77.6 | 24 | 30 | 11 | 20
2021-08-25 | 7.7 | 9 | 6 | 0.2 | 2 | 37 | 26 | 30 | 8 | 20
2021-09-01 | 7.6 | 9 | 6 | 0.1 | 2 | 21.7 | 16 | 30 | 2 | 20
2021-09-08 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-09-15 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-09-22 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-09-29 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-10-06 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-10-13 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-10-20 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-10-27 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-11-03 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-11-10 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-11-17 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-11-24 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-12-01 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-12-08 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-12-15 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-12-22 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2021-12-29 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20
2022-01-05 |  | 9 | 6 |  | 2 |  |  | 30 |  | 20

## Effluent Flow
| DAF 2 Discharge | Consent Limit
2021-01-01 | 173.561 | 150
2021-01-02 | 164.904 | 150
2021-01-03 | 147.894 | 150
2021-01-04 | 203.858 | 150
2021-01-05 | 172.255 | 150
2021-01-06 | 126.145 | 150
2021-01-07 | 161.009 | 150
2021-01-08 | 175.453 | 150
2021-01-09 | 149.214 | 150
2021-01-10 | 154.009 | 150
2021-01-11 | 245.967 | 150
2021-01-12 | 122.722 | 150
2021-01-13 | 77.077 | 150
2021-01-14 | 68.022 | 150
2021-01-15 | 81.007 | 150
2021-01-16 | 80.904 | 150
2021-01-17 | 63.998 | 150
2021-01-18 | 67.637 | 150
2021-01-19 | 94.036 | 150
2021-01-20 | 89.404 | 150
2021-01-21 | 119.045 | 150
2021-01-22 | 116.716 | 150
2021-01-23 | 113.008 | 150
2021-01-24 | 148.336 | 150
2021-01-25 | 141.672 | 150
2021-01-26 | 126.119 | 150
2021-01-27 | 127.182 | 150
2021-01-28 | 129.367 | 150
2021-01-29 | 129.147 | 150
2021-01-30 | 161.064 | 150
2021-01-31 | 81.99 | 150
2021-02-01 | 100.246 | 150
2021-02-02 | 211.415 | 150
2021-02-03 | 103.825 | 150
2021-02-04 | 142.925 | 150
2021-02-05 | 154.123 | 150
2021-02-06 | 120.214 | 150
2021-02-07 | 138.035 | 150
2021-02-08 | 142.258 | 150
2021-02-09 | 123.003 | 150
2021-02-10 | 121.999 | 150
2021-02-11 | 111.997 | 150
2021-02-12 | 103 | 150
2021-02-13 | 104.998 | 150
2021-02-14 | 136.628 | 150
2021-02-15 | 199.683 | 150
2021-02-16 | 147.514 | 150
2021-02-17 | 143.711 | 150
2021-02-18 | 130.333 | 150
2021-02-19 | 123.232 | 150
2021-02-20 | 159.889 | 150
2021-02-21 | 103.344 | 150
2021-02-22 | 118.663 | 150
2021-02-23 | 126.838 | 150
2021-02-24 | 132.021 | 150
2021-02-25 | 168.234 | 150
2021-02-26 | 137.007 | 150
2021-02-27 | 157.003 | 150
2021-02-28 | 191.001 | 150
2021-03-01 | 191.001 | 150
2021-03-02 | 177 | 150
2021-03-03 | 162.999 | 150
2021-03-04 | 155 | 150
2021-03-05 | 174.999 | 150
2021-03-06 | 147.992 | 150
2021-03-07 | 157.002 | 150
2021-03-08 | 156.978 | 150
2021-03-09 | 138.989 | 150
2021-03-10 | 140.99 | 150
2021-03-11 | 200.986 | 150
2021-03-12 | 174.992 | 150
2021-03-13 | 181.992 | 150
2021-03-14 | 201.992 | 150
2021-03-15 | 223.994 | 150
2021-03-16 | 109.991 | 150
2021-03-17 | 107.986 | 150
2021-03-18 | 94.977 | 150
2021-03-19 | 111.986 | 150
2021-03-20 | 128.966 | 150
2021-03-21 | 134.976 | 150
2021-03-22 | 135.982 | 150
2021-03-23 | 213.71 | 150
2021-03-24 | 181.993 | 150
2021-03-25 | 219.978 | 150
2021-03-26 | 209.195 | 150
2021-03-27 | 229.611 | 150
2021-03-28 | 189.735 | 150
2021-03-29 | 260.065 | 150
2021-03-30 | 208.993 | 150
2021-03-31 | 197.966 | 150
2021-04-01 | 185.977 | 150
2021-04-02 | 161.986 | 150
2021-04-03 | 219.998 | 150
2021-04-04 | 156.998 | 150
2021-04-05 | 196.998 | 150
2021-04-06 | 243.997 | 150
2021-04-07 | 176.996 | 150
2021-04-08 | 156.121 | 150
2021-04-09 | 166.151 | 150
2021-04-10 | 139.355 | 150
2021-04-11 | 155.553 | 150
2021-04-12 | 197.293 | 150
2021-04-13 | 161.633 | 150
2021-04-14 | 159.001 | 150
2021-04-15 | 145.963 | 150
2021-04-16 | 180.969 | 150
2021-04-17 | 156.143 | 150
2021-04-18 | 158.422 | 150
2021-04-19 | 218.504 | 150
2021-04-20 | 173.979 | 150
2021-04-21 | 95.004 | 150
2021-04-22 | 84.008 | 150
2021-04-23 | 93.5 | 150
2021-04-24 | 130.01 | 150
2021-04-25 | 89.282 | 150
2021-04-26 | 179.935 | 150
2021-04-27 | 143.284 | 150
2021-04-28 | 110.543 | 150
2021-04-29 | 124.005 | 150
2021-04-30 | 116.995 | 150
2021-05-01 | 107.001 | 150
2021-05-02 | 115 | 150
2021-05-03 | 121.001 | 150
2021-05-04 | 138 | 150
2021-05-05 | 115.004 | 150
2021-05-06 | 149.25 | 150
2021-05-07 | 147.8 | 150
2021-05-08 | 107.071 | 150
2021-05-09 | 75.9 | 150
2021-05-10 | 128.863 | 150
2021-05-11 | 147.818 | 150
2021-05-12 | 138.511 | 150
2021-05-13 | 153.461 | 150
2021-05-14 | 148.399 | 150
2021-05-15 | 111.97 | 150
2021-05-16 | 111.489 | 150
2021-05-17 | 216.487 | 150
2021-05-18 | 230.33 | 150
2021-05-19 | 197.594 | 150
2021-05-20 | 257.329 | 150
2021-05-21 | 231.181 | 150
2021-05-22 | 207.077 | 150
2021-05-23 | 180.609 | 150
2021-05-24 | 226 | 150
2021-05-25 | 113.576 | 150
2021-05-26 | 117.764 | 150
2021-05-27 | 113.393 | 150
2021-05-28 | 145.291 | 150
2021-05-29 | 144.184 | 150
2021-05-30 | 161.389 | 150
2021-05-31 | 180.388 | 150
2021-06-01 | 193.389 | 150
2021-06-02 | 193.389 | 150
2021-06-03 | 261.723 | 150
2021-06-04 | 269.05 | 150
2021-06-05 | 226.155 | 150
2021-06-06 | 216.388 | 150
2021-06-07 | 255.934 | 150
2021-06-08 | 160.238 | 150
2021-06-09 | 152.997 | 150
2021-06-10 | 140.995 | 150
2021-06-11 | 158.978 | 150
2021-06-12 | 92.981 | 150
2021-06-13 | 114.992 | 150
2021-06-14 | 134.978 | 150
2021-06-15 | 265.853 | 150
2021-06-16 | 173.137 | 150
2021-06-17 | 124.295 | 150
2021-06-18 | 153.982 | 150
2021-06-19 | 174.937 | 150
2021-06-20 | 127.952 | 150
2021-06-21 | 174.954 | 150
2021-06-22 | 129.991 | 150
2021-06-23 | 150.957 | 150
2021-06-24 | 114.962 | 150
2021-06-25 | 152.949 | 150
2021-06-26 | 98.96 | 150
2021-06-27 | 127.009 | 150
2021-06-28 | 150.455 | 150
2021-06-29 | 158.676 | 150
2021-06-30 | 216.208 | 150
2021-07-01 | 229.684 | 150
2021-07-02 | 190.217 | 150
2021-07-03 | 182.989 | 150
2021-07-04 | 187.949 | 150
2021-07-05 | 191.826 | 150
2021-07-06 | 158.275 | 150
2021-07-07 | 129.208 | 150
2021-07-08 | 127.306 | 150
2021-07-09 | 125.987 | 150
2021-07-10 | 159.474 | 150
2021-07-11 | 139.911 | 150
2021-07-12 | 157.36 | 150
2021-07-13 | 57.922 | 150
2021-07-14 | 118.977 | 150
2021-07-15 | 128.94 | 150
2021-07-16 | 126.933 | 150
2021-07-17 | 126.962 | 150
2021-07-18 | 103.953 | 150
2021-07-19 | 146.931 | 150
2021-07-20 | 180.948 | 150
2021-07-21 | 178.949 | 150
2021-07-22 | 193.9 | 150
2021-07-23 | 162.901 | 150
2021-07-24 | 127.914 | 150
2021-07-25 | 99.899 | 150
2021-07-26 | 144.901 | 150
2021-07-27 | 115.895 | 150
2021-07-28 | 114.871 | 150
2021-07-29 | 104.854 | 150
2021-07-30 | 107.753 | 150
2021-07-31 | 119 | 150
2021-08-01 | 93.976 | 150
2021-08-02 | 112.988 | 150
2021-08-03 | 106.99 | 150
2021-08-04 | 108 | 150
2021-08-05 | 123.764 | 150
2021-08-06 | 93 | 150
2021-08-07 | 159.701 | 150
2021-08-08 | 59.873 | 150
2021-08-09 | 128.936 | 150
2021-08-10 | 93.937 | 150
2021-08-11 | 91.927 | 150
2021-08-12 | 138.952 | 150
2021-08-13 | 150.98 | 150
2021-08-14 | 106.976 | 150
2021-08-15 | 98.948 | 150
2021-08-16 | 129.881 | 150
2021-08-17 | 125.887 | 150
2021-08-18 | 113.723 | 150
2021-08-19 | 140.646 | 150
2021-08-20 | 218.695 | 150
2021-08-21 | 240.994 | 150
2021-08-22 | 161.86 | 150
2021-08-23 | 244.312 | 150
2021-08-24 | 256.432 | 150
2021-08-25 | 220.326 | 150
2021-08-26 | 170.998 | 150
2021-08-27 | 178.994 | 150
2021-08-28 | 106.992 | 150
2021-08-29 | 104.98 | 150
2021-08-30 | 139.974 | 150
2021-08-31 | 72.954 | 150
2021-09-01 | 172.976 | 150
2021-09-02 | 191.966 | 150
2021-09-03 | 177.971 | 150
2021-09-04 | 192.978 | 150
2021-09-05 | 128.982 | 150
2021-09-06 | 200.977 | 150
2021-09-07 | 10.953 | 150
2021-09-08 | 87.977 | 150
2021-09-09 | 85.985 | 150
2021-09-10 | 91.971 | 150
2021-09-11 | 100.995 | 150
2021-09-12 | 63.999 | 150
2021-09-13 | 100.998 | 150
2021-09-14 | 84.997 | 150
2021-09-15 | 88.995 | 150
2021-09-16 |  | 150
2021-09-17 |  | 150
2021-09-18 |  | 150
2021-09-19 |  | 150
2021-09-20 |  | 150
2021-09-21 |  | 150
2021-09-22 |  | 150
2021-09-23 |  | 150
2021-09-24 |  | 150
2021-09-25 |  | 150
2021-09-26 |  | 150
2021-09-27 |  | 150
2021-09-28 |  | 150
2021-09-29 |  | 150
2021-09-30 |  | 150
2021-10-01 |  | 150
2021-10-02 |  | 150
2021-10-03 |  | 150
2021-10-04 |  | 150
2021-10-05 |  | 150
2021-10-06 |  | 150
2021-10-07 |  | 150
2021-10-08 |  | 150
2021-10-09 |  | 150
2021-10-10 |  | 150
2021-10-11 |  | 150
2021-10-12 |  | 150
2021-10-13 |  | 150
2021-10-14 |  | 150
2021-10-15 |  | 150
2021-10-16 |  | 150
2021-10-17 |  | 150
2021-10-18 |  | 150
2021-10-19 |  | 150
2021-10-20 |  | 150
2021-10-21 |  | 150
2021-10-22 |  | 150
2021-10-23 |  | 150
2021-10-24 |  | 150
2021-10-25 |  | 150
2021-10-26 |  | 150
2021-10-27 |  | 150
2021-10-28 |  | 150
2021-10-29 |  | 150
2021-10-30 |  | 150
2021-10-31 |  | 150
2021-11-01 |  | 150
2021-11-02 |  | 150
2021-11-03 |  | 150
2021-11-04 |  | 150
2021-11-05 |  | 150
2021-11-06 |  | 150
2021-11-07 |  | 150
2021-11-08 |  | 150
2021-11-09 |  | 150
2021-11-10 |  | 150
2021-11-11 |  | 150
2021-11-12 |  | 150
2021-11-13 |  | 150
2021-11-14 |  | 150
2021-11-15 |  | 150
2021-11-16 |  | 150
2021-11-17 |  | 150
2021-11-18 |  | 150
2021-11-19 |  | 150
2021-11-20 |  | 150
2021-11-21 |  | 150
2021-11-22 |  | 150
2021-11-23 |  | 150
2021-11-24 |  | 150
2021-11-25 |  | 150
2021-11-26 |  | 150
2021-11-27 |  | 150
2021-11-28 |  | 150
2021-11-29 |  | 150
2021-11-30 |  | 150
2021-12-01 |  | 150
2021-12-02 |  | 150
2021-12-03 |  | 150
2021-12-04 |  | 150
2021-12-05 |  | 150
2021-12-06 |  | 150
2021-12-07 |  | 150
2021-12-08 |  | 150
2021-12-09 |  | 150
2021-12-10 |  | 150
2021-12-11 |  | 150
2021-12-12 |  | 150
2021-12-13 |  | 150
2021-12-14 |  | 150
2021-12-15 |  | 150
2021-12-16 |  | 150
2021-12-17 |  | 150
2021-12-18 |  | 150
2021-12-19 |  | 150
2021-12-20 |  | 150
2021-12-21 |  | 150
2021-12-22 |  | 150
2021-12-23 |  | 150
2021-12-24 |  | 150
2021-12-25 |  | 150
2021-12-26 |  | 150
2021-12-27 |  | 150
2021-12-28 |  | 150
2021-12-29 |  | 150
2021-12-30 |  | 150
2021-12-31 |  | 150
2022-01-01 |  | 150