# Text boxes

ASSESSMENT OF THE LIKELIHOOD OF POLLUTION (pt1)

Testing and Inspection of Primary Containment

Nature of Primary Containment

Existence of Pollution Prevention Measures

# Records of Pollution

Site Operation or Site Zone

Substance

Relevant Activity

Potential for Pollution from relevant activity

Compliant with all relevant legislation

Container Lorry

Yes

No evidence / records of spills or leaks

Spillage from lorry entering surface water drains

Delivery by a Bulk Liquid Tanker to the tanker bay goods in reception on site.

Milks, Creams & Butter

Max Capacity

125,000 Litres

Use of a liquid foodstuff in production Goods

Integrity checks by suppliers & visual checks on site

Suction Hoses

Bulk Containers

(50,000 litre)

Yes

No evidence / records of spills or leaks

Spillage due to suction pipe rupture.

Off loading of stock, by suction hose with product being pumped into fixed installation milk storage silo’s

Integrity checks by suppliers & visual checks on site

Suction Hoses

Bulk Containers

(50,000 litre)

Yes

No evidence / records of spills or leaks

Failure of containment or rupture due to impact damage

Storage of materials within central storage silos until needed by the Creamery.

Failure of containment or rupture due to impact damage

Transport by pumped pipework from storage silo to point of usage.

Integrity checks by suppliers & visual checks on site

Suction Hoses

Bulk Containers

(50,000 litre)

)

Yes

No evidence / records of spills or leaks

Integrity checks by suppliers & visual checks on site

Suction Hoses

Bulk Containers

(50,000 litre)

Yes

No evidence / records of spills or leaks

Spillage through container rupture caused by improper handling or dropping

Material taken into creamery for use by relevant department

-



Yes

Yes

Yes

Chemical Awareness & Spillage Control part of core training

Key personnel trained in spillage control

-



Yes

Yes

Yes

Chemical Awareness & Spillage Control part of core training

Key personnel trained in spillage control

Interceptors to be inspected monthly and following any spill as part of the sites EMS

Interceptors to be inspected monthly and following any spill as part of the sites EMS

Surface water drains discharge to interceptors prior to leaving site

Surface water drains discharge to interceptors prior to leaving site

-



Yes

Yes

Yes

Chemical Awareness & Spillage Control part of core training

Key personnel trained in spillage control

Interceptors to be inspected monthly and following any spill as part of the sites EMS

Surface water drains discharge to interceptors prior to leaving site

-



Yes

Yes

Yes

Chemical Awareness & Spillage Control part of core training

Key personnel trained in spillage control

Interceptors to be inspected monthly and following any spill as part of the sites EMS

Surface water drains discharge to interceptors prior to leaving site

-



Yes

Yes

Yes

Chemical Awareness & Spillage Control part of core training

Key personnel trained in spillage control

Interceptors to be inspected monthly and following any spill as part of the sites EMS

Surface water drains discharge to interceptors prior to leaving site

Nature of Secondary Containment

Testing and Inspection of Secondary Containment

Nature of Tertiary Containment

Testing and Inspection of Tertiary Containment

Reasonable Possibility of Pollution?

Little Likelihood of Pollution?

Are the Pollution Prevention Measures Adequate?

Yes/No

Is the proposed Integrity Testing of Pollution Prevention Measures Adequate?

Yes/No

Is there an adequate documented management system to demonstrate operator management and competence with the relevant activity?

ASSESSMENT OF THE LIKELIHOOD OF POLLUTION (pt2)