Northumbria river basin district: climate change risk assessment worksheet

Name (as on your part A application form):

Our permit reference number (if you have one):

Your document reference number:

Risk assessment worksheet for the 2050s
Northumbria river basin district
You must carry out a climate change risk assessment for any new bespoke waste and installations permit applications if you expect to operate for more than 5 years. Use the user guide to complete the table. You can add in extra pages if necessary.
Consider how your operations will be affected by the changes in weather and climate described in the table. Consider any changes to average climate conditions that may impact on your operations, for example extreme rainfall.
Also consider:
•	critical thresholds - where a ‘tipping point’ is reached, for example a specific temperature where site processes cannot operate safely
•	changes to averages - for example an entire summer of higher than expected rainfall causing waterlogging
•	where hazards may combine to cause more impacts
You can add in other climate variables if you wish.
If you have stated on your application form that you do not expect to be operational in 2050, you must still consider climate change risks for the time you do intend to operate. Whilst the variables are for the 2050s, this is an estimated date and you may experience these conditions before then.
This worksheet will sit in your management system. It must appear on the management system summary you submit with your application, even if you do not need to submit the whole risk assessment with your application.
If your pre-mitigation risk score (column D) is 5 or higher, you must complete columns E to H.
Potential changing climate variable	A / Impact	B / Likelihood	C / Severity	D / Risk / (B x C)	E / Mitigation / (what will you do to mitigate this risk)	F / Likelihood / (after mitigation)	G / Severity / (after mitigation)	H / Residual risk / (F x G)
1. Summer daily maximum temperature may be around 6°C higher compared to average summer temperatures now.	The ERF at the REC will be slightly less efficient due to warmer temperatures. / There may be an increased risk of dust emissions from the IBA facility.	3	2	6	A dust management plan will be in place for the IBA facility which includes for weather monitoring, and contingency measures such as additional dust suppression equipment being brought to site in periods of hot, dry weather.	1	1	1
2. Winter daily maximum temperature could be 4°C more than the current average with the potential for more extreme temperatures, both warmer and colder than present.	No negative impact expected. The ACC’s will be designed to operate in a range of climatic temperatures allowing for increases and reductions in the average temperature.	N/A	N/A	N/A	N/A	N/A	N/A	N/A
3. The biggest rainfall events are up to 20% more intense than current extremes (peak rainfall intensity)*.	Localised flooding within the installation boundary	1 (The EA lies within flood zone 1 and is at a low risk of surface water flooding)	3	3	The REC has been designed with a SUDS system to mitigate the risk of off-site flooding and to manage the discharge of surface water from the installation. The SUDS system will be designed to provide sufficient surface water storage for storm events including an allowance for climate change.	1	2	2
4. Average winter rainfall may increase by 25% on today’s averages.	Localised flooding within the installation boundary	1 (The EA lies within flood zone 1 and is at a low risk of surface water flooding)	3	3	The REC has been designed with a SUDS system to mitigate the risk of off-site flooding and to manage the discharge of surface water from the installation. The SUDS system will be designed to provide sufficient surface water storage for storm events including an allowance for climate change.	1	2	2
5. Sea level could be as much as 0.6m higher compared to today’s level *.	Localised flooding within the installation boundary	1 (The EA lies within flood zone 1 and is at a low risk of tidal flooding)	3	3	Within the Flood Risk Assessment (FRA) (refer to Appendix I of the Supporting Information), the site level has been determined to be an average of 2.99m above the approximate 1 in 200-year flood level and 1.84 metres above the 1 in 1,000 / year plus climate change level. The FRA has determined that there is a low risk of tidal flooding at the site.	1	2	2
6. Drier summers, potentially up to 31% less rain than now.	There may be an increased risk of dust emissions from the IBA facility.	3	2	6	A dust management plan will be in place for the IBA facility which includes for weather monitoring, and contingency measures such as additional dust suppression equipment being brought to site in periods of hot, dry weather.	1	1	1
7. At its peak, the flow in watercourses could be 30% more than now, and at its lowest it could be 65% less than now.	Localised flooding within the installation boundary	1 (The EA lies within flood zone 1 and is at a low risk of fluvial flooding)	3	3	The REC has been designed with a SUDS system to mitigate the risk of off-site flooding and to manage the discharge of surface water from the installation. The SUDS system will be designed to provide sufficient surface water storage for storm events including an allowance for climate change. The FRA has determined that there is a minimal risk of fluvial flooding at the site.	1	2	2

*Indicates data has come from climate change allowances as part of the spatial planning process. Evidence from your planning submission is acceptable evidence for this worksheet.