**Biomass Boiler at East House Farm**

Biomass Boiler 380Kw

Number of boilers 1 Total heat output 380Kw

Thermal input 420kw

Exhaust stack height 1.5m above building heights.

Exhaust stack height 5m.

Farm Centre Grid Reference 438455,533455

Exhaust stack Grid Reference 438546,533509

Biomass fuel – Approved biomass, eg. virgin woodchip/Miscanthus/straw

Boiler ash securely stored and spread with litter under exemption.