## Virtus MCP Engines
| Virtus Data Centres | [6 empty] | MCPD Annex 1 information
Proj Ref | Site | Machine | Set # | ESO | Serial # | PN # | Customer Order Date | 1. Rated Thermal Input MWth | 2. Type | 3. Fuel | 4. Date of Start of Operation | 5. NACE | 6. Expected Operating Hours | 7. Article 6(3) or 6(8) exemption declaration | 8. Company Name | 8. Registered Office of the Operator
170324 | LON5 Ph1 | 3516C HD | Main Order - set 2 -Gen1-1 | SJMTH | SBK02627 | 17PN41124 | 2017-11-01 | 6.285 | Diesel | Gas Oil 100% | 2018-07-03 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
170324 | LON5 Ph1 | 3516C HD | Main Order - set 4 -Gen1-3 | SJMTJ | SBK02630 | 17PN41125 | 2017-11-01 | 6.285 | Diesel | Gas Oil 100% | 2018-07-14 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
170324 | LON5 Ph1 | 3516C HD | Main Order - set 1 -swing 1 | SJMTK | SBK02634 | 17PN41126 | 2017-11-01 | 6.285 | Diesel | Gas Oil 100% | 2018-07-21 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
170324 | LON5 Ph1 | 3516C HD | Main Order - set 3 -Gen1-2 | SJMTL | SBK02636 | 17PN41127 | 2017-11-01 | 6.285 | Diesel | Gas Oil 100% | 2018-06-20 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
170324 | LON5 Ph2 | 3516C HD | VO01 - set 7 - swing 2 | SKHHY | SBK02744 | 17PN41420 | 2017-11-20 | 6.285 | Diesel | Gas Oil 100% | 2018-07-19 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
170324 | LON5 Ph2 | 3516C HD | VO01 - Set 6 - Gen1-5 | SKHHX | SBK02742 | 17PN41419 | 2017-11-20 | 6.285 | Diesel | Gas Oil 100% | 2018-07-06 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
170324 | LON5 Ph2 | 3516C HD | VO01 - set 5 - Gen1-4 | SKGVW | SBK02738 | 17PN41418 | 2017-11-20 | 6.285 | Diesel | Gas Oil 100% | 2018-07-05 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
170324 | LON5 Ph3 | 3516C HD | VO02 - set 8 gen 2-2 | SLXYD | SBK02794 | 18PN41915 | 2018-02-26 | 6.285 | Diesel | Gas Oil 100% | 2018-09-14 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
170324 | LON5 Ph3 | 3516C HD | VO02 - set 9 gen 2-1 | SLXYF | SBK02795 | 18PN41916 | 2018-02-26 | 6.285 | Diesel | Gas Oil 100% | 2018-10-29 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 10 gen 2-3 | SQTQQ | LYM00202 | 18PN42659 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-05-03 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 11 gen 2-5 | SQTQR | LYM00204 | 18PN42660 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-05-03 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 12 gen 2-4 | SQTQS | LYM00206 | 18PN42661 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-05-03 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 13 gen 3-1 | SQTQT | LYM00211 | 18PN42662 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-07-09 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 14 gen 3-2 | SQVBW | LYM00209 | 18PN42663 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-07-09 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 15 gen 3-S | SQVBX | LYM00218 | 18PN42664 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-07-09 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 16 gen 3-3 | SQVBY | LYM00231 | 18PN42665 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-07-09 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 17 gen 3-4 | SQVBZ | LYM00233 | 18PN42666 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-07-09 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
180075 | LON5 Ph4 | 3516C HD | VO04 - set 18 gen 3-5 | SQVCB | LYM00238 | 18PN42667 | 2018-08-04 | 6.285 | Diesel | Gas Oil 100% | 2019-07-09 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190052 | LON 5 Ph5 | 3516C HD | VO05 - set 19 Gen 1-6 | SYBJG | LYM00670 | 19PN43999 | 2019-07-18 | 6.285 | Diesel | Gas Oil 100% | 2020-07-21 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190052 | LON 5 Ph5 | 3516C HD | VO05 - set 20 Gen 3-6 | SYBJJ | LYM00686 | 19PN44002 | 2019-07-18 | 6.285 | Diesel | Gas Oil 100% | 2020-08-03 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190052 | LON 5 Ph5 | 3516C HD | VO05 - set 21 Gen 2-6 | SYBJH | LYM00683 | 19PN44001 | 2019-07-18 | 6.285 | Diesel | Gas Oil 100% | 2020-08-06 | 62.09 | <50 | N/A | Virtus London 5 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190057 | LON 6 Sect 1 | 3516B HD | DH 1 set 1 G-FF2 | SXNZQ | YAR01106 | 19PN43919 | 2019-09-12 | 5.714 | Diesel | Gas Oil 100% | 2020-01-22 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190057 | LON 6 Sect 1 | 3516B HD | DH 1 set 2 G-FFC1 | SXNZP | YAR01093 | 19PN43920 | 2019-09-12 | 5.714 | Diesel | Gas Oil 100% | 2020-01-28 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190057 | LON 6 Sect 1 | 3516B HD | DH 1 set 3 G-FF1 | SXNZN | YAR01100 | 19PN43921 | 2019-09-12 | 5.714 | Diesel | Gas Oil 100% | 2020-01-29 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190058 | LON 6 Sect 2 | 3516B HD | DH 1 set 4 G-FF3 | SYKSS | YAR01117 | 19PN44088 | 2019-09-12 | 5.714 | Diesel | Gas Oil 100% | 2020-07-18 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190058 | LON 6 Sect 2 | 3516B HD | DH 1 set 5 G-FF4 | SYKYN | YAR01120 | 19PN44089 | 2019-09-12 | 5.714 | Diesel | Gas Oil 100% | 2020-07-13 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190059 | LON6 Sect 3 | 3516E | DH6 set 1 GF-1 (replacement) | TFQLK | JH800282 | 20PN45233 | 2019-09-12 | 6.857 | Diesel | Gas Oil 100% | 2021-02-09 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190059 | LON 6 Sect 3 | 3516E | DH6 set 2 GF--2 | SYYDK | JH800281 | 19PN44150 | 2019-09-12 | 6.857 | Diesel | Gas Oil 100% | 2021-01-21 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190059 | LON 6 Sect 3 | 3516E | DH6 set 3 GF-S | SYYDL | JH800283 | 19PN44148 | 2019-09-12 | 6.857 | Diesel | Gas Oil 100% | 2020-10-05 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200007 | LON 6 Sect 4 | 3516E | DH6 set 4 G-F4 | TCFHS | JH800307 | 20PN44507 | 2020-02-25 | 6.857 | Diesel | Gas Oil 100% | 2020-11-17 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200007 | LON 6 Sect 4 | 3516E | DH6 set 5 G-F3 | TCFHR | JH800308 | 20PN44508 | 2020-02-25 | 6.857 | Diesel | Gas Oil 100% | 2020-11-19 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200007 | LON 6 Sect 5 | 3516B HD | DH2 set 1 G-FF6 | TCDXZ | SNF00106 | 20PN44500 | 2020-02-25 | 6.857 | Diesel | Gas Oil 100% | 2021-01-22 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200007 | LON 6 Sect 5 | 3516B HD | DH2 set 2 G-FF5 | TCDYC | SNF00111 | 20PN44501 | 2020-02-25 | 6.857 | Diesel | Gas Oil 100% | 2021-02-23 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200007 | LON 6 Sect 5 | 3516B HD | DH2 set 3 G-FFC2 | TCDYB | SNF00107 | 20PN44502 | 2020-02-25 | 6.857 | Diesel | Gas Oil 100% | 2021-02-25 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200007 | LON 6 Sect 5 | 3516B HD | DH2 set 4 GFF-7 | TCFBZ | SNF00109 | 20PN44503 | 2020-02-25 | 6.857 | Diesel | Gas Oil 100% | 2021-03-02 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200007 | LON 6 Sect 5 | 3516B HD | DH2 set 5 G-FF8 | TCFCB | SNF00108 | 20PN44504 | 2020-02-25 | 6.857 | Diesel | Gas Oil 100% | 2021-03-04 | 62.09 | <50 | N/A | Virtus London 6 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190088 | LON 7 set 1 | 3516C HD | G1 6 | SZRVL | LYM01341 | 19PN44230 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-10-07 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190088 | LON 7 set 2 | 3516C HD | G1 1 | SZRVM | LYM01344 | 19PN44231 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-08-25 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190088 | LON 7 set 3 | 3516C HD | G1 7 | SZRVP | LYM01348 | 19PN44232 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-10-08 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190088 | LON 7 set 4 | 3516C HD | G1 4 | SYBJK | LYM00687 | 19PN44000 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-09-10 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190089 | LON 7 set 5 | 3516C HD | G1 2 | SZRVN | LYM01346 | 19PN44233 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-08-24 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190089 | LON 7 set 6 | 3516C HD | G1 3 | SZVSW | LYM01390 | 19PN44280 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-09-10 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190089 | LON 7 set 7 | 3516C HD | G2 S | SZVTL | LYM01382 | 19PN44281 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-10-16 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190089 | LON 7 set 8 | 3516C HD | G2 7 | SZVSQ | LYM01400 | 19PN44282 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-12-17 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190090 | LON 7 set 9 | 3516C HD | G2 6 | SZVSR | LYM01404 | 19PN44283 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-12-08 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190090 | LON 7 set 10 | 3516C HD | G1 S | SZVSX | LYM01424 | 19PN44284 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-09-03 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190090 | LON 7 set 11 | 3516C HD | G2 4 | SZVSY | LYM01430 | 19PN44285 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-12-04 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190090 | LON 7 set 12 | 3516C HD | G2 5 | SZVSZ | LYM01435 | 19PN44286 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-12-15 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190090 | LON 7 set 13 | 3516C HD | G2 1 | SZVSS | LYM01365 | 19PN44287 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-10-26 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190090 | LON 7 set 14 | 3516C HD | G1 5 | SZVVF | LYM01372 | 19PN44288 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-09-13 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190090 | LON 7 set 15 | 3516C HD | G2 2 | SZVML | LYM01375 | 19PN44289 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-12-15 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
190090 | LON 7 set 16 | 3516C HD | G2 3 | SZVMM | LYM01378 | 19PN44290 | 2019-12-06 | 6.285 | Diesel | Gas Oil 100% | 2020-10-21 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200020 | LON 7 set 17 | 3516C HD | G3-3 | TDKHW | LYM01949 | 20PN44651 | 2020-06-29 | 6.285 | Diesel | Gas Oil 100% | 2020-05-16 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200020 | LON 7 set 18 | 3516C HD | G3-6 | TDKJK | LYM01956 | 20PN44652 | 2020-06-29 | 6.285 | Diesel | Gas Oil 100% | 2021-04-21 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200020 | LON 7 set 19 | 3516C HD | G3-7 | TDKJL | LYM01964 | 20PN44653 | 2020-06-29 | 6.285 | Diesel | Gas Oil 100% | 2021-04-11 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200020 | LON 7 set 20 | 3516C HD | G3-S | TDKMV | LYM01963 | 20PN44654 | 2020-06-29 | 6.285 | Diesel | Gas Oil 100% | 2021-04-13 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200020 | LON 7 set 21 | 3516C HD | G3-1 | TDKHV | LYM01944 | 20PN44649 | 2020-06-29 | 6.285 | Diesel | Gas Oil 100% | 2021-05-18 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200020 | LON 7 set 22 | 3516C HD | G3-2 | TDKHX | LYM01952 | 20PN44650 | 2020-06-29 | 6.285 | Diesel | Gas Oil 100% | 2021-05-19 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200020 | LON 7 set 23 | 3516C HD | G3-5 | TDKMX | LYM01971 | 20PN44655 | 2020-06-29 | 6.285 | Diesel | Gas Oil 100% | 2021-05-04 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
200020 | LON 7 set 24 | 3516C HD | G3-4 | TDKMW | LYM01966 | 20PN44656 | 2020-06-29 | 6.285 | Diesel | Gas Oil 100% | 2021-05-11 | 62.09 | <50 | N/A | Virtus London 7 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 1 | 3516E |  | TJXWG | JH800427 | 21PN47450 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-04-22 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 2 | 3516E |  | TJXWH | JH800426 | 21PN47451 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-04-22 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 3 | 3516E |  | TJXWJ | JH800429 | 21PN47452 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-04-22 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 4 | 3516E |  | TJXWK | JH800430 | 21PN47453 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-04-22 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 5 | 3516E |  | TJXWL | JH800435 | 21PN47454 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-04-22 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 6 | 3516E |  | TJXWM | JH800436 | 21PN47455 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-04-22 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 7 | 3516E |  | TJXWN | JH800438 | 21PN47456 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-04-22 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 8 | 3516E |  | TJXWP | JH800437 | 21PN47457 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-10-01 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 9 | 3516E |  | TJXWQ | JH800439 | 21PN47458 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-10-01 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 10 | 3516E |  | TJXXD | JH800441 | 21PN47459 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-10-01 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 11 | 3516E |  | TJXWB | JH800443 | 21PN47460 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-10-01 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 12 | 3516E |  | TJXWC | JH800442 | 21PN47461 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-10-01 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 13 | 3516E |  | TJXXF | JH800444 | 21PN47462 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2022-10-01 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
210023 | LON 8 Set 14 | 3516E |  | TJXXG | JH800445 | 21PN47463 | 2021-02-17 | 6.857 | Diesel | Gas Oil 100% | 2023-03-01 | 62.09 | <50 | N/A | Virtus London 8 Limited | 4th Floor 20 Balderton Street, London, England, W1K 6TL
Note on E15: Clinton Noble (UK): ETA 7/12/18
Note on E16: Clinton Noble (UK): Released today to Schilli secured 2 truck collecting tomorrow. ETA 7/12/18
Note on E17: Clinton Noble (UK): Released today to Schilli secured 2 truck collecting tomorrow. ETA 7/12/18

## Drop downs (hidden)
Washout?
Yes
No