All defects or problems found during checks and inspections must be recorded on this form. The completed form must be handed to the Plant Manager who must enter remedial action taken. All records of plant repair and maintenance will be kept for a minimum of two years.

| Plant | Task Detail | Y/N | Comment |
| --- | --- | --- | --- |
| Ash scope system. | Clean scope & mini skip area. |  |  |
|  | Check that all interlocks are working correctly. |  |  |
|  | Check for corrosion |  |  |
|  | Check and clean out pit. |  |  |
|  | Check condition of lifting rope & bearings. |  |  |
|  | Check conditions of mini skips. |  |  |
|  | Check bucket condition for wear, check hydraulic cylinder. |  |  |
| Bin Washer | Tornado Tank Level (Reading) |  |  |
|  | Check condition & function of isolation padlock (Y/N) |  |  |
| Bin Tipper | Check condition & function of isolation padlock |  |  |
| Boiler | Check condition & function of isolation padlock |  |  |
| Consumables store | Check for water-tightness |  |  |
|  | Check the stocks sheets for accuracy |  |  |
| Building | Fire extinguishers in place & secure |  |  |
|  | All emergency lighting function test |  |  |
|  | Cold taps run at below 20°C and hot taps run above 50°C within one minute |  |  |

Rectifications made (use reverse of sheet if necessary)

Rectifications checked and this record filed by……………………………………………………….….