**Biomass Boilers**

Number of boilers 1 Total heat output 1.0 Mw Thermal input 1.055Mw

Number of boilers 1 Total heat output 1.0 Mw Thermal input 1.093 Mw

Total Thermal input 2.148 Mw

Both biomass boilers in operation prior to December 2018

Exhaust stack heights 10m

Adjacent building heights 8.5 m

Farm Centre Grid Reference SO 58713 63460

Exhaust stack Grid References

1. SO 58848 63433

2. SO 58851 63430

Biomass fuel – Approved biomass, eg. virgin woodchip/Miscanthus