## ARA Odour
Saredon |  | ODOUR
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | Risk Assesment | Risk Management | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population | The site will take inert wastes and some non hazardous inert wastes. Therefore no issues considered with odour | Nuisance, loss of amenity | Air transport then inhalation. | High | Very low | Low | Permitted waste types are inert. Local residents are often sensitive to odours, however the wastes will not relase odour.The nearest identified receptor is within 250 metres of the site to the south however this is generally upwind with isolated receptors. Other houses are to the north and north east 300metres from the site | Emissions shall be free or virtually free from odour. | Very low
Protected sites - European sites and SSSIs | The site will take inert wastes and some non hazardous waste. Therefore no issues considered with odour | Nuisance, loss of amenity | Air transport then inhalation. | High | Very low | Low | Waste operations will not cause harm to and deterioration of nature conservation sites. Odour risk is considered negligible.Nearest protected site is to west | Emissions shall be free or virtually free from odour. | Very Low
| Very low | Low | Medium | High
High | 4 | 8 | 12 | 16
Medium | 3 | 6 | 9 | 12
Low | 2 | 4 | 6 | 8
Very low | 1 | 2 | 3 | 4
|  |  |  | Very low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | 4 | 1 | 4 | Low
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | #REF! | #REF! | #REF! | #REF!
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J3: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.

## ARA Fugitive Emissions
Saredon |  | FUGITIVE EMISSIONS
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Risk Assesment | Risk Management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population | Releases of particulate matter (dusts) from inert | Harm to human health - respiratory irritation and illness. Silica dust release from inert crushing | Air transport then inhalation. | High | High | High | Permitted waste types are inert. The permitted level of throughput and potential size of the facility means there is potential for exposure if anyone is living or working close to the site (apart from the operator and employees). There is potential for increased dust generation from permitted activities during prolonged dry periods e.g. summer months.Nearest residential properties within 250 metres south of the site and further houses north of the site in Saredon | Dust Management Plan with regular damping down of material.Reduce dust release by controlling speed of vehicles on site. Wash Plant and Crusher requires dust suppression. | Low
Local human population | As above | Nuisance - dust on cars, clothing etc. | Air transport then deposition | High | Low | Medium | As above. Local residents often sensitive to dust, however nearest receptors sre generally well screened. | Control speed limits on site to reduce vehicles generating dust | Low
Local human population, livestock and wildlife. | As above | Nuisance, loss of amenity and harm to animal health | Air transport then deposition | Low | Low | Low | Large separation distance to agricultural land | Dust Management Plan with dust control with regular damping down of material Reduce dust release by controlling speed of vehicles on site and follow Dust Management Plan | Very low
Surface Water, | Releases of particulate matter (dusts) from landfill and treatment area | Smoothering of water bodies, | Vehicles entering and leaving site. | Medium | Medium | Medium | Road safety, local residents often sensitive to mud on roads. | As above. Appropriate measures could include clearing waste, litter and mud arising from the activities from affected areas outside the site. | Low
Protected sites - European sites and SSSIs | Releases of particulate matter (dusts) | Harm to protected site through toxic contamination, nutrient enrichment, smothering, disturbance, predation etc. | Any | Medium | Medium | Medium | Waste operations may cause harm to and deterioration of nature conservation sites. All European Sites/SSSI are outside the zone of influence. | Emissions of substances not controlled by emission limits shall not cause pollution. Works and all site operations as per the Dust Management Plan .Dust at levels specified for mobile crushers is unlikely to impact on receptors | Low
| Very low | Low | Medium | High
High | 4 | 8 | 12 | 16
Medium | 3 | 6 | 9 | 12
Low | 2 | 4 | 6 | 8
Very low | 1 | 2 | 3 | 4
|  |  |  | Very low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | 4 | 4 | 16 | High
[6 empty] | 4 | 2 | 8 | Medium
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | 3 | 3 | 9 | Medium
[6 empty] | #REF! | #REF! | #REF! | #REF!
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | #REF! | #REF! | #REF! | #REF!
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.

## ARA Noise and Vibration
Saredon |  | NOISE AND VIBRATION
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population | Noise and vibration | Nuisance, loss of amenity, loss of sleep. | Noise through the air and vibration through the ground. | Medium | Medium | Low | Local residents often sensitive to noise and vibration.Limits set out in Planning Permission.Large separation distances from all residentiual receptors | Regular maintenance of plant to ensure silencers are correct and engines are working efficiently. | Low
Protected sites - European sites and SSSIs | Any | Harm to protected site through disturbance, | Any | Medium | Medium | Medium | Waste operations may cause harm to and deterioration of nature conservation sites, though the noise assessment appears to conclude that noise limits beyond the boundary of the site will be acceptable. | Regular maintenance of plant to ensure silencers are correct and engines are working efficiently..Comply with Noise Management Plan | Low
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J3: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.

## ARA Accidents
Saredon |  | ACCIDENTS
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population and / or livestock after gaining unauthorised access to the waste operation | All on-site hazards: wastes; machinery and vehicles. | Bodily injury | Direct physical contact | Medium | Low | Low | Detailed Standard Operating Procedures in the Site Health and Safety Manual and all staff trained on plant | Activities shall be managed and operated in accordance with a management system.Site gates locked after closing time | Low
Local human population and local environment. | Arson and / or vandalism causing the release of polluting materials to air (smoke or fumes), water or land. | Respiratory irritation, illness and nuisance to local population. Injury to staff, fire fighters or arsonists/vandals. Pollution of water or land. | Air transport of smoke. Spillages and contaminated firewater by direct run-off from site into Horn Brook and Cornets End Brook | Medium | Low | Low | Permitted waste types do not include flammable materials, as not permitted in landfill so a low magnitude risk is estimated. | EMS procedures in place including emergencies, and spillage procedures | Low
Local human population and local environment | Accidental fire causing the release of polluting materials to air (smoke or fumes), water or land. | Respiratory irritation, illness and nuisance to local population. Injury to staff or fire fighters. Pollution of water or land. | As above. | Medium | Low | Low | As above. | As above (excluding comments on access to waste). Permitted activities do not include the burning of waste. | Low
All surface waters close to and downstream of site. | Spillage of liquids, leachate from waste, contaminated rainwater run-off from waste e.g. containing suspended solids. | Acute effects: oxygen depletion, fish kill and algal blooms | Direct run-off from site across ground surface, via surface water drains, ditches etc. | Low | Low | Low | .Fuel store not considered a risk | All liquids shall be provided with secondary containment.... (applies to non- wastes such as fuels). Run-off restricted on emissions of substances, with appropriate measures. Wastes from potentially contaminated sites require analysis. Storage & spreading has distance limitations from watercourses. | Very low
All surface waters close to and downstream of site. | As above | Chronic effects: deterioration of water quality | As above. Indirect run-off via the soil layer | Low | Low | Low | Waste types are inert so harm is likely to be temporary and reversible. | Not required | Very low
Abstraction from watercourse downstream of facility (for agricultural or potable use). | As above | Acute effects, closure of abstraction intakes. | Direct run-off from site across ground surface, via surface water drains, ditches etc. then abstraction. | Low | Low | Low | Site not within Source Protection Zone.No private water supplies near by | As above | Very low
Groundwater | As above | Chronic effects: contamination of groundwater, requiring treatment of water or closure of borehole. | Transport through soil/groundwater then extraction at borehole. | Low | Low | Low | Site not within Source Protection Zone.No private water supplies near by. | As above | Very low
Protected sites - European sites and SSSIs | Any | Harm to protected site through toxic contamination, nutrient enrichment, smothering, disturbance, predation etc. | Any | Medium | Medium | Low | Waste operations may cause harm to and deterioration of nature conservation sites. | Emissions of substances not controlled by emission limits shall not cause pollution. At 500 metres or above, the potential hazards from the permitted activities pose a low risk to the broad sensitivity of species and habitats groups. | Low
Fires and Explosions | Any | Damage to liner and increased permeability | Into groundwaters | Medium | Medium | Significant | Would be significant | Site has EMS .The site will not take combustibe waste and will not therefore be able to explode | Low
| Very low | Low | Medium | High
High | 4 | 8 | 12 | 16
Medium | 3 | 6 | 9 | 12
Low | 2 | 4 | 6 | 8
Very low | 1 | 2 | 3 | 4
|  |  |  | Very low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Low |  | 2 | 2 | 4 | Low
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | #REF! | #REF! | #REF! | #REF!
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J3: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.

## ARA Groundwater ad Suface Wate
Saredon |  | WATER
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | Risk Assesment | Risk Management | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population | The site will take inert wastes. Therefore no issues considered with groundwater and surface water | Potential for containments to enter groundwater or surface waters | Towards settlement pond | High | Very low | Low | Permitted waste types are inert. | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits | Very low
Protected sites - European sites and SSSIs | The site will take inert wastes. Therefore no issues considered with SSSI in the surrounding area | Potential for containments to enter groundwater or surface waters | None | High | Very low | Low | Waste operations will not cause harm to and deterioration of nature conservation sites. Thje site will not take and substances above limits used in the HRA | Emissions shall be free or virtually free from odour. | Very Low
Mining subsidence | The site area has not been mikned either in the Mercia Mudstone or Coal Measures | There will be no harm as the site has not had coal workings beneath it |  | High | Very low | Low | There has not been any minewaorkings beneath the site | Not required | Very Low
Diesel tank | The tank is in a building with concere floors and is double skinned | The site is not is a protection zone | Through the enginnered barrier | High | Very low | Low | The tank is double skinned and the site will have a geological barrier of all landfilling | No other requirements are needed | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Line of weakness of geological barrier | The site will take inert wastes. There is at least 3 metres of Mercia Mudstone under the landfill | Potential for containments to enter groundwater or surface waters | Through engineered barrier | High | Very low | Low | The geological barrier will need at least 4 points of contact either in the base or the sides before substances could get into the water table | Emissions will be free of hazardous substances and only have non hazardous waste beneath compliance limits in the landfill | Very Low
Note on B3: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C3: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D3: Harm may arise when a specific hazard is realised.
Note on E3: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F3: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G3: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H3: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J3: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.