Butterwick Whins Standby Generators.

Butterwick Whins poultry operations has two standby generators.

Each generator has a thermal input of 364kwth.

Generators will not be tested more than 50hrs per annum.

Generators will not be operated more than 500hrs per annum averaged over 3 years, as backup for mains interruption, including testing.