**Appendix 12: Housing, Drainage and Slurry Storage Review**

Reviewed by: L Bentley

Date: December 2023

*No site visit undertaken*. *Answers are based on information from the operator and review of BAT guidance as of the date of this document.*

The proposed installation (see Appendix 4) is in line with BAT guidance in terms of design and management. Routine maintenance schedules (please see Appendix 3) will maintain these standards and we will regularly review any areas which could be improved in future.

***1****. Is manure and slurry managed to the standards in How to Comply?*

Manure and slurry are managed to BAT – excepting the lack of a cover on the lagoon, which will shortly be put in place (and before issue of permit). This cover will be a low-tech floating cover (straw).

There is a longer term plan to install a pipe to connect the underground tanks associated with the midden areas, with the lagoon. In the meantime, slurry will be tankered to the lagoon.

***2****. Is clean water drainage managed to the standards in How to Comply?*

Clean water drainage is managed to BAT - no further action required

***3.*** *Is ventilation managed to the standards in How to Comply?*

Ventilation is managed to BAT - no further action required

***4****. Is temperature managed to the standards in How to Comply?*

Temperature is managed to BAT - no further action required

***5.*** *Does the general management conform to the standards in How to Comply?*

Buildings and the wider installation are managed to BAT - no further action required