## Inspection record
ENVIRONMENTAL INSPECTIONS
RESPONSIBILITY: MAINTENANCE ENGINEER | [7 empty] | EMS Form 2 | [6 empty] | WEEK No. | [7 empty] | YEAR:
EQUIPMENT | CHECKS | Wk 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Liquids handling | pipes, pumps, meters &valves
Tanks | EH levels & alarms. Pipework sound
Bag filters | replacement programme
Cooler cyclones | iso kinetic & probe inspection
Interceptors | structurally sound
Interceptors | empty and disposal
Bunds | empty and disposal
Drains | structurally sound
Hardstanding | structurally sound
Waste | correct storage in designated containers & area. No leaks
Boiler | service
Boiler | steam & cond leaks trap checks
Boiler | TDS, excess O2 & hotwell temp
LEV | service
EQUIPMENT | CHECKS | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
Liquids handling | pipes, pumps, meters &valves
Tanks | EH levels & alarms. Pipework sound
Bag filters | replacement programme
Cooler cyclones | iso kinetic & probe inspection
Interceptors | structurally sound
Interceptors | empty and disposal
Bunds | empty and disposal
Drains | structurally sound
Hardstanding | structurally sound
Waste | correct storage in designated containers & area. No leaks
Boiler | service
Boiler | steam & cond leaks trap checks
Boiler | TDS, excess O2 & hotwell temp