## Sheet1
Environmental Management System
Air Conditioning Maintenance EMS Form 4
Operating Procedure EMS OP11 Air Condioning Maintenance Refers
1. A log of any refrigerant equipment must be maintained including the refrigerant in use.
2 Refrigerant equipment should be regularly inspected and maintained.
.
3 A record must be kept of any refrigerant top up as an indicator of leaks to atmosphere which should initiate maintenance and repair.
Unit | Location | Date Inspected | Corrective Actions Taken | Refrigerant Top Up Quantity
1 & 2 | Mill control room
3 | General office
4 | Meeting room
5 | Managers office
6 | Lab weigh room
7 | Sample room
8 | Comms area