## Sheet1
| Report Type | Release Point | Name | Reporting Period | Monitoring Due | Monitoring Standard | Variation 009 | Variation 010
FROM SEDALCOL Emission points for VARIATION APPLICATION NUMBER EPR/KP3030TZ/V007 PERMIT NUMBER EPK/KP3030TZ | Combustion | A1a | Boiler No 8 | 12 Months | 2017-12-31 | BS EN 14792 | Yes | Yes
| Combustion | A1b | Centrax Gas Turbine and Boiler No 7 | 12 Months | 2017-12-31 | BS EN 14792 | Yes | Yes
| PM | A2 | Centrax Gas Turbine Emergency Dump Stack | By Request |  | BS EN 13284-1 | Yes | Yes
| Combustion | A3 | Flare stack | Not required |  |  | Yes | Yes
| PM | A5 | Wheat Intake Stack | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| No parameters | A6 | Wheat Storage tank vent | Not required |  |  | Yes | Yes
| No parameters | A7 | Wheat Storage tank vent | Not required |  |  | Yes | Yes
| No parameters | A8 | Wheat Storage tank vent | Not required |  |  | Yes | Yes
| PM | A9 | Dry Mill 2nd Cleaning Aspiration | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A10 | Dry Mill 1nd Cleaning Aspiration | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A11 | Dry Mill Pneumatic Transport | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A12 | Dry Mill Ultra Rotor | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A13 | Gluten Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes
| PM | A14 | Gluten Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes
| PM | A15 | Flour Storage Tank | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A16 | Flour Storage Tank | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A17 | Conditioning tank vent | Not required |  |  | Yes | Yes
| PM | A18 | Conditioning tank vent | Not required |  |  | Yes | Yes
| PM | A19 | Gluten Dryer | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| VOC | A19 | Gluten Dryer | 12 Months | 2017-12-31 | BS EN 12619 | Yes | Yes
| PM | A20 | Gluten Mill | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| VOC | A21 | Distillery and Tanks Scrubber | 12 Months | 2017-12-31 | BS EN 12619 | Yes | Yes
| PM | A22 | Bran Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| No parameters | A23 | Bran loading chute | Not required |  |  | Yes | Yes
| Combustion | A24 | UPS 1 Diesel Generator | By Request |  | BS EN 14792 | Yes | Yes
| Combustion | A25 | UPS 2 Diesel Generator | By Request |  | BS EN 14792 | Yes | Yes
| No parameters | A26 | Gluten loading | Not required |  |  | Yes
| Combustion | A27 | Solar Gas Turbine & Boiler No 9 | 12 Months | 2017-12-31 | BS EN 14792 | Yes | Yes
| PM | A28 | Starch Dryer | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A29 | Modified Starch Reactor | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A30 | Native Starch Storage | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A31 | Modified Starch Storage | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A32* | Imported Starch Storage | 12 Months | Not commissioned | BS EN 13284-1 | Yes | Yes
| PM | A33* | Blends Dosing | 12 Months | Not commissioned | BS EN 13284-1 | Yes | Yes
| PM | A34 | Tanker Loading (starch) | Not required |  |  | Yes | Yes
| Combustion | A35 | UPS 3 Diesel Generator | By request |  | BS EN 14792 | Yes | Yes
| PM | A36 | Bagging plant local exhaust ventilation | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| Combustion | A37 | Solar Gas Turbine emergency stop mode | By request | 2017-12-31 | BS EN 14792 | Yes | Yes
| PM | A38 | Bran Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| PM | A39 | Starch Dryer | 12 Months | 2017-12-31 | BS EN 13284-1 | Yes | Yes
| Combustion | A40 | Gas Turbine 3 emergency stop mode | By request |  | BS EN 14792 | Yes | Yes
| Combustion | A41 | Gas Turbine 3 & Boiler No 10 | 12 Months |  | BS EN 14792 / BS EN 15058 | Yes | Yes
| Combustion | A41a | Boiler No 10 | 12 Months |  | BS EN 14792 | Yes | Yes
| Combustion | A42 | UPS 4 Diesel Generator | By request |  | BS EN 14792 | Yes | Yes
| PM | A43 | Wetmill Flour Scale suction | By request |  | BS EN 13284-1 | Yes | Yes
| PM | A44 | Bran loading chute | By request |  | BS EN 13284-1 | Yes | Yes
| PM | A45 | Bagging plant local exhaust ventilation | By request |  | BS EN 13284-1 | Yes | Yes
MONVISO 4 NEW STACKS AND EXISTING STACKS VARIATIONS | PM | A46 | Wheat Intake 2 Stack | 12 Months |  | BS EN 13284-1 | Yes | Yes
| No parameters | A47 | 4th Wheat Storage tank vent | Not required |  |  | Yes | Yes
| No parameters | A48 | 5th Wheat Storage tank vent | Not required |  |  | Yes | Yes
| No parameters | A49 | 6th Wheat Storage tank vent | Not required |  |  | Yes | Yes
| PM | A50 | 2nd Dry Mill 2nd Cleaning Aspiration | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A51 | 2nd Dry Mill 1nd Cleaning Aspiration | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A52 | 2nd Dry Mill Pneumatic Transport | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A53 | 2nd Dry Mill Ultra Rotor | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A54 | 3rd Conditioning tank vent | Not required |  |  |  | Yes
| PM | A55 | 4th Conditioning tank vent | Not required |  |  |  | Yes
| PM | A56 | Gluten Storage Silo | Not required |  |  |  | Yes
| Combustion | A57 | UPS 5 Diesel Generator | By request |  | BS EN 14792 |  | Yes
| PM | A58 | 2nd Gluten Dryer | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| VOC | A58 | 2nd Gluten Dryer | 12 Months | 2017-12-31 | BS EN 12619 |  | Yes
| PM | A59 | 2nd Gluten Mill | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A60 | Gluten Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A61 | Gluten Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A62 | Gluten Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| No parameters | A63 | Gluten loading | Not required |  |  |  | Yes
| PM | A64 | 3rd Flour Storage Tank | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A65 | 4rd Flour Storage Tank | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A66 | 2nd Wetmill Flour Scale | By request |  | BS EN 13284-1 |  | Yes
| VOC | A67 | 2nd Distillery and Tanks Scrubber | 12 Months | 2017-12-31 | BS EN 12619 | Yes | Yes
| PM | A68 | 3rd Bran Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A69 | 4th Bran Storage Silo | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| No parameters | A70 | 3rd Bran loading chute | Not required |  |  |  | Yes
| No parameters | A71 | 4th Bran loading chute | Not required |  |  |  | Yes
| Combustion | A72 | UPS 6 Diesel Generator | By request |  | BS EN 14792 |  | Yes
| PM | A73 | Flour Storage Tank | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes
| PM | A74 | Flour Storage Tank | 12 Months | 2017-12-31 | BS EN 13284-1 |  | Yes